## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-11-02
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 25000 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 7/2/20222 | 8/2/20222 | 9/2/20222 | 10/2/20222 | 11/2/20222 | 12/2/2022 | 13/2/2022
Min (MW) | 600 | 600 | 600 | 600 | 600 | 600 | 600
Max (MW) | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 600 | 600 | 600 | 600
|  | Max (MW) | 1400 | 1400 | 1350 | 1300
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-09-02
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 219.7613 | -504 | 734.5101
|  | 2 | 215.2623 | -403 | 654.6487
|  | 3 | 214.3378 | -403 | 612.7858
|  | 4 | 214.2505 | -403 | 598.1578
|  | 5 | 215.5507 | -403 | 612.9967
|  | 6 | 217.7417 | -412 | 683.1213
|  | 7 | 599.4827 | -236 | 867.2296
|  | 8 | 896.7408 | -224 | 1151.9023
|  | 9 | 1018.2574 | -229 | 1244.9598
|  | 10 | 964.3489 | -259 | 1215.676
|  | 11 | 911.7775 | -288 | 1153.6073
|  | 12 | 707.5146 | -388 | 1089.277
|  | 13 | 544.0201 | -517 | 1059.4466
|  | 14 | 537.2361 | -517 | 1071.6127
|  | 15 | 640.5873 | -417 | 1082.1432
|  | 16 | 673.4765 | -388 | 1085.4775
|  | 17 | 959.3489 | -156 | 1126.0876
|  | 18 | 1149.675 | -129 | 1273.8268
|  | 19 | 1267.4037 | -131 | 1380.7576
|  | 20 | 1263.3612 | -133 | 1374.5235
|  | 21 | 1212.9449 | -129 | 1341.6075
|  | 22 | 965.1978 | -290 | 1235.0875
|  | 23 | 690.4268 | -412 | 1085.1508
|  | 24 | 499.5823 | -409 | 876.8507
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -14.5544 | 18.3142 | -99.2999 | -160.6833 | -53.9965 | -204.5288
2 | 2.4182 | 1.1375 | -92.2447 | -179.7272 | -59.2059 | -111.7645
3 | 3.9815 | -9.0286 | -79.3833 | -186.5687 | -38.2932 | -89.1556
4 | 5.3938 | -13.5923 | -73.2362 | -189.204 | -29.5734 | -83.6953
5 | 10.5235 | -15.9362 | -84.5434 | -189.0653 | -54.3164 | -64.1082
6 | -0.94107 | -9.6276 | -106.5094 | -160.5833 | -106.6061 | -81.1122
7 | -4.1334 | 35.571 | -80.8228 | -76.2435 | -130.8492 | -11.269
8 | -22.1321 | 79.3709 | -70.7979 | -37.1396 | -117.5382 | -86.9248
9 | -19.8016 | 104.3415 | -75.7791 | -33.5914 | -129.5912 | -72.2805
10 | -14.4987 | 100.8373 | -80.5844 | -47.1905 | -140.8861 | -69.0046
11 | -29.8478 | 100.3221 | -22.2526 | -58.993 | -21.0874 | -209.9711
12 | -16.9313 | 53.2011 | -66.0721 | -101.1258 | -101.093 | -149.7414
13 | -11.3606 | 27.7118 | -105.1043 | -145.6746 | -142.8645 | -138.1344
14 | -13.0968 | 13.1999 | -97.3264 | -162.5412 | -120.702 | -153.9101
15 | -8.9017 | 26.2983 | -89.9569 | -129.0047 | -142.7946 | -97.1964
16 | -15.8455 | 36.1671 | -80.38 | -104.8191 | -114.8287 | -132.2948
17 | 0.73108 | 73.0644 | -78.5488 | -32.4108 | -169.0779 | 39.5033
18 | 4.0817 | 112.7378 | -106.3423 | 12.5121 | -264.1981 | 117.057
19 | 6.813 | 125.6425 | -94.4002 | -2.9708 | -226.4076 | 77.9692
20 | 6.1973 | 122.1802 | -80.5617 | -15.3055 | -186.1924 | 42.5199
21 | -0.61762 | 109.6289 | -52.4784 | -51.4741 | -116.5006 | -17.2208
22 | -4.8461 | 81.6056 | -55.5337 | -115.4636 | -95.2493 | -80.4026
23 | -4.6013 | 64.3338 | -62.6201 | -145.2714 | -100.8376 | -145.7274
24 | -3.0975 | 39.3512 | -53.6556 | -147.5357 | -54.0557 | -158.275
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-11-02
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 243.41
|  |  | 01:00 - 02:00 | 242.41
|  |  | 02:00 - 03:00 | 211.2
|  |  | 03:00 - 04:00 | 211.2
|  |  | 04:00 - 05:00 | 211.2
|  |  | 05:00 - 06:00 | 263.515
|  |  | 06:00 - 07:00 | 701.2
|  |  | 07:00 - 08:00 | 1011.8873
|  |  | 08:00 - 09:00 | 1139.8818
|  |  | 09:00 - 10:00 | 1099.8544
|  |  | 10:00 - 11:00 | 1049.3
|  |  | 11:00 - 12:00 | 781.6233
|  |  | 12:00 - 13:00 | 648.3
|  |  | 13:00 - 14:00 | 661.3
|  |  | 14:00 - 15:00 | 750.3
|  |  | 15:00 - 16:00 | 823.3
|  |  | 16:00 - 17:00 | 1081.5717
|  |  | 17:00 - 18:00 | 1205.291
|  |  | 18:00 - 19:00 | 1231.5706
|  |  | 19:00 - 20:00 | 1224.4015
|  |  | 20:00 - 21:00 | 1169.2055
|  |  | 21:00 - 22:00 | 951.4154
|  |  | 22:00 - 23:00 | 655.2
|  |  | 23:00 - 00:00 | 506.2
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0.0031933 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 2.3737 | 0 | 0
7 | 0 | 0 | 1.4424 | 1.9879 | 0 | 135.688 | 2.5412 | 0
8 | 0.21786 | 0 | 79.2735 | 79.1299 | 0 | 137.4731 | 93.5526 | 0
9 | 78.517 | 0 | 79.6058 | 79.234 | 0 | 138.6862 | 130.9814 | 0
10 | 79.9032 | 0 | 79.6595 | 79.2411 | 0 | 107.6863 | 140.8417 | 0
11 | 79.9415 | 0 | 79.6498 | 84.0292 | 0 | 89.591 | 142.8014 | 0
12 | 0.49367 | 0 | 1.2797 | 84.1482 | 0 | 91.3296 | 115.5526 | 0
13 | 0 | 0 | 27.5832 | 84.1576 | 0 | 102.4244 | 1.5215 | 0
14 | 0 | 0 | 0 | 84.2161 | 0 | 111.6013 | 0.89236 | 0
15 | 0 | 0 | 0 | 84.2208 | 0 | 106.7208 | 92.3863 | 0
16 | 0 | 0 | 0 | 84.2272 | 0 | 112.8844 | 92.3884 | 0.51803
17 | 0 | 0 | 0 | 84.203 | 0 | 93.153 | 98.2461 | 91.4183
18 | 0 | 0 | 77.0315 | 79.3596 | 0 | 113.7253 | 108.0014 | 113.512
19 | 75.4724 | 0 | 79.6392 | 79.172 | 0 | 129.9045 | 114.1869 | 129.7555
20 | 79.8807 | 0 | 79.6169 | 79.2079 | 0 | 131.3082 | 113.2906 | 131.1279
21 | 81.8762 | 0 | 82.455 | 86.1465 | 0 | 140.9475 | 139.4076 | 7.9177
22 | 79.435 | 0 | 83.6554 | 85.2464 | 0 | 120.4682 | 112.3206 | 0
23 | 0 | 0 | 83.5999 | 85.2476 | 0 | 118.152 | 0.82388 | 0
24 | 0 | 0 | 1.5997 | 1.8777 | 0 | 115.8198 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 555.7375 | 0 | 836.0916 | 1325.0527 | 0 | 2099.9406 | 1499.7363 | 474.2496
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 30 | 30 | 0 | 0 | 0 | 0 | 60
2 | 30 | 30 | 0 | 0 | 0 | 0 | 60
3 | 30 | 30 | 0 | 0 | 0 | 0 | 60
4 | 30 | 30 | 0 | 0 | 0 | 0 | 60
5 | 30 | 30 | 0 | 0 | 0 | 0 | 60
6 | 30 | 30 | 0 | 0 | 0 | 0 | 60
7 | 50 | 50 | 0 | 0 | 0 | 0 | 100
8 | 50 | 50 | 0 | 0 | 0 | 0 | 100
9 | 50 | 50 | 0 | 0 | 0 | 0 | 100
10 | 50 | 50 | 0 | 0 | 0 | 0 | 100
11 | 50 | 50 | 0 | 0 | 0 | 0 | 100
12 | 50 | 50 | 0 | 0 | 0 | 0 | 100
13 | 50 | 50 | 0 | 0 | 0 | 0 | 100
14 | 50 | 50 | 0 | 0 | 0 | 0 | 100
15 | 50 | 50 | 0 | 0 | 0 | 0 | 100
16 | 50 | 50 | 0 | 0 | 0 | 0 | 100
17 | 50 | 50 | 0 | 0 | 0 | 0 | 100
18 | 50 | 50 | 0 | 0 | 0 | 0 | 100
19 | 50 | 50 | 0 | 0 | 0 | 0 | 100
20 | 50 | 50 | 0 | 0 | 0 | 0 | 100
21 | 50 | 50 | 0 | 0 | 0 | 0 | 100
22 | 50 | 50 | 0 | 0 | 0 | 0 | 100
23 | 30 | 30 | 0 | 0 | 0 | 0 | 60
24 | 30 | 30 | 0 | 0 | 0 | 0 | 60
Mesatare | 43.3333 | 43.3333 | 0 | 0 | 0 | 0 | 86.6667
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 660 | 30
|  | 2 | 600 | 28
|  | 3 | 580 | 28
|  | 4 | 570 | 28
|  | 5 | 580 | 28
|  | 6 | 640 | 28
|  | 7 | 780 | 28
|  | 8 | 970 | 30
|  | 9 | 1120 | 32
|  | 10 | 1160 | 35
|  | 11 | 1150 | 35
|  | 12 | 1190 | 35
|  | 13 | 1190 | 32
|  | 14 | 1210 | 30
|  | 15 | 1180 | 30
|  | 16 | 1190 | 30
|  | 17 | 1250 | 30
|  | 18 | 1300 | 32
|  | 19 | 1300 | 35
|  | 20 | 1270 | 35
|  | 21 | 1230 | 38
|  | 22 | 1140 | 32
|  | 23 | 1010 | 25
|  | 24 | 850 | 25
|  | 25 | 660 | 30
|  | 26 | 600 | 28
|  | 27 | 580 | 28
|  | 28 | 570 | 28
|  | 29 | 580 | 28
|  | 30 | 640 | 28
|  | 31 | 780 | 28
|  | 32 | 970 | 30
|  | 33 | 1120 | 32
|  | 34 | 1160 | 35
|  | 35 | 1150 | 35
|  | 36 | 1240 | 35
|  | 37 | 1240 | 32
|  | 38 | 1260 | 30
|  | 39 | 1230 | 30
|  | 40 | 1240 | 30
|  | 41 | 1300 | 30
|  | 42 | 1350 | 32
|  | 43 | 1350 | 35
|  | 44 | 1320 | 35
|  | 45 | 1280 | 38
|  | 46 | 1190 | 32
|  | 47 | 1060 | 25
|  | 48 | 900 | 25
|  | 49 | 660 | 30
|  | 50 | 600 | 28
|  | 51 | 580 | 28
|  | 52 | 570 | 28
|  | 53 | 580 | 28
|  | 54 | 640 | 28
|  | 55 | 780 | 28
|  | 56 | 970 | 30
|  | 57 | 1120 | 32
|  | 58 | 1160 | 35
|  | 59 | 1150 | 35
|  | 60 | 1240 | 35
|  | 61 | 1240 | 32
|  | 62 | 1260 | 30
|  | 63 | 1230 | 30
|  | 64 | 1240 | 30
|  | 65 | 1300 | 30
|  | 66 | 1350 | 32
|  | 67 | 1350 | 35
|  | 68 | 1320 | 35
|  | 69 | 1280 | 38
|  | 70 | 1190 | 32
|  | 71 | 1060 | 25
|  | 72 | 900 | 25
|  | 73 | 660 | 30
|  | 74 | 600 | 28
|  | 75 | 580 | 28
|  | 76 | 570 | 28
|  | 77 | 580 | 28
|  | 78 | 640 | 28
|  | 79 | 780 | 28
|  | 80 | 970 | 30
|  | 81 | 1120 | 32
|  | 82 | 1160 | 35
|  | 83 | 1150 | 35
|  | 84 | 1240 | 35
|  | 85 | 1240 | 32
|  | 86 | 1260 | 30
|  | 87 | 1230 | 30
|  | 88 | 1240 | 30
|  | 89 | 1300 | 30
|  | 90 | 1350 | 32
|  | 91 | 1350 | 35
|  | 92 | 1320 | 35
|  | 93 | 1280 | 38
|  | 94 | 1190 | 32
|  | 95 | 1060 | 25
|  | 96 | 900 | 25
|  | 97 | 660 | 30
|  | 98 | 600 | 28
|  | 99 | 580 | 28
|  | 100 | 570 | 28
|  | 101 | 580 | 28
|  | 102 | 640 | 28
|  | 103 | 780 | 28
|  | 104 | 970 | 30
|  | 105 | 1120 | 32
|  | 106 | 1160 | 35
|  | 107 | 1150 | 35
|  | 108 | 1240 | 35
|  | 109 | 1240 | 32
|  | 110 | 1260 | 30
|  | 111 | 1230 | 30
|  | 112 | 1240 | 30
|  | 113 | 1300 | 30
|  | 114 | 1350 | 32
|  | 115 | 1350 | 35
|  | 116 | 1320 | 35
|  | 117 | 1280 | 38
|  | 118 | 1190 | 32
|  | 119 | 1060 | 25
|  | 120 | 900 | 25
|  | 121 | 660 | 30
|  | 122 | 600 | 28
|  | 123 | 580 | 28
|  | 124 | 570 | 28
|  | 125 | 580 | 28
|  | 126 | 640 | 28
|  | 127 | 780 | 28
|  | 128 | 970 | 30
|  | 129 | 1120 | 32
|  | 130 | 1160 | 35
|  | 131 | 1150 | 35
|  | 132 | 1240 | 35
|  | 133 | 1240 | 32
|  | 134 | 1260 | 30
|  | 135 | 1230 | 30
|  | 136 | 1240 | 30
|  | 137 | 1300 | 30
|  | 138 | 1350 | 32
|  | 139 | 1350 | 35
|  | 140 | 1320 | 35
|  | 141 | 1280 | 38
|  | 142 | 1190 | 32
|  | 143 | 1060 | 25
|  | 144 | 900 | 25
|  | 145 | 660 | 30
|  | 146 | 600 | 28
|  | 147 | 580 | 28
|  | 148 | 570 | 28
|  | 149 | 580 | 28
|  | 150 | 640 | 28
|  | 151 | 780 | 28
|  | 152 | 970 | 30
|  | 153 | 1120 | 32
|  | 154 | 1160 | 35
|  | 155 | 1150 | 35
|  | 156 | 1240 | 35
|  | 157 | 1240 | 32
|  | 158 | 1260 | 30
|  | 159 | 1230 | 30
|  | 160 | 1240 | 30
|  | 161 | 1300 | 30
|  | 162 | 1350 | 32
|  | 163 | 1350 | 35
|  | 164 | 1320 | 35
|  | 165 | 1280 | 38
|  | 166 | 1190 | 32
|  | 167 | 1060 | 25
|  | 168 | 900 | 25
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 7/2/20222 | 8/2/20222 | 9/2/20222 | 10/2/20222 | 11/2/20222 | 12/2/2022 | 13/2/2022
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 38 | 38 | 38 | 38 | 38 | 38 | 38
Total (MWh) | 700 | 700 | 700 | 700 | 700 | 700 | 700
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti
Formulas:
Java = '[1]D-1'!C65:F65

## Publikime EN
Albania Transmission System Operator
2022-11-02
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 25000 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 7/2/20222 | 8/2/20222 | 9/2/20222 | 10/2/20222 | 11/2/20222 | 12/2/2022 | 13/2/2022
Min (MW) | 600 | 600 | 600 | 600 | 600 | 600 | 600
Max (MW) | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400
Total (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 600 | 600 | 600 | 600
|  | Max (MW) | 1400 | 1400 | 1350 | 1300
|  | Total (MWh) | 0 | 0 | 0 | 0
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW) | Total (MWh)
|  | 1 | 550 | 1300 | #REF!
|  | 2 | 550 | 1350 | #REF!
|  | 3 | 550 | 1450 | #REF!
|  | 4 | 600 | 1600 | #REF!
|  | 5 | 600 | 1650 | #REF!
|  | 6 | 550 | 1500 | #REF!
|  | 7 | 550 | 1450 | #REF!
|  | 8 | 550 | 1400 | #REF!
|  | 9 | 550 | 1300 | #REF!
|  | 10 | 550 | 1250 | #REF!
|  | 11 | 550 | 1250 | #REF!
|  | 12 | 550 | 1250 | #REF!
|  | 13 | 550 | 1200 | #REF!
|  | 14 | 550 | 1200 | #REF!
|  | 15 | 550 | 1150 | #REF!
|  | 16 | 550 | 1100 | #REF!
|  | 17 | 550 | 1100 | #REF!
|  | 18 | 550 | 1050 | #REF!
|  | 19 | 550 | 1050 | #REF!
|  | 20 | 510 | 1000 | #REF!
|  | 21 | 510 | 1000 | #REF!
|  | 22 | 550 | 1050 | #REF!
|  | 23 | 510 | 990 | #REF!
|  | 24 | 550 | 1100 | #REF!
|  | 25 | 550 | 1100 | #REF!
|  | 26 | 600 | 1150 | #REF!
|  | 27 | 600 | 1150 | #REF!
|  | 28 | 600 | 1200 | #REF!
|  | 29 | 600 | 1200 | #REF!
|  | 30 | 600 | 1200 | #REF!
|  | 31 | 650 | 1200 | #REF!
|  | 32 | 650 | 1200 | #REF!
|  | 33 | 630 | 1200 | #REF!
|  | 34 | 550 | 1100 | #REF!
|  | 35 | 550 | 1050 | #REF!
|  | 36 | 510 | 1000 | #REF!
|  | 37 | 550 | 1050 | #REF!
|  | 38 | 550 | 1100 | #REF!
|  | 39 | 510 | 1050 | #REF!
|  | 40 | 550 | 1100 | #REF!
|  | 41 | 550 | 1100 | #REF!
|  | 42 | 550 | 1100 | #REF!
|  | 43 | 550 | 1150 | #REF!
|  | 44 | 550 | 1200 | #REF!
|  | 45 | 550 | 1200 | #REF!
|  | 46 | 550 | 1250 | #REF!
|  | 47 | 550 | 1300 | #REF!
|  | 48 | 550 | 1300 | #REF!
|  | 49 | 550 | 1350 | #REF!
|  | 50 | 550 | 1400 | #REF!
|  | 51 | 550 | 1450 | #REF!
|  | 52 | 550 | 1550 | #REF!
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-10-31
|  | Hour | Production | Exchange | Consumption
|  | 1 | 219.7613 | -504 | 734.5101
|  | 2 | 215.2623 | -403 | 654.6487
|  | 3 | 214.3378 | -403 | 612.7858
|  | 4 | 214.2505 | -403 | 598.1578
|  | 5 | 215.5507 | -403 | 612.9967
|  | 6 | 217.7417 | -412 | 683.1213
|  | 7 | 599.4827 | -236 | 867.2296
|  | 8 | 896.7408 | -224 | 1151.9023
|  | 9 | 1018.2574 | -229 | 1244.9598
|  | 10 | 964.3489 | -259 | 1215.676
|  | 11 | 911.7775 | -288 | 1153.6073
|  | 12 | 707.5146 | -388 | 1089.277
|  | 13 | 544.0201 | -517 | 1059.4466
|  | 14 | 537.2361 | -517 | 1071.6127
|  | 15 | 640.5873 | -417 | 1082.1432
|  | 16 | 673.4765 | -388 | 1085.4775
|  | 17 | 959.3489 | -156 | 1126.0876
|  | 18 | 1149.675 | -129 | 1273.8268
|  | 19 | 1267.4037 | -131 | 1380.7576
|  | 20 | 1263.3612 | -133 | 1374.5235
|  | 21 | 1212.9449 | -129 | 1341.6075
|  | 22 | 965.1978 | -290 | 1235.0875
|  | 23 | 690.4268 | -412 | 1085.1508
|  | 24 | 499.5823 | -409 | 876.8507
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW) Summer | NTC(MW) Winter
|  | AL | KS | 200 | #REF!
|  | KS | AL | 200 | #REF!
|  | AL | GR | 200 | #REF!
|  | GR | AL | 200 | #REF!
|  | AL | ME | 200 | #REF!
|  | ME | AL | 200 | #REF!
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW) Summer | NTC(MW) Winter
|  | AL | KS | 200 | #REF!
|  | KS | AL | 200 | #REF!
|  | AL | GR | 200 | #REF!
|  | GR | AL | 200 | #REF!
|  | AL | ME | 200 | #REF!
|  | ME | AL | 200 | #REF!
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -14.5544 | 18.3142 | -99.2999 | -160.6833 | -53.9965 | -204.5288
2 | 2.4182 | 1.1375 | -92.2447 | -179.7272 | -59.2059 | -111.7645
3 | 3.9815 | -9.0286 | -79.3833 | -186.5687 | -38.2932 | -89.1556
4 | 5.3938 | -13.5923 | -73.2362 | -189.204 | -29.5734 | -83.6953
5 | 10.5235 | -15.9362 | -84.5434 | -189.0653 | -54.3164 | -64.1082
6 | -0.94107 | -9.6276 | -106.5094 | -160.5833 | -106.6061 | -81.1122
7 | -4.1334 | 35.571 | -80.8228 | -76.2435 | -130.8492 | -11.269
8 | -22.1321 | 79.3709 | -70.7979 | -37.1396 | -117.5382 | -86.9248
9 | -19.8016 | 104.3415 | -75.7791 | -33.5914 | -129.5912 | -72.2805
10 | -14.4987 | 100.8373 | -80.5844 | -47.1905 | -140.8861 | -69.0046
11 | -29.8478 | 100.3221 | -22.2526 | -58.993 | -21.0874 | -209.9711
12 | -16.9313 | 53.2011 | -66.0721 | -101.1258 | -101.093 | -149.7414
13 | -11.3606 | 27.7118 | -105.1043 | -145.6746 | -142.8645 | -138.1344
14 | -13.0968 | 13.1999 | -97.3264 | -162.5412 | -120.702 | -153.9101
15 | -8.9017 | 26.2983 | -89.9569 | -129.0047 | -142.7946 | -97.1964
16 | -15.8455 | 36.1671 | -80.38 | -104.8191 | -114.8287 | -132.2948
17 | 0.73108 | 73.0644 | -78.5488 | -32.4108 | -169.0779 | 39.5033
18 | 4.0817 | 112.7378 | -106.3423 | 12.5121 | -264.1981 | 117.057
19 | 6.813 | 125.6425 | -94.4002 | -2.9708 | -226.4076 | 77.9692
20 | 6.1973 | 122.1802 | -80.5617 | -15.3055 | -186.1924 | 42.5199
21 | -0.61762 | 109.6289 | -52.4784 | -51.4741 | -116.5006 | -17.2208
22 | -4.8461 | 81.6056 | -55.5337 | -115.4636 | -95.2493 | -80.4026
23 | -4.6013 | 64.3338 | -62.6201 | -145.2714 | -100.8376 | -145.7274
24 | -3.0975 | 39.3512 | -53.6556 | -147.5357 | -54.0557 | -158.275
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-11-02
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 243.41
|  |  | 01:00 - 02:00 | 242.41
|  |  | 02:00 - 03:00 | 211.2
|  |  | 03:00 - 04:00 | 211.2
|  |  | 04:00 - 05:00 | 211.2
|  |  | 05:00 - 06:00 | 263.515
|  |  | 06:00 - 07:00 | 701.2
|  |  | 07:00 - 08:00 | 1011.8873
|  |  | 08:00 - 09:00 | 1139.8818
|  |  | 09:00 - 10:00 | 1099.8544
|  |  | 10:00 - 11:00 | 1049.3
|  |  | 11:00 - 12:00 | 781.6233
|  |  | 12:00 - 13:00 | 648.3
|  |  | 13:00 - 14:00 | 661.3
|  |  | 14:00 - 15:00 | 750.3
|  |  | 15:00 - 16:00 | 823.3
|  |  | 16:00 - 17:00 | 1081.5717
|  |  | 17:00 - 18:00 | 1205.291
|  |  | 18:00 - 19:00 | 1231.5706
|  |  | 19:00 - 20:00 | 1224.4015
|  |  | 20:00 - 21:00 | 1169.2055
|  |  | 21:00 - 22:00 | 951.4154
|  |  | 22:00 - 23:00 | 655.2
|  |  | 23:00 - 00:00 | 506.2
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0.0031933 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 2.3737 | 0 | 0
7 | 0 | 0 | 1.4424 | 1.9879 | 0 | 135.688 | 2.5412 | 0
8 | 0.21786 | 0 | 79.2735 | 79.1299 | 0 | 137.4731 | 93.5526 | 0
9 | 78.517 | 0 | 79.6058 | 79.234 | 0 | 138.6862 | 130.9814 | 0
10 | 79.9032 | 0 | 79.6595 | 79.2411 | 0 | 107.6863 | 140.8417 | 0
11 | 79.9415 | 0 | 79.6498 | 84.0292 | 0 | 89.591 | 142.8014 | 0
12 | 0.49367 | 0 | 1.2797 | 84.1482 | 0 | 91.3296 | 115.5526 | 0
13 | 0 | 0 | 27.5832 | 84.1576 | 0 | 102.4244 | 1.5215 | 0
14 | 0 | 0 | 0 | 84.2161 | 0 | 111.6013 | 0.89236 | 0
15 | 0 | 0 | 0 | 84.2208 | 0 | 106.7208 | 92.3863 | 0
16 | 0 | 0 | 0 | 84.2272 | 0 | 112.8844 | 92.3884 | 0.51803
17 | 0 | 0 | 0 | 84.203 | 0 | 93.153 | 98.2461 | 91.4183
18 | 0 | 0 | 77.0315 | 79.3596 | 0 | 113.7253 | 108.0014 | 113.512
19 | 75.4724 | 0 | 79.6392 | 79.172 | 0 | 129.9045 | 114.1869 | 129.7555
20 | 79.8807 | 0 | 79.6169 | 79.2079 | 0 | 131.3082 | 113.2906 | 131.1279
21 | 81.8762 | 0 | 82.455 | 86.1465 | 0 | 140.9475 | 139.4076 | 7.9177
22 | 79.435 | 0 | 83.6554 | 85.2464 | 0 | 120.4682 | 112.3206 | 0
23 | 0 | 0 | 83.5999 | 85.2476 | 0 | 118.152 | 0.82388 | 0
24 | 0 | 0 | 1.5997 | 1.8777 | 0 | 115.8198 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 555.7375 | 0 | 836.0916 | 1325.0527 | 0 | 2099.9374 | 1499.7363 | 474.2496
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 30 | 30 | 0 | 0 | 0 | 0 | 60
2 | 30 | 30 | 0 | 0 | 0 | 0 | 60
3 | 30 | 30 | 0 | 0 | 0 | 0 | 60
4 | 30 | 30 | 0 | 0 | 0 | 0 | 60
5 | 30 | 30 | 0 | 0 | 0 | 0 | 60
6 | 30 | 30 | 0 | 0 | 0 | 0 | 60
7 | 50 | 50 | 0 | 0 | 0 | 0 | 100
8 | 50 | 50 | 0 | 0 | 0 | 0 | 100
9 | 50 | 50 | 0 | 0 | 0 | 0 | 100
10 | 50 | 50 | 0 | 0 | 0 | 0 | 100
11 | 50 | 50 | 0 | 0 | 0 | 0 | 100
12 | 50 | 50 | 0 | 0 | 0 | 0 | 100
13 | 50 | 50 | 0 | 0 | 0 | 0 | 100
14 | 50 | 50 | 0 | 0 | 0 | 0 | 100
15 | 50 | 50 | 0 | 0 | 0 | 0 | 100
16 | 50 | 50 | 0 | 0 | 0 | 0 | 100
17 | 50 | 50 | 0 | 0 | 0 | 0 | 100
18 | 50 | 50 | 0 | 0 | 0 | 0 | 100
19 | 50 | 50 | 0 | 0 | 0 | 0 | 100
20 | 50 | 50 | 0 | 0 | 0 | 0 | 100
21 | 50 | 50 | 0 | 0 | 0 | 0 | 100
22 | 50 | 50 | 0 | 0 | 0 | 0 | 100
23 | 30 | 30 | 0 | 0 | 0 | 0 | 60
24 | 30 | 30 | 0 | 0 | 0 | 0 | 60
Average | 43.3333 | 43.3333 | 0 | 0 | 0 | 0 | 86.6667
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 660 | 30
|  | 2 | 600 | 28
|  | 3 | 580 | 28
|  | 4 | 570 | 28
|  | 5 | 580 | 28
|  | 6 | 640 | 28
|  | 7 | 780 | 28
|  | 8 | 970 | 30
|  | 9 | 1120 | 32
|  | 10 | 1160 | 35
|  | 11 | 1150 | 35
|  | 12 | 1190 | 35
|  | 13 | 1190 | 32
|  | 14 | 1210 | 30
|  | 15 | 1180 | 30
|  | 16 | 1190 | 30
|  | 17 | 1250 | 30
|  | 18 | 1300 | 32
|  | 19 | 1300 | 35
|  | 20 | 1270 | 35
|  | 21 | 1230 | 38
|  | 22 | 1140 | 32
|  | 23 | 1010 | 25
|  | 24 | 850 | 25
|  | 25 | 660 | 30
|  | 26 | 600 | 28
|  | 27 | 580 | 28
|  | 28 | 570 | 28
|  | 29 | 580 | 28
|  | 30 | 640 | 28
|  | 31 | 780 | 28
|  | 32 | 970 | 30
|  | 33 | 1120 | 32
|  | 34 | 1160 | 35
|  | 35 | 1150 | 35
|  | 36 | 1240 | 35
|  | 37 | 1240 | 32
|  | 38 | 1260 | 30
|  | 39 | 1230 | 30
|  | 40 | 1240 | 30
|  | 41 | 1300 | 30
|  | 42 | 1350 | 32
|  | 43 | 1350 | 35
|  | 44 | 1320 | 35
|  | 45 | 1280 | 38
|  | 46 | 1190 | 32
|  | 47 | 1060 | 25
|  | 48 | 900 | 25
|  | 49 | 660 | 30
|  | 50 | 600 | 28
|  | 51 | 580 | 28
|  | 52 | 570 | 28
|  | 53 | 580 | 28
|  | 54 | 640 | 28
|  | 55 | 780 | 28
|  | 56 | 970 | 30
|  | 57 | 1120 | 32
|  | 58 | 1160 | 35
|  | 59 | 1150 | 35
|  | 60 | 1240 | 35
|  | 61 | 1240 | 32
|  | 62 | 1260 | 30
|  | 63 | 1230 | 30
|  | 64 | 1240 | 30
|  | 65 | 1300 | 30
|  | 66 | 1350 | 32
|  | 67 | 1350 | 35
|  | 68 | 1320 | 35
|  | 69 | 1280 | 38
|  | 70 | 1190 | 32
|  | 71 | 1060 | 25
|  | 72 | 900 | 25
|  | 73 | 660 | 30
|  | 74 | 600 | 28
|  | 75 | 580 | 28
|  | 76 | 570 | 28
|  | 77 | 580 | 28
|  | 78 | 640 | 28
|  | 79 | 780 | 28
|  | 80 | 970 | 30
|  | 81 | 1120 | 32
|  | 82 | 1160 | 35
|  | 83 | 1150 | 35
|  | 84 | 1240 | 35
|  | 85 | 1240 | 32
|  | 86 | 1260 | 30
|  | 87 | 1230 | 30
|  | 88 | 1240 | 30
|  | 89 | 1300 | 30
|  | 90 | 1350 | 32
|  | 91 | 1350 | 35
|  | 92 | 1320 | 35
|  | 93 | 1280 | 38
|  | 94 | 1190 | 32
|  | 95 | 1060 | 25
|  | 96 | 900 | 25
|  | 97 | 660 | 30
|  | 98 | 600 | 28
|  | 99 | 580 | 28
|  | 100 | 570 | 28
|  | 101 | 580 | 28
|  | 102 | 640 | 28
|  | 103 | 780 | 28
|  | 104 | 970 | 30
|  | 105 | 1120 | 32
|  | 106 | 1160 | 35
|  | 107 | 1150 | 35
|  | 108 | 1240 | 35
|  | 109 | 1240 | 32
|  | 110 | 1260 | 30
|  | 111 | 1230 | 30
|  | 112 | 1240 | 30
|  | 113 | 1300 | 30
|  | 114 | 1350 | 32
|  | 115 | 1350 | 35
|  | 116 | 1320 | 35
|  | 117 | 1280 | 38
|  | 118 | 1190 | 32
|  | 119 | 1060 | 25
|  | 120 | 900 | 25
|  | 121 | 660 | 30
|  | 122 | 600 | 28
|  | 123 | 580 | 28
|  | 124 | 570 | 28
|  | 125 | 580 | 28
|  | 126 | 640 | 28
|  | 127 | 780 | 28
|  | 128 | 970 | 30
|  | 129 | 1120 | 32
|  | 130 | 1160 | 35
|  | 131 | 1150 | 35
|  | 132 | 1240 | 35
|  | 133 | 1240 | 32
|  | 134 | 1260 | 30
|  | 135 | 1230 | 30
|  | 136 | 1240 | 30
|  | 137 | 1300 | 30
|  | 138 | 1350 | 32
|  | 139 | 1350 | 35
|  | 140 | 1320 | 35
|  | 141 | 1280 | 38
|  | 142 | 1190 | 32
|  | 143 | 1060 | 25
|  | 144 | 900 | 25
|  | 145 | 660 | 30
|  | 146 | 600 | 28
|  | 147 | 580 | 28
|  | 148 | 570 | 28
|  | 149 | 580 | 28
|  | 150 | 640 | 28
|  | 151 | 780 | 28
|  | 152 | 970 | 30
|  | 153 | 1120 | 32
|  | 154 | 1160 | 35
|  | 155 | 1150 | 35
|  | 156 | 1240 | 35
|  | 157 | 1240 | 32
|  | 158 | 1260 | 30
|  | 159 | 1230 | 30
|  | 160 | 1240 | 30
|  | 161 | 1300 | 30
|  | 162 | 1350 | 32
|  | 163 | 1350 | 35
|  | 164 | 1320 | 35
|  | 165 | 1280 | 38
|  | 166 | 1190 | 32
|  | 167 | 1060 | 25
|  | 168 | 900 | 25
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 7/2/20222 | 8/2/20222 | 9/2/20222 | 10/2/20222 | 11/2/20222 | 12/2/2022 | 13/2/2022
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 38 | 38 | 38 | 38 | 38 | 38 | 38
Total (MWh) | 700 | 700 | 700 | 700 | 700 | 700 | 700
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible