## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-04-17
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21000 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 11/04/2022 | 12/04/2022 | 13/04/2022 | 14/04/2022 | 15/04/2022 | 16/04/2022 | 17/04/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1200 | 1200 | 1150 | 1150 | 1100 | 1100 | 1100
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-04-15
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 655.2942 | 25.6845 | 629.6097
|  | 2 | 578.8063 | 8.5268 | 570.2794
|  | 3 | 533.6766 | -16.0158 | 549.6924
|  | 4 | 496.3025 | -73.8678 | 570.1702
|  | 5 | 497.9063 | -77.2503 | 575.1566
|  | 6 | 503.0082 | -94.7906 | 597.7987
|  | 7 | 664.9175 | -57.3626 | 722.2801
|  | 8 | 873.4536 | -17.1805 | 890.6341
|  | 9 | 994.9786 | 43.3559 | 951.6227
|  | 10 | 989.5357 | 77.8493 | 911.6864
|  | 11 | 901.4156 | 37.7138 | 863.7017
|  | 12 | 735.0465 | -113.2455 | 848.292
|  | 13 | 715.754 | -146.868 | 862.622
|  | 14 | 715.2644 | -146.9843 | 862.2487
|  | 15 | 711.0137 | -140.5488 | 851.5625
|  | 16 | 699.1177 | -131.967 | 831.0847
|  | 17 | 694.7465 | -145.8391 | 840.5856
|  | 18 | 817.8213 | -40.6303 | 858.4516
|  | 19 | 1034.3547 | 135.8858 | 898.4689
|  | 20 | 1147.2777 | 168.3915 | 978.8862
|  | 21 | 1155.0585 | 132.8351 | 1022.2234
|  | 22 | 1082.2001 | 118.9831 | 963.217
|  | 23 | 943.8149 | 116.4877 | 827.3272
|  | 24 | 670.0437 | -12.9992 | 683.0429
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 25.029 | 2.3829 | -27.4578 | -182.8044 | 61.9826 | 26.9776
2 | 24.6313 | -1.0055 | -18.2993 | -177.3241 | 73.1916 | 50.6664
3 | 24.5232 | -2.8179 | -12.2908 | -172.7696 | 86.3493 | 51.2625
4 | 23.5066 | -4.0988 | -20.7464 | -177.7209 | 73.2104 | 57.7124
5 | 26.1358 | -13.2233 | -33.2367 | -182.0948 | 52.1795 | 73.5437
6 | 23.7004 | -32.2769 | -46.543 | -191.091 | 36.4977 | 74.6701
7 | 21.8485 | -47.1387 | -77.1374 | -211.122 | -19.9557 | 81.4064
8 | 17.5191 | -43.9113 | -83.8618 | -215.6346 | -40.6318 | 67.3828
9 | 20.9319 | -29.1595 | -75.1213 | -210.1349 | -39.8066 | 52.6715
10 | 14.9753 | -7.327 | -45.178 | -197.3745 | -8.2226 | 30.7684
11 | 16.7133 | -0.87498 | -38.9173 | -191.3749 | -1.4999 | 31.0367
12 | 14.9809 | 1.2518 | -54.9855 | -183.2947 | -51.0666 | 77.3602
13 | 15.7558 | 4.1946 | -82.3198 | -169.0247 | -119.9036 | 142.4515
14 | 10.3941 | 10.0016 | -68.3184 | -160.2478 | -89.5642 | 121.0813
15 | 13.0296 | 9.1351 | -78.9703 | -159.8543 | -108.1356 | 139.2917
16 | 22.051 | 13.5071 | -100.5204 | -147.5099 | -139.9588 | 177.5757
17 | 25.3694 | 23.8642 | -83.6514 | -146.997 | -75.6081 | 152.5077
18 | 21.534 | 27.0221 | -76.229 | -146.9583 | -64.9313 | 138.3937
19 | 19.6446 | 55.8104 | -45.8181 | -103.1676 | -7.8328 | 125.5145
20 | 15.7161 | 69.9619 | -38.9073 | -71.9728 | -1.9542 | 175.1836
21 | 11.4895 | 67.4888 | -34.1915 | -75.0662 | 1.8278 | 174.2908
22 | 17.0408 | 49.2875 | -24.8421 | -102.4676 | 29.4712 | 140.293
23 | 10.5934 | 47.639 | 4.5441 | -106.5738 | 93.3166 | 96.0945
24 | 3.28 | 32.2769 | -22.0798 | -133.1915 | 73.0598 | 35.7861
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-04-17
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 498.03
|  |  | 01:00 - 02:00 | 495.03
|  |  | 02:00 - 03:00 | 494.03
|  |  | 03:00 - 04:00 | 487.03
|  |  | 04:00 - 05:00 | 486.03
|  |  | 05:00 - 06:00 | 486.03
|  |  | 06:00 - 07:00 | 479.03
|  |  | 07:00 - 08:00 | 504.126
|  |  | 08:00 - 09:00 | 505.0216
|  |  | 09:00 - 10:00 | 595.2866
|  |  | 10:00 - 11:00 | 667.03
|  |  | 11:00 - 12:00 | 679.4505
|  |  | 12:00 - 13:00 | 690.3762
|  |  | 13:00 - 14:00 | 643.2461
|  |  | 14:00 - 15:00 | 615.1831
|  |  | 15:00 - 16:00 | 682.1911
|  |  | 16:00 - 17:00 | 680.1811
|  |  | 17:00 - 18:00 | 923.03
|  |  | 18:00 - 19:00 | 1159.03
|  |  | 19:00 - 20:00 | 1240.03
|  |  | 20:00 - 21:00 | 1250.03
|  |  | 21:00 - 22:00 | 993.0125
|  |  | 22:00 - 23:00 | 820.7376
|  |  | 23:00 - 00:00 | 599.2607
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0.15576 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 1.0584 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 139.7922 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 133.8895 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 138.5308 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 137.4124 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 140.1775 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 140.0203 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 112.4958 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 109.6747 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 116.5507 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 117.8624 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 113.6972 | 0 | 110.9779 | 0
20 | 0 | 0 | 0 | 0 | 96.3113 | 113.5947 | 96.3609 | 0
21 | 0 | 0 | 0 | 0 | 101.5008 | 97.3097 | 101.548 | 0
22 | 0 | 0 | 0 | 0 | 92.8777 | 0.84943 | 92.9111 | 0
23 | 0 | 0 | 0 | 0 | 104.5015 | 0 | 1.1159 | 0
24 | 0 | 0 | 0 | 0 | 0.77243 | 0 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1797.1257 | 211.9096 | 402.9138 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 605.5472 | 30.4335
|  | 2 | 558.0615 | 27.7851
|  | 3 | 534.052 | 28.3332
|  | 4 | 545.5827 | 27.875
|  | 5 | 567.3544 | 28.2164
|  | 6 | 563.2676 | 32.3795
|  | 7 | 618.6125 | 34.7828
|  | 8 | 732.2011 | 31.3012
|  | 9 | 863.3975 | 31.8766
|  | 10 | 969.5488 | 31.5667
|  | 11 | 1033.2633 | 30.8363
|  | 12 | 1065.7799 | 29.9425
|  | 13 | 1078.5905 | 31.6421
|  | 14 | 1046.2013 | 33.3377
|  | 15 | 1016.3751 | 35.2571
|  | 16 | 1001.7002 | 36.5481
|  | 17 | 1009.0313 | 35.5954
|  | 18 | 1033.4565 | 35.464
|  | 19 | 1078.6229 | 44.0277
|  | 20 | 1161.8588 | 46.5565
|  | 21 | 1181.4727 | 41.8701
|  | 22 | 1098.7811 | 37.8023
|  | 23 | 900 | 37.6903
|  | 24 | 757.9383 | 34.5892
|  | 25 | 632.4665 | 39.3674
|  | 26 | 561.9651 | 36.9933
|  | 27 | 538.2852 | 34.1777
|  | 28 | 550.7705 | 35.6712
|  | 29 | 569.1072 | 36.5643
|  | 30 | 577.2079 | 37.8693
|  | 31 | 690 | 36.3917
|  | 32 | 824.7197 | 34.0203
|  | 33 | 932.4577 | 35.8698
|  | 34 | 965.1802 | 40.5783
|  | 35 | 948.0607 | 38.8222
|  | 36 | 916.7571 | 38.7263
|  | 37 | 896.8671 | 42.7153
|  | 38 | 882.8386 | 41.4371
|  | 39 | 889.8994 | 41.4111
|  | 40 | 867.6473 | 41.4837
|  | 41 | 857.1502 | 41.461
|  | 42 | 880.6301 | 38.3022
|  | 43 | 932.5005 | 42.9683
|  | 44 | 1007.9977 | 47.3613
|  | 45 | 1030.0615 | 45.6513
|  | 46 | 961.2593 | 43.9463
|  | 47 | 842.7887 | 36.9112
|  | 48 | 712.2188 | 38.1779
|  | 49 | 595.5472 | 29.7664
|  | 50 | 548.0615 | 27.7689
|  | 51 | 524.052 | 33.7819
|  | 52 | 535.5827 | 37.1264
|  | 53 | 557.3544 | 37.5709
|  | 54 | 553.2676 | 36.4209
|  | 55 | 608.6125 | 35.4388
|  | 56 | 722.2011 | 38.1213
|  | 57 | 853.3975 | 38.0602
|  | 58 | 959.5488 | 39.1522
|  | 59 | 1023.2633 | 38.4042
|  | 60 | 1055.7799 | 35.8022
|  | 61 | 1068.5905 | 37.7927
|  | 62 | 1036.2013 | 41.7552
|  | 63 | 1006.3751 | 40.4429
|  | 64 | 991.7002 | 40.1952
|  | 65 | 999.0313 | 40.3273
|  | 66 | 1023.4565 | 38.7162
|  | 67 | 1068.6229 | 41.2753
|  | 68 | 1151.8588 | 42.4062
|  | 69 | 1171.4727 | 46.1168
|  | 70 | 1001 | 44.6997
|  | 71 | 900 | 37.1235
|  | 72 | 747.9383 | 32.4827
|  | 73 | 637.4665 | 35.8708
|  | 74 | 566.9651 | 33.8517
|  | 75 | 543.2852 | 33.678
|  | 76 | 555.7705 | 21.9224
|  | 77 | 574.1072 | 21.4186
|  | 78 | 582.2079 | 21.8794
|  | 79 | 684.4864 | 25.1382
|  | 80 | 829.7197 | 26.8831
|  | 81 | 937.4577 | 27.9457
|  | 82 | 970.1802 | 36.1315
|  | 83 | 953.0607 | 39.1255
|  | 84 | 921.7571 | 38.9329
|  | 85 | 901.8671 | 36.9715
|  | 86 | 887.8386 | 36.6051
|  | 87 | 894.8994 | 37.3614
|  | 88 | 872.6473 | 39.0989
|  | 89 | 862.1502 | 40.111
|  | 90 | 885.6301 | 40.5861
|  | 91 | 937.5005 | 43.5008
|  | 92 | 1012.9977 | 44.6687
|  | 93 | 1035.0615 | 45.4483
|  | 94 | 966.2593 | 41.8499
|  | 95 | 847.7887 | 39.2925
|  | 96 | 717.2188 | 32.7644
|  | 97 | 627.8175 | 33.8029
|  | 98 | 563.7532 | 33.8777
|  | 99 | 536.4492 | 30.5325
|  | 100 | 560.6618 | 27.7333
|  | 101 | 588.1701 | 31.8626
|  | 102 | 602.1371 | 34.0054
|  | 103 | 704.8348 | 35.0046
|  | 104 | 830 | 36.2603
|  | 105 | 974.351 | 36.6343
|  | 106 | 953.2134 | 35.1188
|  | 107 | 908.2679 | 32.9144
|  | 108 | 884.1472 | 32.7312
|  | 109 | 869.8748 | 31.9891
|  | 110 | 872.5557 | 26.2004
|  | 111 | 888.9125 | 31.5192
|  | 112 | 861.5697 | 30.3656
|  | 113 | 860.5748 | 32.6487
|  | 114 | 873.7621 | 31.3388
|  | 115 | 936.9122 | 33.0183
|  | 116 | 1024.1451 | 38.5902
|  | 117 | 1067.6111 | 34.2909
|  | 118 | 1001.7136 | 39.026
|  | 119 | 883.3957 | 33.9653
|  | 120 | 739.2374 | 33.7676
|  | 121 | 632.8175 | 28.2388
|  | 122 | 568.7532 | 28.9826
|  | 123 | 541.4492 | 29.396
|  | 124 | 565.6618 | 30.8768
|  | 125 | 593.1701 | 31.0001
|  | 126 | 607.1371 | 32.2575
|  | 127 | 709.8348 | 34.7867
|  | 128 | 830 | 40.3771
|  | 129 | 979.351 | 41.4511
|  | 130 | 958.2134 | 39.5366
|  | 131 | 913.2679 | 33.7917
|  | 132 | 889.1472 | 32.9376
|  | 133 | 874.8748 | 32.7029
|  | 134 | 877.5557 | 33.3517
|  | 135 | 893.9125 | 35.4305
|  | 136 | 866.5697 | 35.2121
|  | 137 | 865.5748 | 35.0338
|  | 138 | 878.7621 | 35.4996
|  | 139 | 941.9122 | 36.6228
|  | 140 | 1029.1451 | 38.5126
|  | 141 | 1072.6111 | 39.8971
|  | 142 | 1006.7136 | 38.5383
|  | 143 | 888.3957 | 36.3848
|  | 144 | 744.2374 | 26.7696
|  | 145 | 637.4665 | 39.3674
|  | 146 | 566.9651 | 36.9933
|  | 147 | 543.2852 | 34.1777
|  | 148 | 555.7705 | 35.6712
|  | 149 | 574.1072 | 36.5643
|  | 150 | 582.2079 | 37.8693
|  | 151 | 684.4864 | 36.3917
|  | 152 | 829.7197 | 34.0203
|  | 153 | 937.4577 | 35.8698
|  | 154 | 970.1802 | 40.5783
|  | 155 | 953.0607 | 38.8222
|  | 156 | 921.7571 | 38.7263
|  | 157 | 901.8671 | 42.7153
|  | 158 | 887.8386 | 41.4371
|  | 159 | 894.8994 | 41.4111
|  | 160 | 872.6473 | 41.4837
|  | 161 | 862.1502 | 41.461
|  | 162 | 885.6301 | 38.3022
|  | 163 | 937.5005 | 42.9683
|  | 164 | 1012.9977 | 47.3613
|  | 165 | 1035.0615 | 45.6513
|  | 166 | 966.2593 | 43.9463
|  | 167 | 847.7887 | 36.9112
|  | 168 | 717.2188 | 38.1779
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 11/04/2022 | 12/04/2022 | 13/04/2022 | 14/04/2022 | 15/04/2022 | 16/04/2022 | 17/04/2022
Min (MW) | 12 | 12 | 12 | 12 | 12 | 12 | 12
Max (MW) | 47 | 47 | 47 | 47 | 47 | 47 | 47
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Sheet2
Albania Transmission System Operator
2022-04-17
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21000 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 11/04/2022 | 12/04/2022 | 13/04/2022 | 14/04/2022 | 15/04/2022 | 16/04/2022 | 17/04/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1200 | 1200 | 1150 | 1150 | 1100 | 1100 | 1100
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-04-15
|  | Hour | Production | Exchange | Consumption
|  | 1 | 655.2942 | 25.6845 | 629.6097
|  | 2 | 578.8063 | 8.5268 | 570.2794
|  | 3 | 533.6766 | -16.0158 | 549.6924
|  | 4 | 496.3025 | -73.8678 | 570.1702
|  | 5 | 497.9063 | -77.2503 | 575.1566
|  | 6 | 503.0082 | -94.7906 | 597.7987
|  | 7 | 664.9175 | -57.3626 | 722.2801
|  | 8 | 873.4536 | -17.1805 | 890.6341
|  | 9 | 994.9786 | 43.3559 | 951.6227
|  | 10 | 989.5357 | 77.8493 | 911.6864
|  | 11 | 901.4156 | 37.7138 | 863.7017
|  | 12 | 735.0465 | -113.2455 | 848.292
|  | 13 | 715.754 | -146.868 | 862.622
|  | 14 | 715.2644 | -146.9843 | 862.2487
|  | 15 | 711.0137 | -140.5488 | 851.5625
|  | 16 | 699.1177 | -131.967 | 831.0847
|  | 17 | 694.7465 | -145.8391 | 840.5856
|  | 18 | 817.8213 | -40.6303 | 858.4516
|  | 19 | 1034.3547 | 135.8858 | 898.4689
|  | 20 | 1147.2777 | 168.3915 | 978.8862
|  | 21 | 1155.0585 | 132.8351 | 1022.2234
|  | 22 | 1082.2001 | 118.9831 | 963.217
|  | 23 | 943.8149 | 116.4877 | 827.3272
|  | 24 | 670.0437 | -12.9992 | 683.0429
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 25.029 | 2.3829 | -27.4578 | -182.8044 | 61.9826 | 26.9776
2 | 24.6313 | -1.0055 | -18.2993 | -177.3241 | 73.1916 | 50.6664
3 | 24.5232 | -2.8179 | -12.2908 | -172.7696 | 86.3493 | 51.2625
4 | 23.5066 | -4.0988 | -20.7464 | -177.7209 | 73.2104 | 57.7124
5 | 26.1358 | -13.2233 | -33.2367 | -182.0948 | 52.1795 | 73.5437
6 | 23.7004 | -32.2769 | -46.543 | -191.091 | 36.4977 | 74.6701
7 | 21.8485 | -47.1387 | -77.1374 | -211.122 | -19.9557 | 81.4064
8 | 17.5191 | -43.9113 | -83.8618 | -215.6346 | -40.6318 | 67.3828
9 | 20.9319 | -29.1595 | -75.1213 | -210.1349 | -39.8066 | 52.6715
10 | 14.9753 | -7.327 | -45.178 | -197.3745 | -8.2226 | 30.7684
11 | 16.7133 | -0.87498 | -38.9173 | -191.3749 | -1.4999 | 31.0367
12 | 14.9809 | 1.2518 | -54.9855 | -183.2947 | -51.0666 | 77.3602
13 | 15.7558 | 4.1946 | -82.3198 | -169.0247 | -119.9036 | 142.4515
14 | 10.3941 | 10.0016 | -68.3184 | -160.2478 | -89.5642 | 121.0813
15 | 13.0296 | 9.1351 | -78.9703 | -159.8543 | -108.1356 | 139.2917
16 | 22.051 | 13.5071 | -100.5204 | -147.5099 | -139.9588 | 177.5757
17 | 25.3694 | 23.8642 | -83.6514 | -146.997 | -75.6081 | 152.5077
18 | 21.534 | 27.0221 | -76.229 | -146.9583 | -64.9313 | 138.3937
19 | 19.6446 | 55.8104 | -45.8181 | -103.1676 | -7.8328 | 125.5145
20 | 15.7161 | 69.9619 | -38.9073 | -71.9728 | -1.9542 | 175.1836
21 | 11.4895 | 67.4888 | -34.1915 | -75.0662 | 1.8278 | 174.2908
22 | 17.0408 | 49.2875 | -24.8421 | -102.4676 | 29.4712 | 140.293
23 | 10.5934 | 47.639 | 4.5441 | -106.5738 | 93.3166 | 96.0945
24 | 3.28 | 32.2769 | -22.0798 | -133.1915 | 73.0598 | 35.7861
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-04-17
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 498.03
|  |  | 01:00 - 02:00 | 495.03
|  |  | 02:00 - 03:00 | 494.03
|  |  | 03:00 - 04:00 | 487.03
|  |  | 04:00 - 05:00 | 486.03
|  |  | 05:00 - 06:00 | 486.03
|  |  | 06:00 - 07:00 | 479.03
|  |  | 07:00 - 08:00 | 504.126
|  |  | 08:00 - 09:00 | 505.0216
|  |  | 09:00 - 10:00 | 595.2866
|  |  | 10:00 - 11:00 | 667.03
|  |  | 11:00 - 12:00 | 679.4505
|  |  | 12:00 - 13:00 | 690.3762
|  |  | 13:00 - 14:00 | 643.2461
|  |  | 14:00 - 15:00 | 615.1831
|  |  | 15:00 - 16:00 | 682.1911
|  |  | 16:00 - 17:00 | 680.1811
|  |  | 17:00 - 18:00 | 923.03
|  |  | 18:00 - 19:00 | 1159.03
|  |  | 19:00 - 20:00 | 1240.03
|  |  | 20:00 - 21:00 | 1250.03
|  |  | 21:00 - 22:00 | 993.0125
|  |  | 22:00 - 23:00 | 820.7376
|  |  | 23:00 - 00:00 | 599.2607
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0.15576 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 1.0584 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 139.7922 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 133.8895 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 138.5308 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 137.4124 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 140.1775 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 140.0203 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 112.4958 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 109.6747 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 116.5507 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 117.8624 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 113.6972 | 0 | 110.9779 | 0
20 | 0 | 0 | 0 | 0 | 96.3113 | 113.5947 | 96.3609 | 0
21 | 0 | 0 | 0 | 0 | 101.5008 | 97.3097 | 101.548 | 0
22 | 0 | 0 | 0 | 0 | 92.8777 | 0.84943 | 92.9111 | 0
23 | 0 | 0 | 0 | 0 | 104.5015 | 0 | 1.1159 | 0
24 | 0 | 0 | 0 | 0 | 0.77243 | 0 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1797.1257 | 211.7538 | 402.9138 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 605.5472 | 30.4335
|  | 2 | 558.0615 | 27.7851
|  | 3 | 534.052 | 28.3332
|  | 4 | 545.5827 | 27.875
|  | 5 | 567.3544 | 28.2164
|  | 6 | 563.2676 | 32.3795
|  | 7 | 618.6125 | 34.7828
|  | 8 | 732.2011 | 31.3012
|  | 9 | 863.3975 | 31.8766
|  | 10 | 969.5488 | 31.5667
|  | 11 | 1033.2633 | 30.8363
|  | 12 | 1065.7799 | 29.9425
|  | 13 | 1078.5905 | 31.6421
|  | 14 | 1046.2013 | 33.3377
|  | 15 | 1016.3751 | 35.2571
|  | 16 | 1001.7002 | 36.5481
|  | 17 | 1009.0313 | 35.5954
|  | 18 | 1033.4565 | 35.464
|  | 19 | 1078.6229 | 44.0277
|  | 20 | 1161.8588 | 46.5565
|  | 21 | 1181.4727 | 41.8701
|  | 22 | 1098.7811 | 37.8023
|  | 23 | 900 | 37.6903
|  | 24 | 757.9383 | 34.5892
|  | 25 | 632.4665 | 39.3674
|  | 26 | 561.9651 | 36.9933
|  | 27 | 538.2852 | 34.1777
|  | 28 | 550.7705 | 35.6712
|  | 29 | 569.1072 | 36.5643
|  | 30 | 577.2079 | 37.8693
|  | 31 | 690 | 36.3917
|  | 32 | 824.7197 | 34.0203
|  | 33 | 932.4577 | 35.8698
|  | 34 | 965.1802 | 40.5783
|  | 35 | 948.0607 | 38.8222
|  | 36 | 916.7571 | 38.7263
|  | 37 | 896.8671 | 42.7153
|  | 38 | 882.8386 | 41.4371
|  | 39 | 889.8994 | 41.4111
|  | 40 | 867.6473 | 41.4837
|  | 41 | 857.1502 | 41.461
|  | 42 | 880.6301 | 38.3022
|  | 43 | 932.5005 | 42.9683
|  | 44 | 1007.9977 | 47.3613
|  | 45 | 1030.0615 | 45.6513
|  | 46 | 961.2593 | 43.9463
|  | 47 | 842.7887 | 36.9112
|  | 48 | 712.2188 | 38.1779
|  | 49 | 595.5472 | 29.7664
|  | 50 | 548.0615 | 27.7689
|  | 51 | 524.052 | 33.7819
|  | 52 | 535.5827 | 37.1264
|  | 53 | 557.3544 | 37.5709
|  | 54 | 553.2676 | 36.4209
|  | 55 | 608.6125 | 35.4388
|  | 56 | 722.2011 | 38.1213
|  | 57 | 853.3975 | 38.0602
|  | 58 | 959.5488 | 39.1522
|  | 59 | 1023.2633 | 38.4042
|  | 60 | 1055.7799 | 35.8022
|  | 61 | 1068.5905 | 37.7927
|  | 62 | 1036.2013 | 41.7552
|  | 63 | 1006.3751 | 40.4429
|  | 64 | 991.7002 | 40.1952
|  | 65 | 999.0313 | 40.3273
|  | 66 | 1023.4565 | 38.7162
|  | 67 | 1068.6229 | 41.2753
|  | 68 | 1151.8588 | 42.4062
|  | 69 | 1171.4727 | 46.1168
|  | 70 | 1001 | 44.6997
|  | 71 | 900 | 37.1235
|  | 72 | 747.9383 | 32.4827
|  | 73 | 637.4665 | 35.8708
|  | 74 | 566.9651 | 33.8517
|  | 75 | 543.2852 | 33.678
|  | 76 | 555.7705 | 21.9224
|  | 77 | 574.1072 | 21.4186
|  | 78 | 582.2079 | 21.8794
|  | 79 | 684.4864 | 25.1382
|  | 80 | 829.7197 | 26.8831
|  | 81 | 937.4577 | 27.9457
|  | 82 | 970.1802 | 36.1315
|  | 83 | 953.0607 | 39.1255
|  | 84 | 921.7571 | 38.9329
|  | 85 | 901.8671 | 36.9715
|  | 86 | 887.8386 | 36.6051
|  | 87 | 894.8994 | 37.3614
|  | 88 | 872.6473 | 39.0989
|  | 89 | 862.1502 | 40.111
|  | 90 | 885.6301 | 40.5861
|  | 91 | 937.5005 | 43.5008
|  | 92 | 1012.9977 | 44.6687
|  | 93 | 1035.0615 | 45.4483
|  | 94 | 966.2593 | 41.8499
|  | 95 | 847.7887 | 39.2925
|  | 96 | 717.2188 | 32.7644
|  | 97 | 627.8175 | 33.8029
|  | 98 | 563.7532 | 33.8777
|  | 99 | 536.4492 | 30.5325
|  | 100 | 560.6618 | 27.7333
|  | 101 | 588.1701 | 31.8626
|  | 102 | 602.1371 | 34.0054
|  | 103 | 704.8348 | 35.0046
|  | 104 | 830 | 36.2603
|  | 105 | 974.351 | 36.6343
|  | 106 | 953.2134 | 35.1188
|  | 107 | 908.2679 | 32.9144
|  | 108 | 884.1472 | 32.7312
|  | 109 | 869.8748 | 31.9891
|  | 110 | 872.5557 | 26.2004
|  | 111 | 888.9125 | 31.5192
|  | 112 | 861.5697 | 30.3656
|  | 113 | 860.5748 | 32.6487
|  | 114 | 873.7621 | 31.3388
|  | 115 | 936.9122 | 33.0183
|  | 116 | 1024.1451 | 38.5902
|  | 117 | 1067.6111 | 34.2909
|  | 118 | 1001.7136 | 39.026
|  | 119 | 883.3957 | 33.9653
|  | 120 | 739.2374 | 33.7676
|  | 121 | 632.8175 | 28.2388
|  | 122 | 568.7532 | 28.9826
|  | 123 | 541.4492 | 29.396
|  | 124 | 565.6618 | 30.8768
|  | 125 | 593.1701 | 31.0001
|  | 126 | 607.1371 | 32.2575
|  | 127 | 709.8348 | 34.7867
|  | 128 | 830 | 40.3771
|  | 129 | 979.351 | 41.4511
|  | 130 | 958.2134 | 39.5366
|  | 131 | 913.2679 | 33.7917
|  | 132 | 889.1472 | 32.9376
|  | 133 | 874.8748 | 32.7029
|  | 134 | 877.5557 | 33.3517
|  | 135 | 893.9125 | 35.4305
|  | 136 | 866.5697 | 35.2121
|  | 137 | 865.5748 | 35.0338
|  | 138 | 878.7621 | 35.4996
|  | 139 | 941.9122 | 36.6228
|  | 140 | 1029.1451 | 38.5126
|  | 141 | 1072.6111 | 39.8971
|  | 142 | 1006.7136 | 38.5383
|  | 143 | 888.3957 | 36.3848
|  | 144 | 744.2374 | 26.7696
|  | 145 | 637.4665 | 39.3674
|  | 146 | 566.9651 | 36.9933
|  | 147 | 543.2852 | 34.1777
|  | 148 | 555.7705 | 35.6712
|  | 149 | 574.1072 | 36.5643
|  | 150 | 582.2079 | 37.8693
|  | 151 | 684.4864 | 36.3917
|  | 152 | 829.7197 | 34.0203
|  | 153 | 937.4577 | 35.8698
|  | 154 | 970.1802 | 40.5783
|  | 155 | 953.0607 | 38.8222
|  | 156 | 921.7571 | 38.7263
|  | 157 | 901.8671 | 42.7153
|  | 158 | 887.8386 | 41.4371
|  | 159 | 894.8994 | 41.4111
|  | 160 | 872.6473 | 41.4837
|  | 161 | 862.1502 | 41.461
|  | 162 | 885.6301 | 38.3022
|  | 163 | 937.5005 | 42.9683
|  | 164 | 1012.9977 | 47.3613
|  | 165 | 1035.0615 | 45.6513
|  | 166 | 966.2593 | 43.9463
|  | 167 | 847.7887 | 36.9112
|  | 168 | 717.2188 | 38.1779
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 11/04/2022 | 12/04/2022 | 13/04/2022 | 14/04/2022 | 15/04/2022 | 16/04/2022 | 17/04/2022
Min (MW) | 12 | 12 | 12 | 12 | 12 | 12 | 12
Max (MW) | 47 | 47 | 47 | 47 | 47 | 47 | 47
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible