## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-04-20
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21000 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 18/04/2022 | 19/04/2022 | 20/04/2022 | 21/04/2022 | 22/04/2022 | 23/04/2022 | 24/04/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-04-18
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 544.2237 | -54.7214 | 598.9451
|  | 2 | 500.7922 | -41.6577 | 542.4499
|  | 3 | 483.9527 | -34.0326 | 517.9854
|  | 4 | 483.5785 | -58.5028 | 542.0813
|  | 5 | 494.1336 | -51.2967 | 545.4302
|  | 6 | 482.5487 | -75.7308 | 558.2795
|  | 7 | 571.1947 | -70.5072 | 641.7019
|  | 8 | 658.7889 | -128.5553 | 787.3442
|  | 9 | 663.7251 | -221.4882 | 885.2134
|  | 10 | 754.0321 | -194.9221 | 948.9541
|  | 11 | 755.5095 | -207.6564 | 963.1658
|  | 12 | 698.3633 | -265.0268 | 963.3902
|  | 13 | 677.9067 | -317.5651 | 995.4718
|  | 14 | 687.2953 | -322.9596 | 1010.2549
|  | 15 | 641.766 | -348.3383 | 990.1043
|  | 16 | 676.633 | -284.1043 | 960.7373
|  | 17 | 687.5478 | -282.1804 | 969.7282
|  | 18 | 882.1534 | -113.6371 | 995.7906
|  | 19 | 1194.9768 | 149.3786 | 1045.5982
|  | 20 | 1201.2609 | 112.6333 | 1088.6275
|  | 21 | 1222.1764 | 104.3372 | 1117.8392
|  | 22 | 1135.4223 | 84.4626 | 1050.9596
|  | 23 | 889.0468 | -17.249 | 906.2959
|  | 24 | 733.8904 | -18.073 | 751.9634
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.7235 | 50.9771 | -37.3355 | -113.4121 | 6.4001 | 64.0669
2 | 17.3742 | 29.5434 | -38.4475 | -137.0203 | 34.4575 | 50.3348
3 | 15.3135 | 22.8913 | -25.8061 | -141.9329 | 61.3375 | 42.4682
4 | 17.0844 | 24.4326 | -36.0479 | -138.9395 | 44.809 | 50.749
5 | 21.4958 | 20.47 | -43.8315 | -137.9912 | 28.1111 | 65.9738
6 | 24.491 | 16.3975 | -39.3534 | -123.5244 | -14.0932 | 110.6626
7 | 24.551 | 36.6291 | -58.1242 | -73.9404 | -43.4461 | 200.6865
8 | 15.8791 | 55.5621 | -68.3024 | -40.1781 | -131.8733 | 235.4056
9 | 7.643 | 74.2069 | -36.7596 | -15.9506 | -135.5773 | 248.6925
10 | 5.5956 | 80.3587 | -21.2712 | -14.3217 | -121.7207 | 246.1533
11 | 4.6141 | 72.65 | -33.5372 | -41.2877 | -144.6117 | 205.7365
12 | 1.8676 | 61.8288 | -54.9681 | -61.6799 | -152.294 | 174.9256
13 | 2.4908 | 51.8393 | -72.9058 | -64.9894 | -197.6648 | 186.9867
14 | 6.2488 | 46.9869 | -62.8454 | -68.902 | -194.0198 | 172.7244
15 | -0.92244 | 42.8327 | -55.1505 | -79.6788 | -141.2705 | 133.065
16 | -4.5578 | 43.4926 | -42.5449 | -85.8526 | -111.2079 | 120.4736
17 | 0.8564 | 38.8289 | -52.2782 | -98.3453 | -130.153 | 131.7941
18 | 1.2708 | 53.0301 | -35.2311 | -79.7368 | -65.7189 | 129.5594
19 | 6.2778 | 80.8462 | -5.1445 | -33.7204 | -64.2432 | 141.7277
20 | 3.7902 | 99.1775 | -20.332 | 6.7383 | -145.0606 | 193.2212
21 | 5.8196 | 103.7631 | -34.8188 | 12.0702 | -144.5338 | 192.1335
22 | 7.0924 | 78.811 | -14.4808 | -53.2934 | -11.8245 | 115.5358
23 | 15.9706 | 75.1593 | -23.2461 | -58.4414 | -9.8085 | 109.5027
24 | 15.6288 | 60.4748 | -29.5132 | -89.2169 | -9.4026 | 86.3725
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-04-20
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 705.2214
|  |  | 01:00 - 02:00 | 654.9712
|  |  | 02:00 - 03:00 | 605.05
|  |  | 03:00 - 04:00 | 626.05
|  |  | 04:00 - 05:00 | 653.0514
|  |  | 05:00 - 06:00 | 653.9394
|  |  | 06:00 - 07:00 | 813.9
|  |  | 07:00 - 08:00 | 1059.075
|  |  | 08:00 - 09:00 | 1127.4271
|  |  | 09:00 - 10:00 | 1117.5832
|  |  | 10:00 - 11:00 | 1095.4911
|  |  | 11:00 - 12:00 | 968.9968
|  |  | 12:00 - 13:00 | 908.9387
|  |  | 13:00 - 14:00 | 899.9226
|  |  | 14:00 - 15:00 | 893.8147
|  |  | 15:00 - 16:00 | 922.7787
|  |  | 16:00 - 17:00 | 951.7888
|  |  | 17:00 - 18:00 | 974.9
|  |  | 18:00 - 19:00 | 1128.02
|  |  | 19:00 - 20:00 | 1208.02
|  |  | 20:00 - 21:00 | 1249.02
|  |  | 21:00 - 22:00 | 1180.02
|  |  | 22:00 - 23:00 | 1034.9
|  |  | 23:00 - 00:00 | 873.5554
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.43323 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 1.9036 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 119.6205 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 132.5862 | 0 | 1.4338
9 | 0 | 0 | 0 | 0 | 0 | 105.358 | 0 | 105.1384
10 | 0 | 0 | 0 | 0 | 0 | 111.1383 | 0 | 110.9503
11 | 0 | 0 | 0 | 0 | 0 | 112.6732 | 0 | 112.4607
12 | 0 | 0 | 0 | 0 | 0 | 120.4813 | 0 | 120.3735
13 | 0 | 0 | 0 | 0 | 0 | 111.4388 | 0 | 111.1486
14 | 0 | 0 | 0 | 0 | 0 | 107.1026 | 0 | 106.9036
15 | 0 | 0 | 0 | 0 | 0 | 105.5255 | 0 | 105.4109
16 | 0 | 0 | 0 | 0 | 0 | 97.1515 | 0 | 97.1309
17 | 0 | 0 | 0 | 0 | 0 | 98.6406 | 0 | 98.36
18 | 0 | 0 | 0 | 0 | 0 | 116.9516 | 0 | 116.6294
19 | 0 | 0 | 0 | 0 | 0 | 112.0062 | 0.2356 | 111.8728
20 | 0 | 0 | 0 | 0 | 0 | 112.6005 | 112.6537 | 112.3085
21 | 0 | 0 | 0 | 0 | 0 | 123.2922 | 133.9693 | 123.1375
22 | 0 | 0 | 0 | 0 | 0 | 110.5426 | 108.1901 | 110.3559
23 | 0 | 0 | 0 | 0 | 0 | 112.9198 | 0.77031 | 112.7311
24 | 0 | 0 | 0 | 0 | 0 | 0.42507 | 0 | 103.4253
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 0.43323 | 1912.3582 | 355.8191 | 1759.771
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 592.1157 | 30.4335
|  | 2 | 576.7154 | 27.7851
|  | 3 | 554.5708 | 28.3332
|  | 4 | 573.0253 | 27.875
|  | 5 | 577.7732 | 28.2164
|  | 6 | 594.6254 | 32.3795
|  | 7 | 685.7896 | 34.7828
|  | 8 | 843.0675 | 31.3012
|  | 9 | 963.0951 | 31.8766
|  | 10 | 993.9245 | 31.5667
|  | 11 | 972.8897 | 30.8363
|  | 12 | 963.6386 | 29.9425
|  | 13 | 952.2542 | 31.6421
|  | 14 | 945.4451 | 33.3377
|  | 15 | 921.9117 | 35.2571
|  | 16 | 896.084 | 36.5481
|  | 17 | 889.4149 | 35.5954
|  | 18 | 913.2693 | 35.464
|  | 19 | 958.6312 | 44.0277
|  | 20 | 1015.6036 | 46.5565
|  | 21 | 1028.5325 | 41.8701
|  | 22 | 965.736 | 37.8023
|  | 23 | 842.193 | 37.6903
|  | 24 | 726.1227 | 34.5892
|  | 25 | 587.1157 | 39.3674
|  | 26 | 571.7154 | 36.9933
|  | 27 | 549.5708 | 34.1777
|  | 28 | 568.0253 | 35.6712
|  | 29 | 572.7732 | 36.5643
|  | 30 | 589.6254 | 37.8693
|  | 31 | 680.7896 | 36.3917
|  | 32 | 800 | 34.0203
|  | 33 | 958.0951 | 35.8698
|  | 34 | 988.9245 | 40.5783
|  | 35 | 967.8897 | 38.8222
|  | 36 | 958.6386 | 38.7263
|  | 37 | 947.2542 | 42.7153
|  | 38 | 940.4451 | 41.4371
|  | 39 | 916.9117 | 41.4111
|  | 40 | 891.084 | 41.4837
|  | 41 | 884.4149 | 41.461
|  | 42 | 908.2693 | 38.3022
|  | 43 | 953.6312 | 42.9683
|  | 44 | 1010.6036 | 47.3613
|  | 45 | 1023.5325 | 45.6513
|  | 46 | 960.736 | 43.9463
|  | 47 | 837.193 | 36.9112
|  | 48 | 721.1227 | 38.1779
|  | 49 | 677.2637 | 29.7664
|  | 50 | 619.5301 | 27.7689
|  | 51 | 594.8178 | 33.7819
|  | 52 | 608.7142 | 37.1264
|  | 53 | 611.2386 | 37.5709
|  | 54 | 616.4479 | 36.4209
|  | 55 | 670.2137 | 35.4388
|  | 56 | 801.0095 | 38.1213
|  | 57 | 910.7927 | 38.0602
|  | 58 | 968.1524 | 39.1522
|  | 59 | 935.6266 | 38.4042
|  | 60 | 899.4396 | 35.8022
|  | 61 | 887.7633 | 37.7927
|  | 62 | 904.2974 | 41.7552
|  | 63 | 896.995 | 40.4429
|  | 64 | 884.2061 | 40.1952
|  | 65 | 885.7808 | 40.3273
|  | 66 | 933.4591 | 38.7162
|  | 67 | 968.4338 | 41.2753
|  | 68 | 1025.8345 | 42.4062
|  | 69 | 1041.1867 | 46.1168
|  | 70 | 973.2752 | 44.6997
|  | 71 | 873.6627 | 37.1235
|  | 72 | 756.8552 | 32.4827
|  | 73 | 659.6097 | 35.8708
|  | 74 | 600.2794 | 33.8517
|  | 75 | 579.6924 | 33.678
|  | 76 | 600.1702 | 21.9224
|  | 77 | 605.1566 | 21.4186
|  | 78 | 627.7987 | 21.8794
|  | 79 | 752.2801 | 25.1382
|  | 80 | 920.6341 | 26.8831
|  | 81 | 981.6227 | 27.9457
|  | 82 | 941.6864 | 36.1315
|  | 83 | 893.7017 | 39.1255
|  | 84 | 878.292 | 38.9329
|  | 85 | 892.622 | 36.9715
|  | 86 | 892.2487 | 36.6051
|  | 87 | 881.5625 | 37.3614
|  | 88 | 861.0847 | 39.0989
|  | 89 | 870.5856 | 40.111
|  | 90 | 888.4516 | 40.5861
|  | 91 | 928.4689 | 43.5008
|  | 92 | 1008.8862 | 44.6687
|  | 93 | 1052.2234 | 45.4483
|  | 94 | 993.217 | 41.8499
|  | 95 | 857.3272 | 39.2925
|  | 96 | 713.0429 | 32.7644
|  | 97 | 647.2637 | 33.8029
|  | 98 | 589.5301 | 33.8777
|  | 99 | 564.8178 | 30.5325
|  | 100 | 578.7142 | 27.7333
|  | 101 | 581.2386 | 31.8626
|  | 102 | 586.4479 | 34.0054
|  | 103 | 640.2137 | 35.0046
|  | 104 | 771.0095 | 36.2603
|  | 105 | 880.7927 | 36.6343
|  | 106 | 938.1524 | 35.1188
|  | 107 | 905.6266 | 32.9144
|  | 108 | 869.4396 | 32.7312
|  | 109 | 857.7633 | 31.9891
|  | 110 | 874.2974 | 26.2004
|  | 111 | 866.995 | 31.5192
|  | 112 | 854.2061 | 30.3656
|  | 113 | 855.7808 | 32.6487
|  | 114 | 903.4591 | 31.3388
|  | 115 | 938.4338 | 33.0183
|  | 116 | 995.8345 | 38.5902
|  | 117 | 1011.1867 | 34.2909
|  | 118 | 943.2752 | 39.026
|  | 119 | 843.6627 | 33.9653
|  | 120 | 726.8552 | 33.7676
|  | 121 | 634.6097 | 28.2388
|  | 122 | 575.2794 | 28.9826
|  | 123 | 554.6924 | 29.396
|  | 124 | 575.1702 | 30.8768
|  | 125 | 580.1566 | 31.0001
|  | 126 | 602.7987 | 32.2575
|  | 127 | 727.2801 | 34.7867
|  | 128 | 895.6341 | 40.3771
|  | 129 | 956.6227 | 41.4511
|  | 130 | 916.6864 | 39.5366
|  | 131 | 868.7017 | 33.7917
|  | 132 | 853.292 | 32.9376
|  | 133 | 867.622 | 32.7029
|  | 134 | 867.2487 | 33.3517
|  | 135 | 856.5625 | 35.4305
|  | 136 | 836.0847 | 35.2121
|  | 137 | 845.5856 | 35.0338
|  | 138 | 863.4516 | 35.4996
|  | 139 | 903.4689 | 36.6228
|  | 140 | 983.8862 | 38.5126
|  | 141 | 1027.2234 | 39.8971
|  | 142 | 968.217 | 38.5383
|  | 143 | 832.3272 | 36.3848
|  | 144 | 688.0429 | 26.7696
|  | 145 | 659.6097 | 39.3674
|  | 146 | 600.2794 | 36.9933
|  | 147 | 579.6924 | 34.1777
|  | 148 | 600.1702 | 35.6712
|  | 149 | 605.1566 | 36.5643
|  | 150 | 627.7987 | 37.8693
|  | 151 | 752.2801 | 36.3917
|  | 152 | 920.6341 | 34.0203
|  | 153 | 981.6227 | 35.8698
|  | 154 | 941.6864 | 40.5783
|  | 155 | 893.7017 | 38.8222
|  | 156 | 878.292 | 38.7263
|  | 157 | 892.622 | 42.7153
|  | 158 | 892.2487 | 41.4371
|  | 159 | 881.5625 | 41.4111
|  | 160 | 861.0847 | 41.4837
|  | 161 | 870.5856 | 41.461
|  | 162 | 888.4516 | 38.3022
|  | 163 | 928.4689 | 42.9683
|  | 164 | 1008.8862 | 47.3613
|  | 165 | 1052.2234 | 45.6513
|  | 166 | 993.217 | 43.9463
|  | 167 | 857.3272 | 36.9112
|  | 168 | 713.0429 | 38.1779
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 18/04/2022 | 19/04/2022 | 20/04/2022 | 21/04/2022 | 22/04/2022 | 23/04/2022 | 24/04/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 45 | 45 | 45 | 45 | 45 | 45 | 45
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-04-20
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21000 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 18/04/2022 | 19/04/2022 | 20/04/2022 | 21/04/2022 | 22/04/2022 | 23/04/2022 | 24/04/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-04-18
|  | Hour | Production | Exchange | Consumption
|  | 1 | 544.2237 | -54.7214 | 598.9451
|  | 2 | 500.7922 | -41.6577 | 542.4499
|  | 3 | 483.9527 | -34.0326 | 517.9854
|  | 4 | 483.5785 | -58.5028 | 542.0813
|  | 5 | 494.1336 | -51.2967 | 545.4302
|  | 6 | 482.5487 | -75.7308 | 558.2795
|  | 7 | 571.1947 | -70.5072 | 641.7019
|  | 8 | 658.7889 | -128.5553 | 787.3442
|  | 9 | 663.7251 | -221.4882 | 885.2134
|  | 10 | 754.0321 | -194.9221 | 948.9541
|  | 11 | 755.5095 | -207.6564 | 963.1658
|  | 12 | 698.3633 | -265.0268 | 963.3902
|  | 13 | 677.9067 | -317.5651 | 995.4718
|  | 14 | 687.2953 | -322.9596 | 1010.2549
|  | 15 | 641.766 | -348.3383 | 990.1043
|  | 16 | 676.633 | -284.1043 | 960.7373
|  | 17 | 687.5478 | -282.1804 | 969.7282
|  | 18 | 882.1534 | -113.6371 | 995.7906
|  | 19 | 1194.9768 | 149.3786 | 1045.5982
|  | 20 | 1201.2609 | 112.6333 | 1088.6275
|  | 21 | 1222.1764 | 104.3372 | 1117.8392
|  | 22 | 1135.4223 | 84.4626 | 1050.9596
|  | 23 | 889.0468 | -17.249 | 906.2959
|  | 24 | 733.8904 | -18.073 | 751.9634
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.7235 | 50.9771 | -37.3355 | -113.4121 | 6.4001 | 64.0669
2 | 17.3742 | 29.5434 | -38.4475 | -137.0203 | 34.4575 | 50.3348
3 | 15.3135 | 22.8913 | -25.8061 | -141.9329 | 61.3375 | 42.4682
4 | 17.0844 | 24.4326 | -36.0479 | -138.9395 | 44.809 | 50.749
5 | 21.4958 | 20.47 | -43.8315 | -137.9912 | 28.1111 | 65.9738
6 | 24.491 | 16.3975 | -39.3534 | -123.5244 | -14.0932 | 110.6626
7 | 24.551 | 36.6291 | -58.1242 | -73.9404 | -43.4461 | 200.6865
8 | 15.8791 | 55.5621 | -68.3024 | -40.1781 | -131.8733 | 235.4056
9 | 7.643 | 74.2069 | -36.7596 | -15.9506 | -135.5773 | 248.6925
10 | 5.5956 | 80.3587 | -21.2712 | -14.3217 | -121.7207 | 246.1533
11 | 4.6141 | 72.65 | -33.5372 | -41.2877 | -144.6117 | 205.7365
12 | 1.8676 | 61.8288 | -54.9681 | -61.6799 | -152.294 | 174.9256
13 | 2.4908 | 51.8393 | -72.9058 | -64.9894 | -197.6648 | 186.9867
14 | 6.2488 | 46.9869 | -62.8454 | -68.902 | -194.0198 | 172.7244
15 | -0.92244 | 42.8327 | -55.1505 | -79.6788 | -141.2705 | 133.065
16 | -4.5578 | 43.4926 | -42.5449 | -85.8526 | -111.2079 | 120.4736
17 | 0.8564 | 38.8289 | -52.2782 | -98.3453 | -130.153 | 131.7941
18 | 1.2708 | 53.0301 | -35.2311 | -79.7368 | -65.7189 | 129.5594
19 | 6.2778 | 80.8462 | -5.1445 | -33.7204 | -64.2432 | 141.7277
20 | 3.7902 | 99.1775 | -20.332 | 6.7383 | -145.0606 | 193.2212
21 | 5.8196 | 103.7631 | -34.8188 | 12.0702 | -144.5338 | 192.1335
22 | 7.0924 | 78.811 | -14.4808 | -53.2934 | -11.8245 | 115.5358
23 | 15.9706 | 75.1593 | -23.2461 | -58.4414 | -9.8085 | 109.5027
24 | 15.6288 | 60.4748 | -29.5132 | -89.2169 | -9.4026 | 86.3725
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-04-20
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 705.2214
|  |  | 01:00 - 02:00 | 654.9712
|  |  | 02:00 - 03:00 | 605.05
|  |  | 03:00 - 04:00 | 626.05
|  |  | 04:00 - 05:00 | 653.0514
|  |  | 05:00 - 06:00 | 653.9394
|  |  | 06:00 - 07:00 | 813.9
|  |  | 07:00 - 08:00 | 1059.075
|  |  | 08:00 - 09:00 | 1127.4271
|  |  | 09:00 - 10:00 | 1117.5832
|  |  | 10:00 - 11:00 | 1095.4911
|  |  | 11:00 - 12:00 | 968.9968
|  |  | 12:00 - 13:00 | 908.9387
|  |  | 13:00 - 14:00 | 899.9226
|  |  | 14:00 - 15:00 | 893.8147
|  |  | 15:00 - 16:00 | 922.7787
|  |  | 16:00 - 17:00 | 951.7888
|  |  | 17:00 - 18:00 | 974.9
|  |  | 18:00 - 19:00 | 1128.02
|  |  | 19:00 - 20:00 | 1208.02
|  |  | 20:00 - 21:00 | 1249.02
|  |  | 21:00 - 22:00 | 1180.02
|  |  | 22:00 - 23:00 | 1034.9
|  |  | 23:00 - 00:00 | 873.5554
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.43323 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 1.9036 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 119.6205 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 132.5862 | 0 | 1.4338
9 | 0 | 0 | 0 | 0 | 0 | 105.358 | 0 | 105.1384
10 | 0 | 0 | 0 | 0 | 0 | 111.1383 | 0 | 110.9503
11 | 0 | 0 | 0 | 0 | 0 | 112.6732 | 0 | 112.4607
12 | 0 | 0 | 0 | 0 | 0 | 120.4813 | 0 | 120.3735
13 | 0 | 0 | 0 | 0 | 0 | 111.4388 | 0 | 111.1486
14 | 0 | 0 | 0 | 0 | 0 | 107.1026 | 0 | 106.9036
15 | 0 | 0 | 0 | 0 | 0 | 105.5255 | 0 | 105.4109
16 | 0 | 0 | 0 | 0 | 0 | 97.1515 | 0 | 97.1309
17 | 0 | 0 | 0 | 0 | 0 | 98.6406 | 0 | 98.36
18 | 0 | 0 | 0 | 0 | 0 | 116.9516 | 0 | 116.6294
19 | 0 | 0 | 0 | 0 | 0 | 112.0062 | 0.2356 | 111.8728
20 | 0 | 0 | 0 | 0 | 0 | 112.6005 | 112.6537 | 112.3085
21 | 0 | 0 | 0 | 0 | 0 | 123.2922 | 133.9693 | 123.1375
22 | 0 | 0 | 0 | 0 | 0 | 110.5426 | 108.1901 | 110.3559
23 | 0 | 0 | 0 | 0 | 0 | 112.9198 | 0.77031 | 112.7311
24 | 0 | 0 | 0 | 0 | 0 | 0.42507 | 0 | 103.4253
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 0 | 1912.3582 | 355.8191 | 1759.771
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 592.1157 | 30.4335
|  | 2 | 576.7154 | 27.7851
|  | 3 | 554.5708 | 28.3332
|  | 4 | 573.0253 | 27.875
|  | 5 | 577.7732 | 28.2164
|  | 6 | 594.6254 | 32.3795
|  | 7 | 685.7896 | 34.7828
|  | 8 | 843.0675 | 31.3012
|  | 9 | 963.0951 | 31.8766
|  | 10 | 993.9245 | 31.5667
|  | 11 | 972.8897 | 30.8363
|  | 12 | 963.6386 | 29.9425
|  | 13 | 952.2542 | 31.6421
|  | 14 | 945.4451 | 33.3377
|  | 15 | 921.9117 | 35.2571
|  | 16 | 896.084 | 36.5481
|  | 17 | 889.4149 | 35.5954
|  | 18 | 913.2693 | 35.464
|  | 19 | 958.6312 | 44.0277
|  | 20 | 1015.6036 | 46.5565
|  | 21 | 1028.5325 | 41.8701
|  | 22 | 965.736 | 37.8023
|  | 23 | 842.193 | 37.6903
|  | 24 | 726.1227 | 34.5892
|  | 25 | 587.1157 | 39.3674
|  | 26 | 571.7154 | 36.9933
|  | 27 | 549.5708 | 34.1777
|  | 28 | 568.0253 | 35.6712
|  | 29 | 572.7732 | 36.5643
|  | 30 | 589.6254 | 37.8693
|  | 31 | 680.7896 | 36.3917
|  | 32 | 800 | 34.0203
|  | 33 | 958.0951 | 35.8698
|  | 34 | 988.9245 | 40.5783
|  | 35 | 967.8897 | 38.8222
|  | 36 | 958.6386 | 38.7263
|  | 37 | 947.2542 | 42.7153
|  | 38 | 940.4451 | 41.4371
|  | 39 | 916.9117 | 41.4111
|  | 40 | 891.084 | 41.4837
|  | 41 | 884.4149 | 41.461
|  | 42 | 908.2693 | 38.3022
|  | 43 | 953.6312 | 42.9683
|  | 44 | 1010.6036 | 47.3613
|  | 45 | 1023.5325 | 45.6513
|  | 46 | 960.736 | 43.9463
|  | 47 | 837.193 | 36.9112
|  | 48 | 721.1227 | 38.1779
|  | 49 | 677.2637 | 29.7664
|  | 50 | 619.5301 | 27.7689
|  | 51 | 594.8178 | 33.7819
|  | 52 | 608.7142 | 37.1264
|  | 53 | 611.2386 | 37.5709
|  | 54 | 616.4479 | 36.4209
|  | 55 | 670.2137 | 35.4388
|  | 56 | 801.0095 | 38.1213
|  | 57 | 910.7927 | 38.0602
|  | 58 | 968.1524 | 39.1522
|  | 59 | 935.6266 | 38.4042
|  | 60 | 899.4396 | 35.8022
|  | 61 | 887.7633 | 37.7927
|  | 62 | 904.2974 | 41.7552
|  | 63 | 896.995 | 40.4429
|  | 64 | 884.2061 | 40.1952
|  | 65 | 885.7808 | 40.3273
|  | 66 | 933.4591 | 38.7162
|  | 67 | 968.4338 | 41.2753
|  | 68 | 1025.8345 | 42.4062
|  | 69 | 1041.1867 | 46.1168
|  | 70 | 973.2752 | 44.6997
|  | 71 | 873.6627 | 37.1235
|  | 72 | 756.8552 | 32.4827
|  | 73 | 659.6097 | 35.8708
|  | 74 | 600.2794 | 33.8517
|  | 75 | 579.6924 | 33.678
|  | 76 | 600.1702 | 21.9224
|  | 77 | 605.1566 | 21.4186
|  | 78 | 627.7987 | 21.8794
|  | 79 | 752.2801 | 25.1382
|  | 80 | 920.6341 | 26.8831
|  | 81 | 981.6227 | 27.9457
|  | 82 | 941.6864 | 36.1315
|  | 83 | 893.7017 | 39.1255
|  | 84 | 878.292 | 38.9329
|  | 85 | 892.622 | 36.9715
|  | 86 | 892.2487 | 36.6051
|  | 87 | 881.5625 | 37.3614
|  | 88 | 861.0847 | 39.0989
|  | 89 | 870.5856 | 40.111
|  | 90 | 888.4516 | 40.5861
|  | 91 | 928.4689 | 43.5008
|  | 92 | 1008.8862 | 44.6687
|  | 93 | 1052.2234 | 45.4483
|  | 94 | 993.217 | 41.8499
|  | 95 | 857.3272 | 39.2925
|  | 96 | 713.0429 | 32.7644
|  | 97 | 647.2637 | 33.8029
|  | 98 | 589.5301 | 33.8777
|  | 99 | 564.8178 | 30.5325
|  | 100 | 578.7142 | 27.7333
|  | 101 | 581.2386 | 31.8626
|  | 102 | 586.4479 | 34.0054
|  | 103 | 640.2137 | 35.0046
|  | 104 | 771.0095 | 36.2603
|  | 105 | 880.7927 | 36.6343
|  | 106 | 938.1524 | 35.1188
|  | 107 | 905.6266 | 32.9144
|  | 108 | 869.4396 | 32.7312
|  | 109 | 857.7633 | 31.9891
|  | 110 | 874.2974 | 26.2004
|  | 111 | 866.995 | 31.5192
|  | 112 | 854.2061 | 30.3656
|  | 113 | 855.7808 | 32.6487
|  | 114 | 903.4591 | 31.3388
|  | 115 | 938.4338 | 33.0183
|  | 116 | 995.8345 | 38.5902
|  | 117 | 1011.1867 | 34.2909
|  | 118 | 943.2752 | 39.026
|  | 119 | 843.6627 | 33.9653
|  | 120 | 726.8552 | 33.7676
|  | 121 | 634.6097 | 28.2388
|  | 122 | 575.2794 | 28.9826
|  | 123 | 554.6924 | 29.396
|  | 124 | 575.1702 | 30.8768
|  | 125 | 580.1566 | 31.0001
|  | 126 | 602.7987 | 32.2575
|  | 127 | 727.2801 | 34.7867
|  | 128 | 895.6341 | 40.3771
|  | 129 | 956.6227 | 41.4511
|  | 130 | 916.6864 | 39.5366
|  | 131 | 868.7017 | 33.7917
|  | 132 | 853.292 | 32.9376
|  | 133 | 867.622 | 32.7029
|  | 134 | 867.2487 | 33.3517
|  | 135 | 856.5625 | 35.4305
|  | 136 | 836.0847 | 35.2121
|  | 137 | 845.5856 | 35.0338
|  | 138 | 863.4516 | 35.4996
|  | 139 | 903.4689 | 36.6228
|  | 140 | 983.8862 | 38.5126
|  | 141 | 1027.2234 | 39.8971
|  | 142 | 968.217 | 38.5383
|  | 143 | 832.3272 | 36.3848
|  | 144 | 688.0429 | 26.7696
|  | 145 | 659.6097 | 39.3674
|  | 146 | 600.2794 | 36.9933
|  | 147 | 579.6924 | 34.1777
|  | 148 | 600.1702 | 35.6712
|  | 149 | 605.1566 | 36.5643
|  | 150 | 627.7987 | 37.8693
|  | 151 | 752.2801 | 36.3917
|  | 152 | 920.6341 | 34.0203
|  | 153 | 981.6227 | 35.8698
|  | 154 | 941.6864 | 40.5783
|  | 155 | 893.7017 | 38.8222
|  | 156 | 878.292 | 38.7263
|  | 157 | 892.622 | 42.7153
|  | 158 | 892.2487 | 41.4371
|  | 159 | 881.5625 | 41.4111
|  | 160 | 861.0847 | 41.4837
|  | 161 | 870.5856 | 41.461
|  | 162 | 888.4516 | 38.3022
|  | 163 | 928.4689 | 42.9683
|  | 164 | 1008.8862 | 47.3613
|  | 165 | 1052.2234 | 45.6513
|  | 166 | 993.217 | 43.9463
|  | 167 | 857.3272 | 36.9112
|  | 168 | 713.0429 | 38.1779
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 18/04/2022 | 19/04/2022 | 20/04/2022 | 21/04/2022 | 22/04/2022 | 23/04/2022 | 24/04/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 45 | 45 | 45 | 45 | 45 | 45 | 45
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible