## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-05-21
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17620 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 16/05/2022 | 17/05/2022 | 18/05/2022 | 19/05/2022 | 20/05/2022 | 21/05/2022 | 22/05/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-05-19
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 382.9512 | -212.4088 | 595.36
|  | 2 | 359.6589 | -191.2333 | 550.8922
|  | 3 | 306.0311 | -224.4811 | 530.5122
|  | 4 | 305.777 | -217.3358 | 523.1128
|  | 5 | 302.368 | -230.0923 | 532.4603
|  | 6 | 371.822 | -184.9411 | 556.7632
|  | 7 | 553.1475 | -86.0456 | 639.1931
|  | 8 | 805.6883 | 43.9715 | 761.7168
|  | 9 | 903.4618 | 94.0767 | 809.3851
|  | 10 | 872.9614 | 59.8054 | 813.156
|  | 11 | 758.3847 | -46.9467 | 805.3314
|  | 12 | 756.2091 | -43.1694 | 799.3785
|  | 13 | 735.2533 | -58.2556 | 793.5089
|  | 14 | 741.8322 | -51.196 | 793.0281
|  | 15 | 718.6975 | -65.2216 | 783.9191
|  | 16 | 697.0355 | -71.2399 | 768.2754
|  | 17 | 753.1989 | -17.9691 | 771.168
|  | 18 | 845.998 | 58.2378 | 787.7602
|  | 19 | 882.5329 | 79.205 | 803.3279
|  | 20 | 964.1412 | 143.4139 | 820.7273
|  | 21 | 1048.3648 | 157.5431 | 890.8217
|  | 22 | 1012.1343 | 149.6552 | 862.4791
|  | 23 | 829.4642 | 33.2734 | 796.1908
|  | 24 | 714.6301 | 29.8858 | 684.7443
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 4.3717 | -19.021 | 2.4351 | -145.1875 | 102.2193 | -107.4628
2 | 7.523 | -39.8778 | 17.8341 | -175.2823 | 130.8303 | -109.1169
3 | 6.3877 | -47.1785 | 32.5622 | -179.4014 | 158.885 | -136.848
4 | 6.8437 | -48.1592 | 31.7844 | -177.4564 | 155.189 | -125.9971
5 | 11.2885 | -49.4755 | 10.6097 | -180.2401 | 113.1756 | -73.4508
6 | 11.8742 | -49.2825 | 1.7031 | -176.6016 | 86.6665 | -48.0408
7 | 0.81914 | -15.1322 | 40.2028 | -107.3512 | 160.1672 | -101.7548
8 | 3.3145 | 25.8015 | 51.0112 | -54.7255 | 153.7563 | -50.0665
9 | -7.1734 | 48.2564 | 101.4376 | -34.9849 | 227.9424 | -147.6589
10 | -8.0419 | 55.6096 | 96.4393 | -40.9232 | 218.7172 | -165.5662
11 | -17.0829 | 50.6372 | 109.4079 | -56.277 | 252.4812 | -264.8566
12 | -18.6769 | 44.4705 | 119.2494 | -69.1569 | 273.7164 | -285.5675
13 | -21.856 | 32.2386 | 100.1553 | -86.7751 | 244.2801 | -304.0889
14 | -26.3119 | 28.9161 | 117.1365 | -87.9299 | 279.3934 | -349.7376
15 | -28.5124 | 20.5048 | 117.107 | -90.2587 | 287.5837 | -361.3872
16 | -22.9205 | 23.4909 | 103.949 | -85.7881 | 261.3166 | -323.7948
17 | -13.8141 | 26.2535 | 99.065 | -71.9438 | 256.7766 | -269.1131
18 | -9.0161 | 38.0632 | 107.5841 | -44.4843 | 262.8488 | -241.3162
19 | -5.3941 | 38.6948 | 99.0856 | -37.5944 | 257.169 | -243.0748
20 | -1.5067 | 38.0306 | 75.4594 | -40.749 | 201.7452 | -157.4454
21 | -0.77439 | 48.3515 | 81.1234 | -31.5141 | 196.4417 | -136.0274
22 | -9.1095 | 46.6824 | 94.0678 | -35.8074 | 225.6065 | -164.5624
23 | -9.8507 | 31.6993 | 75.4289 | -64.8797 | 201.6296 | -142.1651
24 | 14.7508 | 5.599 | 28.1302 | -121.0277 | 115.0195 | -51.8715
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-05-21
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 378.7
|  |  | 01:00 - 02:00 | 325.74
|  |  | 02:00 - 03:00 | 311.74
|  |  | 03:00 - 04:00 | 313.75
|  |  | 04:00 - 05:00 | 312.7
|  |  | 05:00 - 06:00 | 326.55
|  |  | 06:00 - 07:00 | 381.51
|  |  | 07:00 - 08:00 | 507.52
|  |  | 08:00 - 09:00 | 589.58
|  |  | 09:00 - 10:00 | 615.76
|  |  | 10:00 - 11:00 | 415.74
|  |  | 11:00 - 12:00 | 386.76
|  |  | 12:00 - 13:00 | 378.71
|  |  | 13:00 - 14:00 | 393.76
|  |  | 14:00 - 15:00 | 351.57
|  |  | 15:00 - 16:00 | 329.57
|  |  | 16:00 - 17:00 | 324.08
|  |  | 17:00 - 18:00 | 600.08
|  |  | 18:00 - 19:00 | 710.18
|  |  | 19:00 - 20:00 | 770.2
|  |  | 20:00 - 21:00 | 827.61
|  |  | 21:00 - 22:00 | 784.65
|  |  | 22:00 - 23:00 | 673.55
|  |  | 23:00 - 00:00 | 458.61
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 1.3653 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 1.3231 | 0.94097 | 0 | 0
8 | 0 | 0 | 0 | 0 | 118.6292 | 118.8023 | 0 | 0
9 | 0 | 0 | 0 | 0 | 126.4014 | 126.4671 | 0 | 0
10 | 0 | 0 | 0 | 0 | 131.7851 | 131.8738 | 0 | 0
11 | 0 | 0 | 0 | 0 | 129.2286 | 129.3024 | 0 | 0
12 | 0 | 0 | 0 | 0 | 127.9186 | 127.9314 | 0 | 0
13 | 0 | 0 | 0 | 0 | 124.5411 | 124.5794 | 0 | 0
14 | 0 | 0 | 0 | 0 | 117.2507 | 117.2497 | 0 | 0
15 | 0 | 0 | 0 | 0 | 119.622 | 119.6127 | 0 | 0
16 | 0 | 0 | 0 | 0 | 115.4309 | 115.4156 | 0 | 0
17 | 0 | 0 | 0 | 0 | 97.2196 | 97.1515 | 0 | 0
18 | 0 | 0 | 0 | 0 | 92.9554 | 92.904 | 2.1434 | 0
19 | 0 | 0 | 0 | 0 | 91.3963 | 91.3559 | 93.5295 | 0
20 | 0 | 0 | 0 | 0 | 94.6273 | 94.2977 | 114.3448 | 0
21 | 0 | 0 | 0 | 0 | 143.6962 | 113.1012 | 133.0251 | 0
22 | 0 | 0 | 0 | 0 | 128.9905 | 113.3619 | 116.0071 | 0
23 | 0 | 0 | 0 | 0 | 132.7569 | 111.7521 | 0.43146 | 0
24 | 0 | 0 | 0 | 0 | 0.71353 | 128.0013 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1894.4865 | 1955.4662 | 459.4814 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 613.7783 | 29.8176
|  | 2 | 561.688 | 29.2646
|  | 3 | 533.6347 | 27.8683
|  | 4 | 530.05 | 20.7168
|  | 5 | 536.9121 | 20.0857
|  | 6 | 557.5481 | 22.1816
|  | 7 | 630.5575 | 22.8907
|  | 8 | 721.7839 | 26.2079
|  | 9 | 796.2761 | 33.6599
|  | 10 | 835.713 | 33.4081
|  | 11 | 831.7869 | 33.6477
|  | 12 | 832.1533 | 30.4755
|  | 13 | 837.7137 | 31.4685
|  | 14 | 815.6543 | 33.0021
|  | 15 | 780.801 | 32.7015
|  | 16 | 765.8365 | 30.6676
|  | 17 | 773.2793 | 30.7617
|  | 18 | 802.3204 | 31.0799
|  | 19 | 822.8612 | 32.5239
|  | 20 | 851.5712 | 33.319
|  | 21 | 928.5978 | 32.7639
|  | 22 | 894.3289 | 31.1176
|  | 23 | 798.312 | 30.097
|  | 24 | 683.682 | 28.153
|  | 25 | 603.3561 | 26.0733
|  | 26 | 547.8098 | 24.6156
|  | 27 | 527.1138 | 24.3268
|  | 28 | 515.9581 | 24.9441
|  | 29 | 525.4364 | 26.771
|  | 30 | 563.6014 | 27.698
|  | 31 | 667.1429 | 30.4802
|  | 32 | 782.8695 | 34.0876
|  | 33 | 855.7698 | 34.2734
|  | 34 | 877.0976 | 37.9105
|  | 35 | 885.1366 | 35.9151
|  | 36 | 879.0971 | 33.6505
|  | 37 | 867.3133 | 30.1027
|  | 38 | 864.2768 | 30.6329
|  | 39 | 831.5189 | 30.4989
|  | 40 | 811.3041 | 29.9835
|  | 41 | 798.4275 | 30.3455
|  | 42 | 817.9716 | 30.4826
|  | 43 | 833.5213 | 33.2765
|  | 44 | 848.91 | 34.3902
|  | 45 | 902.4578 | 36.371
|  | 46 | 859.4611 | 33.9748
|  | 47 | 764.4283 | 31.4852
|  | 48 | 662.0685 | 29.1177
|  | 49 | 598.5772 | 32.6301
|  | 50 | 551.6627 | 31.7236
|  | 51 | 538.8828 | 31.0056
|  | 52 | 529.2728 | 32.5417
|  | 53 | 528.9848 | 32.5363
|  | 54 | 564.9167 | 33.0198
|  | 55 | 651.5974 | 26.3499
|  | 56 | 793.6451 | 24.7436
|  | 57 | 822.3235 | 28.5629
|  | 58 | 813.2601 | 29.7438
|  | 59 | 797.2446 | 29.5174
|  | 60 | 795.8134 | 28.5583
|  | 61 | 793.7519 | 26.0895
|  | 62 | 804.0296 | 30.1352
|  | 63 | 789.3722 | 33.7506
|  | 64 | 775.5211 | 34.45
|  | 65 | 769.3719 | 32.377
|  | 66 | 783.0044 | 32.6661
|  | 67 | 806.1797 | 32.8611
|  | 68 | 823.2871 | 34.2864
|  | 69 | 903.4212 | 35.0095
|  | 70 | 864.3188 | 34.6281
|  | 71 | 793.2922 | 32.2129
|  | 72 | 687.8192 | 31.2144
|  | 73 | 605.0751 | 33.4307
|  | 74 | 546.2072 | 32.5203
|  | 75 | 530.7177 | 30.5385
|  | 76 | 527.3411 | 29.5284
|  | 77 | 535.6662 | 30.4283
|  | 78 | 576.4097 | 31.8286
|  | 79 | 673.4144 | 32.4854
|  | 80 | 794.543 | 33.0374
|  | 81 | 833.6463 | 36.4163
|  | 82 | 818.4409 | 36.1091
|  | 83 | 805.1253 | 35.115
|  | 84 | 798.6118 | 33.6106
|  | 85 | 791.0961 | 33.0421
|  | 86 | 790.3409 | 33.6045
|  | 87 | 778.1907 | 33.5194
|  | 88 | 758.411 | 32.725
|  | 89 | 755.2794 | 31.5024
|  | 90 | 779.5698 | 30.615
|  | 91 | 798.516 | 29.4703
|  | 92 | 813.1727 | 33.6291
|  | 93 | 898.8779 | 35.8143
|  | 94 | 862.8284 | 34.5853
|  | 95 | 798.5712 | 33.5623
|  | 96 | 680.614 | 31.7834
|  | 97 | 600.5772 | 33.8029
|  | 98 | 553.6627 | 33.8777
|  | 99 | 540.8828 | 30.5325
|  | 100 | 531.2728 | 27.7333
|  | 101 | 530.9848 | 31.8626
|  | 102 | 566.9167 | 34.0054
|  | 103 | 653.5974 | 35.0046
|  | 104 | 795.6451 | 36.2603
|  | 105 | 824.3235 | 36.6343
|  | 106 | 815.2601 | 35.1188
|  | 107 | 799.2446 | 32.9144
|  | 108 | 797.8134 | 32.7312
|  | 109 | 795.7519 | 31.9891
|  | 110 | 806.0296 | 26.2004
|  | 111 | 791.3722 | 31.5192
|  | 112 | 777.5211 | 30.3656
|  | 113 | 771.3719 | 32.6487
|  | 114 | 785.0044 | 31.3388
|  | 115 | 808.1797 | 33.0183
|  | 116 | 825.2871 | 38.5902
|  | 117 | 905.4212 | 34.2909
|  | 118 | 866.3188 | 39.026
|  | 119 | 795.2922 | 33.9653
|  | 120 | 689.8192 | 33.7676
|  | 121 | 615.7783 | 26.0733
|  | 122 | 563.688 | 24.6156
|  | 123 | 535.6347 | 24.3268
|  | 124 | 532.05 | 24.9441
|  | 125 | 538.9121 | 26.771
|  | 126 | 559.5481 | 27.698
|  | 127 | 632.5575 | 30.4802
|  | 128 | 723.7839 | 34.0876
|  | 129 | 798.2761 | 34.2734
|  | 130 | 837.713 | 37.9105
|  | 131 | 833.7869 | 35.9151
|  | 132 | 834.1533 | 33.6505
|  | 133 | 839.7137 | 30.1027
|  | 134 | 817.6543 | 30.6329
|  | 135 | 782.801 | 30.4989
|  | 136 | 767.8365 | 29.9835
|  | 137 | 775.2793 | 30.3455
|  | 138 | 804.3204 | 30.4826
|  | 139 | 824.8612 | 33.2765
|  | 140 | 853.5712 | 34.3902
|  | 141 | 930.5978 | 36.371
|  | 142 | 896.3289 | 33.9748
|  | 143 | 800.312 | 31.4852
|  | 144 | 685.682 | 29.1177
|  | 145 | 599.5772 | 27.8151
|  | 146 | 552.6627 | 27.9374
|  | 147 | 539.8828 | 27.3566
|  | 148 | 530.2728 | 26.315
|  | 149 | 529.9848 | 26.2972
|  | 150 | 565.9167 | 27.1221
|  | 151 | 652.5974 | 27.8148
|  | 152 | 794.6451 | 32.3008
|  | 153 | 823.3235 | 34.9261
|  | 154 | 814.2601 | 35.3761
|  | 155 | 798.2446 | 34.1686
|  | 156 | 796.8134 | 32.8444
|  | 157 | 794.7519 | 32.3021
|  | 158 | 805.0296 | 31.9612
|  | 159 | 790.3722 | 29.9032
|  | 160 | 776.5211 | 29.2562
|  | 161 | 770.3719 | 28.0228
|  | 162 | 784.0044 | 27.6924
|  | 163 | 807.1797 | 27.8813
|  | 164 | 824.2871 | 32.3698
|  | 165 | 904.4212 | 34.5421
|  | 166 | 865.3188 | 30.9815
|  | 167 | 794.2922 | 28.5801
|  | 168 | 688.8192 | 28.5801
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 16/05/2022 | 17/05/2022 | 18/05/2022 | 19/05/2022 | 20/05/2022 | 21/05/2022 | 22/05/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-05-21
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17620 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 16/05/2022 | 17/05/2022 | 18/05/2022 | 19/05/2022 | 20/05/2022 | 21/05/2022 | 22/05/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-05-19
|  | Hour | Production | Exchange | Consumption
|  | 1 | 382.9512 | -212.4088 | 595.36
|  | 2 | 359.6589 | -191.2333 | 550.8922
|  | 3 | 306.0311 | -224.4811 | 530.5122
|  | 4 | 305.777 | -217.3358 | 523.1128
|  | 5 | 302.368 | -230.0923 | 532.4603
|  | 6 | 371.822 | -184.9411 | 556.7632
|  | 7 | 553.1475 | -86.0456 | 639.1931
|  | 8 | 805.6883 | 43.9715 | 761.7168
|  | 9 | 903.4618 | 94.0767 | 809.3851
|  | 10 | 872.9614 | 59.8054 | 813.156
|  | 11 | 758.3847 | -46.9467 | 805.3314
|  | 12 | 756.2091 | -43.1694 | 799.3785
|  | 13 | 735.2533 | -58.2556 | 793.5089
|  | 14 | 741.8322 | -51.196 | 793.0281
|  | 15 | 718.6975 | -65.2216 | 783.9191
|  | 16 | 697.0355 | -71.2399 | 768.2754
|  | 17 | 753.1989 | -17.9691 | 771.168
|  | 18 | 845.998 | 58.2378 | 787.7602
|  | 19 | 882.5329 | 79.205 | 803.3279
|  | 20 | 964.1412 | 143.4139 | 820.7273
|  | 21 | 1048.3648 | 157.5431 | 890.8217
|  | 22 | 1012.1343 | 149.6552 | 862.4791
|  | 23 | 829.4642 | 33.2734 | 796.1908
|  | 24 | 714.6301 | 29.8858 | 684.7443
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 4.3717 | -39.8778 | 17.8341 | -175.2823 | 130.8303 | -109.1169
2 | 7.523 | -47.1785 | 32.5622 | -179.4014 | 158.885 | -136.848
3 | 6.3877 | -48.1592 | 31.7844 | -177.4564 | 155.189 | -125.9971
4 | 6.8437 | -49.4755 | 10.6097 | -180.2401 | 113.1756 | -73.4508
5 | 11.2885 | -49.2825 | 1.7031 | -176.6016 | 86.6665 | -48.0408
6 | 11.8742 | -15.1322 | 40.2028 | -107.3512 | 160.1672 | -101.7548
7 | 0.81914 | 25.8015 | 51.0112 | -54.7255 | 153.7563 | -50.0665
8 | 3.3145 | 48.2564 | 101.4376 | -34.9849 | 227.9424 | -147.6589
9 | -7.1734 | 55.6096 | 96.4393 | -40.9232 | 218.7172 | -165.5662
10 | -8.0419 | 50.6372 | 109.4079 | -56.277 | 252.4812 | -264.8566
11 | -17.0829 | 44.4705 | 119.2494 | -69.1569 | 273.7164 | -285.5675
12 | -18.6769 | 32.2386 | 100.1553 | -86.7751 | 244.2801 | -304.0889
13 | -21.856 | 28.9161 | 117.1365 | -87.9299 | 279.3934 | -349.7376
14 | -26.3119 | 20.5048 | 117.107 | -90.2587 | 287.5837 | -361.3872
15 | -28.5124 | 23.4909 | 103.949 | -85.7881 | 261.3166 | -323.7948
16 | -22.9205 | 26.2535 | 99.065 | -71.9438 | 256.7766 | -269.1131
17 | -13.8141 | 38.0632 | 107.5841 | -44.4843 | 262.8488 | -241.3162
18 | -9.0161 | 38.6948 | 99.0856 | -37.5944 | 257.169 | -243.0748
19 | -5.3941 | 38.0306 | 75.4594 | -40.749 | 201.7452 | -157.4454
20 | -1.5067 | 48.3515 | 81.1234 | -31.5141 | 196.4417 | -136.0274
21 | -0.77439 | 46.6824 | 94.0678 | -35.8074 | 225.6065 | -164.5624
22 | -9.1095 | 31.6993 | 75.4289 | -64.8797 | 201.6296 | -142.1651
23 | -9.8507 | 5.599 | 28.1302 | -121.0277 | 115.0195 | -51.8715
24 | 14.7508 | #REF! | #REF! | #REF! | #REF! | #REF!
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-05-21
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 378.7
|  |  | 01:00 - 02:00 | 325.74
|  |  | 02:00 - 03:00 | 311.74
|  |  | 03:00 - 04:00 | 313.75
|  |  | 04:00 - 05:00 | 312.7
|  |  | 05:00 - 06:00 | 326.55
|  |  | 06:00 - 07:00 | 381.51
|  |  | 07:00 - 08:00 | 507.52
|  |  | 08:00 - 09:00 | 589.58
|  |  | 09:00 - 10:00 | 615.76
|  |  | 10:00 - 11:00 | 415.74
|  |  | 11:00 - 12:00 | 386.76
|  |  | 12:00 - 13:00 | 378.71
|  |  | 13:00 - 14:00 | 393.76
|  |  | 14:00 - 15:00 | 351.57
|  |  | 15:00 - 16:00 | 329.57
|  |  | 16:00 - 17:00 | 324.08
|  |  | 17:00 - 18:00 | 600.08
|  |  | 18:00 - 19:00 | 710.18
|  |  | 19:00 - 20:00 | 770.2
|  |  | 20:00 - 21:00 | 827.61
|  |  | 21:00 - 22:00 | 784.65
|  |  | 22:00 - 23:00 | 673.55
|  |  | 23:00 - 00:00 | 458.61
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 1.3653 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 1.3231 | 0.94097 | 0 | 0
8 | 0 | 0 | 0 | 0 | 118.6292 | 118.8023 | 0 | 0
9 | 0 | 0 | 0 | 0 | 126.4014 | 126.4671 | 0 | 0
10 | 0 | 0 | 0 | 0 | 131.7851 | 131.8738 | 0 | 0
11 | 0 | 0 | 0 | 0 | 129.2286 | 129.3024 | 0 | 0
12 | 0 | 0 | 0 | 0 | 127.9186 | 127.9314 | 0 | 0
13 | 0 | 0 | 0 | 0 | 124.5411 | 124.5794 | 0 | 0
14 | 0 | 0 | 0 | 0 | 117.2507 | 117.2497 | 0 | 0
15 | 0 | 0 | 0 | 0 | 119.622 | 119.6127 | 0 | 0
16 | 0 | 0 | 0 | 0 | 115.4309 | 115.4156 | 0 | 0
17 | 0 | 0 | 0 | 0 | 97.2196 | 97.1515 | 0 | 0
18 | 0 | 0 | 0 | 0 | 92.9554 | 92.904 | 2.1434 | 0
19 | 0 | 0 | 0 | 0 | 91.3963 | 91.3559 | 93.5295 | 0
20 | 0 | 0 | 0 | 0 | 94.6273 | 94.2977 | 114.3448 | 0
21 | 0 | 0 | 0 | 0 | 143.6962 | 113.1012 | 133.0251 | 0
22 | 0 | 0 | 0 | 0 | 128.9905 | 113.3619 | 116.0071 | 0
23 | 0 | 0 | 0 | 0 | 132.7569 | 111.7521 | 0.43146 | 0
24 | 0 | 0 | 0 | 0 | 0.71353 | 128.0013 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1894.4865 | 1954.1009 | 459.4814 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 613.7783 | 29.8176
|  | 2 | 561.688 | 29.2646
|  | 3 | 533.6347 | 27.8683
|  | 4 | 530.05 | 20.7168
|  | 5 | 536.9121 | 20.0857
|  | 6 | 557.5481 | 22.1816
|  | 7 | 630.5575 | 22.8907
|  | 8 | 721.7839 | 26.2079
|  | 9 | 796.2761 | 33.6599
|  | 10 | 835.713 | 33.4081
|  | 11 | 831.7869 | 33.6477
|  | 12 | 832.1533 | 30.4755
|  | 13 | 837.7137 | 31.4685
|  | 14 | 815.6543 | 33.0021
|  | 15 | 780.801 | 32.7015
|  | 16 | 765.8365 | 30.6676
|  | 17 | 773.2793 | 30.7617
|  | 18 | 802.3204 | 31.0799
|  | 19 | 822.8612 | 32.5239
|  | 20 | 851.5712 | 33.319
|  | 21 | 928.5978 | 32.7639
|  | 22 | 894.3289 | 31.1176
|  | 23 | 798.312 | 30.097
|  | 24 | 683.682 | 28.153
|  | 25 | 603.3561 | 26.0733
|  | 26 | 547.8098 | 24.6156
|  | 27 | 527.1138 | 24.3268
|  | 28 | 515.9581 | 24.9441
|  | 29 | 525.4364 | 26.771
|  | 30 | 563.6014 | 27.698
|  | 31 | 667.1429 | 30.4802
|  | 32 | 782.8695 | 34.0876
|  | 33 | 855.7698 | 34.2734
|  | 34 | 877.0976 | 37.9105
|  | 35 | 885.1366 | 35.9151
|  | 36 | 879.0971 | 33.6505
|  | 37 | 867.3133 | 30.1027
|  | 38 | 864.2768 | 30.6329
|  | 39 | 831.5189 | 30.4989
|  | 40 | 811.3041 | 29.9835
|  | 41 | 798.4275 | 30.3455
|  | 42 | 817.9716 | 30.4826
|  | 43 | 833.5213 | 33.2765
|  | 44 | 848.91 | 34.3902
|  | 45 | 902.4578 | 36.371
|  | 46 | 859.4611 | 33.9748
|  | 47 | 764.4283 | 31.4852
|  | 48 | 662.0685 | 29.1177
|  | 49 | 598.5772 | 32.6301
|  | 50 | 551.6627 | 31.7236
|  | 51 | 538.8828 | 31.0056
|  | 52 | 529.2728 | 32.5417
|  | 53 | 528.9848 | 32.5363
|  | 54 | 564.9167 | 33.0198
|  | 55 | 651.5974 | 26.3499
|  | 56 | 793.6451 | 24.7436
|  | 57 | 822.3235 | 28.5629
|  | 58 | 813.2601 | 29.7438
|  | 59 | 797.2446 | 29.5174
|  | 60 | 795.8134 | 28.5583
|  | 61 | 793.7519 | 26.0895
|  | 62 | 804.0296 | 30.1352
|  | 63 | 789.3722 | 33.7506
|  | 64 | 775.5211 | 34.45
|  | 65 | 769.3719 | 32.377
|  | 66 | 783.0044 | 32.6661
|  | 67 | 806.1797 | 32.8611
|  | 68 | 823.2871 | 34.2864
|  | 69 | 903.4212 | 35.0095
|  | 70 | 864.3188 | 34.6281
|  | 71 | 793.2922 | 32.2129
|  | 72 | 687.8192 | 31.2144
|  | 73 | 605.0751 | 33.4307
|  | 74 | 546.2072 | 32.5203
|  | 75 | 530.7177 | 30.5385
|  | 76 | 527.3411 | 29.5284
|  | 77 | 535.6662 | 30.4283
|  | 78 | 576.4097 | 31.8286
|  | 79 | 673.4144 | 32.4854
|  | 80 | 794.543 | 33.0374
|  | 81 | 833.6463 | 36.4163
|  | 82 | 818.4409 | 36.1091
|  | 83 | 805.1253 | 35.115
|  | 84 | 798.6118 | 33.6106
|  | 85 | 791.0961 | 33.0421
|  | 86 | 790.3409 | 33.6045
|  | 87 | 778.1907 | 33.5194
|  | 88 | 758.411 | 32.725
|  | 89 | 755.2794 | 31.5024
|  | 90 | 779.5698 | 30.615
|  | 91 | 798.516 | 29.4703
|  | 92 | 813.1727 | 33.6291
|  | 93 | 898.8779 | 35.8143
|  | 94 | 862.8284 | 34.5853
|  | 95 | 798.5712 | 33.5623
|  | 96 | 680.614 | 31.7834
|  | 97 | 600.5772 | 33.8029
|  | 98 | 553.6627 | 33.8777
|  | 99 | 540.8828 | 30.5325
|  | 100 | 531.2728 | 27.7333
|  | 101 | 530.9848 | 31.8626
|  | 102 | 566.9167 | 34.0054
|  | 103 | 653.5974 | 35.0046
|  | 104 | 795.6451 | 36.2603
|  | 105 | 824.3235 | 36.6343
|  | 106 | 815.2601 | 35.1188
|  | 107 | 799.2446 | 32.9144
|  | 108 | 797.8134 | 32.7312
|  | 109 | 795.7519 | 31.9891
|  | 110 | 806.0296 | 26.2004
|  | 111 | 791.3722 | 31.5192
|  | 112 | 777.5211 | 30.3656
|  | 113 | 771.3719 | 32.6487
|  | 114 | 785.0044 | 31.3388
|  | 115 | 808.1797 | 33.0183
|  | 116 | 825.2871 | 38.5902
|  | 117 | 905.4212 | 34.2909
|  | 118 | 866.3188 | 39.026
|  | 119 | 795.2922 | 33.9653
|  | 120 | 689.8192 | 33.7676
|  | 121 | 615.7783 | 26.0733
|  | 122 | 563.688 | 24.6156
|  | 123 | 535.6347 | 24.3268
|  | 124 | 532.05 | 24.9441
|  | 125 | 538.9121 | 26.771
|  | 126 | 559.5481 | 27.698
|  | 127 | 632.5575 | 30.4802
|  | 128 | 723.7839 | 34.0876
|  | 129 | 798.2761 | 34.2734
|  | 130 | 837.713 | 37.9105
|  | 131 | 833.7869 | 35.9151
|  | 132 | 834.1533 | 33.6505
|  | 133 | 839.7137 | 30.1027
|  | 134 | 817.6543 | 30.6329
|  | 135 | 782.801 | 30.4989
|  | 136 | 767.8365 | 29.9835
|  | 137 | 775.2793 | 30.3455
|  | 138 | 804.3204 | 30.4826
|  | 139 | 824.8612 | 33.2765
|  | 140 | 853.5712 | 34.3902
|  | 141 | 930.5978 | 36.371
|  | 142 | 896.3289 | 33.9748
|  | 143 | 800.312 | 31.4852
|  | 144 | 685.682 | 29.1177
|  | 145 | 599.5772 | 27.8151
|  | 146 | 552.6627 | 27.9374
|  | 147 | 539.8828 | 27.3566
|  | 148 | 530.2728 | 26.315
|  | 149 | 529.9848 | 26.2972
|  | 150 | 565.9167 | 27.1221
|  | 151 | 652.5974 | 27.8148
|  | 152 | 794.6451 | 32.3008
|  | 153 | 823.3235 | 34.9261
|  | 154 | 814.2601 | 35.3761
|  | 155 | 798.2446 | 34.1686
|  | 156 | 796.8134 | 32.8444
|  | 157 | 794.7519 | 32.3021
|  | 158 | 805.0296 | 31.9612
|  | 159 | 790.3722 | 29.9032
|  | 160 | 776.5211 | 29.2562
|  | 161 | 770.3719 | 28.0228
|  | 162 | 784.0044 | 27.6924
|  | 163 | 807.1797 | 27.8813
|  | 164 | 824.2871 | 32.3698
|  | 165 | 904.4212 | 34.5421
|  | 166 | 865.3188 | 30.9815
|  | 167 | 794.2922 | 28.5801
|  | 168 | 688.8192 | 28.5801
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 16/05/2022 | 17/05/2022 | 18/05/2022 | 19/05/2022 | 20/05/2022 | 21/05/2022 | 22/05/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible