## Publikimi AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-05-27
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17443 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 23/05/2022 | 24/05/2022 | 25/05/2022 | 26/05/2022 | 27/05/2022 | 28/05/2022 | 29/05/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-05-25
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 513.537 | -85.072 | 598.609
|  | 2 | 459.977 | -90.555 | 550.532
|  | 3 | 433.4252 | -90.984 | 524.4092
|  | 4 | 406.6197 | -107.385 | 514.0047
|  | 5 | 419.2936 | -103.033 | 522.3266
|  | 6 | 484.402 | -70.553 | 554.955
|  | 7 | 547.8524 | -85.937 | 633.7894
|  | 8 | 702.5413 | -31.669 | 734.2103
|  | 9 | 753.4361 | -53.9 | 807.3361
|  | 10 | 766.0125 | -65.281 | 831.2935
|  | 11 | 557.8629 | -285.251 | 843.1139
|  | 12 | 549.2921 | -304.873 | 854.1651
|  | 13 | 564.1712 | -301.058 | 865.2292
|  | 14 | 577.0767 | -285.161 | 862.2377
|  | 15 | 540.8791 | -297.739 | 838.6181
|  | 16 | 514.9747 | -298.684 | 813.6587
|  | 17 | 501.9331 | -312.554 | 814.4871
|  | 18 | 770.0901 | -61.502 | 831.5921
|  | 19 | 895.9256 | 47.976 | 847.9496
|  | 20 | 894.3299 | 38.771 | 855.5589
|  | 21 | 938.4091 | 25.314 | 913.0951
|  | 22 | 909.2583 | 48.071 | 861.1873
|  | 23 | 764.2082 | -24.432 | 788.6402
|  | 24 | 588.8638 | -92.478 | 681.3418
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.7637 | -30.258 | -24.7796 | -214.3798 | 0.91661 | -18.0917
2 | 22.6287 | -41.4957 | -42.932 | -219.7472 | -17.7435 | 43.4798
3 | 23.2589 | -54.2421 | -33.4208 | -236.2688 | -2.4891 | 48.8575
4 | 23.7415 | -54.477 | -30.9712 | -233.4076 | 0.61286 | 53.9385
5 | 24.146 | -51.068 | -41.4691 | -224.5114 | -19.6681 | 68.6988
6 | 23.5175 | -46.4099 | -43.1886 | -212.8315 | -32.4818 | 74.2559
7 | 27.3941 | -43.3358 | -49.0962 | -215.6314 | -50.9268 | 63.9611
8 | 20.099 | -19.1537 | -50.8476 | -186.0365 | -57.0152 | 34.1733
9 | 20.6445 | -3.8363 | -67.3863 | -174.2469 | -74.2668 | 40.1458
10 | 19.1789 | -7.554 | -57.1836 | -198.4034 | -85.2714 | 75.5681
11 | 11.4786 | -39.5038 | -103.4551 | -270.5956 | -148.0093 | 69.6897
12 | 6.8671 | -43.3422 | -105.0472 | -277.679 | -132.6071 | 29.2846
13 | -1.6296 | -37.7177 | -90.5962 | -249.4679 | -94.6525 | -48.1001
14 | -6.5318 | -29.2709 | -83.7497 | -229.1111 | -89.7684 | -59.7768
15 | -11.0236 | -31.9029 | -88.0809 | -229.4466 | -85.5752 | -80.978
16 | -7.4676 | -26.4132 | -101.2563 | -205.6836 | -125.242 | -79.0001
17 | 4.4683 | -17.4889 | -110.4776 | -173.2728 | -164.718 | -16.5473
18 | 12.277 | 12.5995 | -86.9924 | -118.4892 | -157.1002 | 104.2359
19 | 8.5296 | 21.9461 | -68.356 | -94.5488 | -111.3665 | 74.314
20 | 8.3999 | 21.4337 | -59.2568 | -101.4871 | -76.3768 | 53.8004
21 | 8.9017 | 26.2017 | -62.5317 | -91.0716 | -102.2542 | 45.3816
22 | 9.6001 | 16.5543 | -48.9114 | -123.1663 | -39.5593 | 6.3248
23 | 16.9037 | -6.2746 | -92.2951 | -141.2845 | -179.4563 | 72.2986
24 | 24.8183 | -9.4204 | -81.7762 | -161.8058 | -136.2601 | 100.72
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-05-27
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 313.65
|  |  | 01:00 - 02:00 | 272.61
|  |  | 02:00 - 03:00 | 257.57
|  |  | 03:00 - 04:00 | 256.58
|  |  | 04:00 - 05:00 | 255.6
|  |  | 05:00 - 06:00 | 301.27
|  |  | 06:00 - 07:00 | 391.26
|  |  | 07:00 - 08:00 | 567.4
|  |  | 08:00 - 09:00 | 612.75
|  |  | 09:00 - 10:00 | 571.9
|  |  | 10:00 - 11:00 | 436.67
|  |  | 11:00 - 12:00 | 341.71
|  |  | 12:00 - 13:00 | 324.69
|  |  | 13:00 - 14:00 | 341.77
|  |  | 14:00 - 15:00 | 304.64
|  |  | 15:00 - 16:00 | 295.54
|  |  | 16:00 - 17:00 | 324.04
|  |  | 17:00 - 18:00 | 603.33
|  |  | 18:00 - 19:00 | 660.26
|  |  | 19:00 - 20:00 | 723.26
|  |  | 20:00 - 21:00 | 779.72
|  |  | 21:00 - 22:00 | 731.87
|  |  | 22:00 - 23:00 | 579.75
|  |  | 23:00 - 00:00 | 425.62
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.70159 | 0.89059 | 0 | 0 | 0.18273 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 48.3824 | 1.5697 | 0 | 0
8 | 0 | 0 | 0 | 0 | 90.2783 | 103.7152 | 0 | 0
9 | 0 | 0 | 0 | 0 | 123.9007 | 91.7774 | 0 | 0
10 | 0 | 0 | 0 | 0 | 134.8716 | 89.9175 | 0 | 0
11 | 0 | 0 | 0 | 0 | 2.2062 | 90.0126 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 92.5655 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 89.2763 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 104.5107 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 40.4952 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 1.2639 | 0 | 0.86256 | 0
18 | 0 | 0 | 0 | 0 | 121.1122 | 0 | 104.5504 | 0
19 | 0 | 0 | 0 | 0 | 143.8048 | 0 | 114.4111 | 0
20 | 0 | 0 | 0 | 0 | 114.1901 | 0 | 122.7362 | 0
21 | 0 | 0 | 0 | 0 | 137.8485 | 0 | 124.2601 | 0
22 | 0 | 0 | 0 | 0 | 125.9657 | 0 | 131.5754 | 0
23 | 0 | 0 | 0 | 0 | 117.0236 | 0 | 109.2131 | 0
24 | 0 | 0 | 0 | 0 | 102.209 | 0 | 111.5503 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0.70159 | 0.89059 | 0 | 0 | 1263.2397 | 703.84 | 819.1591 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 601.36 | 34.3043
|  | 2 | 556.8922 | 30.9928
|  | 3 | 536.5122 | 32.3364
|  | 4 | 529.1128 | 33.2205
|  | 5 | 538.4603 | 33.8328
|  | 6 | 562.7632 | 34.5601
|  | 7 | 645.1931 | 35.6205
|  | 8 | 767.7168 | 35.3047
|  | 9 | 815.3851 | 38.3377
|  | 10 | 819.156 | 37.6904
|  | 11 | 811.3314 | 37.2149
|  | 12 | 805.3785 | 36.6515
|  | 13 | 799.5089 | 35.787
|  | 14 | 799.0281 | 34.9081
|  | 15 | 789.9191 | 33.6584
|  | 16 | 774.2754 | 33.0757
|  | 17 | 777.168 | 33.9079
|  | 18 | 793.7602 | 34.3895
|  | 19 | 809.3279 | 32.9368
|  | 20 | 826.7273 | 35.3144
|  | 21 | 896.8217 | 37.0768
|  | 22 | 868.4791 | 35.7057
|  | 23 | 802.1908 | 34.9294
|  | 24 | 690.7443 | 35.166
|  | 25 | 603.9177 | 35.0579
|  | 26 | 557.5591 | 34.1486
|  | 27 | 534.4097 | 34.2383
|  | 28 | 528.2846 | 33.3819
|  | 29 | 536.4173 | 33.7313
|  | 30 | 570.3704 | 33.1011
|  | 31 | 654.1146 | 31.878
|  | 32 | 774.5851 | 32.1393
|  | 33 | 810.5603 | 32.3828
|  | 34 | 809.2594 | 34.2272
|  | 35 | 790.0795 | 30.573
|  | 36 | 789.918 | 30.8016
|  | 37 | 798.2225 | 30.9268
|  | 38 | 805.1411 | 33.6035
|  | 39 | 797.144 | 33.3863
|  | 40 | 771.0703 | 31.2586
|  | 41 | 762.975 | 32.7552
|  | 42 | 791.5308 | 34.523
|  | 43 | 820.0226 | 32.9656
|  | 44 | 841.5918 | 33.539
|  | 45 | 908.5193 | 34.0916
|  | 46 | 867.7241 | 33.8639
|  | 47 | 795.9464 | 34.1363
|  | 48 | 679.8641 | 35.0475
|  | 49 | 586.9711 | 33.1893
|  | 50 | 538.7731 | 34.2062
|  | 51 | 518.6432 | 34.7161
|  | 52 | 516.3903 | 32.7933
|  | 53 | 527.9482 | 33.1541
|  | 54 | 562.8472 | 34.0029
|  | 55 | 643.4931 | 33.0952
|  | 56 | 765.2631 | 33.5035
|  | 57 | 802.8218 | 35.3531
|  | 58 | 812.1125 | 35.8758
|  | 59 | 806.0033 | 34.792
|  | 60 | 806.1532 | 34.1748
|  | 61 | 790.251 | 34.1441
|  | 62 | 797.0243 | 34.0359
|  | 63 | 794.0178 | 33.2881
|  | 64 | 783.5691 | 34.1094
|  | 65 | 784.8968 | 33.5092
|  | 66 | 797.2808 | 35.6516
|  | 67 | 820.3536 | 36.0458
|  | 68 | 844.8426 | 36.1142
|  | 69 | 904.0858 | 35.1575
|  | 70 | 856.4688 | 36.9103
|  | 71 | 798.2148 | 37.6104
|  | 72 | 687.6454 | 36.0525
|  | 73 | 586.3176 | 34.9608
|  | 74 | 537.9275 | 33.9587
|  | 75 | 518.9638 | 34.1648
|  | 76 | 513.6538 | 33.4027
|  | 77 | 516.4437 | 34.0439
|  | 78 | 558.5022 | 35.5048
|  | 79 | 665.1314 | 35.7206
|  | 80 | 773.1898 | 37.3978
|  | 81 | 813.5925 | 38.5968
|  | 82 | 818.8926 | 39.8488
|  | 83 | 813.9302 | 38.8371
|  | 84 | 803.9768 | 38.9366
|  | 85 | 796.2371 | 37.4208
|  | 86 | 804.3323 | 38.0708
|  | 87 | 792.5588 | 36.2188
|  | 88 | 773.4192 | 36.0826
|  | 89 | 776.8771 | 36.5541
|  | 90 | 783.3638 | 37.1345
|  | 91 | 806.0552 | 36.8321
|  | 92 | 824.1772 | 40.7898
|  | 93 | 889.2851 | 43.2513
|  | 94 | 854.3269 | 42.8374
|  | 95 | 778.2488 | 38.7534
|  | 96 | 666.2661 | 37.2908
|  | 97 | 591.9711 | 33.5618
|  | 98 | 543.7731 | 33.8373
|  | 99 | 523.6432 | 33.4557
|  | 100 | 521.3903 | 31.9493
|  | 101 | 532.9482 | 33.2001
|  | 102 | 567.8472 | 33.6887
|  | 103 | 648.4931 | 33.4576
|  | 104 | 770.2631 | 37.0387
|  | 105 | 807.8218 | 38.1892
|  | 106 | 817.1125 | 35.6639
|  | 107 | 811.0033 | 33.9651
|  | 108 | 811.1532 | 33.0192
|  | 109 | 795.251 | 32.2347
|  | 110 | 802.0243 | 33.1569
|  | 111 | 799.0178 | 33.0376
|  | 112 | 788.5691 | 31.3354
|  | 113 | 789.8968 | 31.7689
|  | 114 | 802.2808 | 33.6253
|  | 115 | 825.3536 | 34.8671
|  | 116 | 849.8426 | 37.4846
|  | 117 | 909.0858 | 36.8751
|  | 118 | 861.4688 | 36.0732
|  | 119 | 803.2148 | 34.5551
|  | 120 | 692.6454 | 31.905
|  | 121 | 608.9177 | 31.8324
|  | 122 | 562.5591 | 31.3573
|  | 123 | 539.4097 | 31.1273
|  | 124 | 533.2846 | 30.5701
|  | 125 | 541.4173 | 31.75
|  | 126 | 575.3704 | 30.162
|  | 127 | 659.1146 | 31.924
|  | 128 | 779.5851 | 33.6357
|  | 129 | 815.5603 | 33.4875
|  | 130 | 814.2594 | 34.2575
|  | 131 | 795.0795 | 32.4885
|  | 132 | 794.918 | 31.2337
|  | 133 | 803.2225 | 31.4636
|  | 134 | 810.1411 | 31.8656
|  | 135 | 802.144 | 33.1342
|  | 136 | 776.0703 | 32.9057
|  | 137 | 767.975 | 33.2503
|  | 138 | 796.5308 | 33.5706
|  | 139 | 825.0226 | 35.3209
|  | 140 | 846.5918 | 32.9592
|  | 141 | 913.5193 | 34.8845
|  | 142 | 872.7241 | 33.4617
|  | 143 | 800.9464 | 32.0603
|  | 144 | 684.8641 | 29.9918
|  | 145 | 599.36 | 30.2378
|  | 146 | 554.8922 | 29.9706
|  | 147 | 534.5122 | 29.3097
|  | 148 | 527.1128 | 28.6881
|  | 149 | 536.4603 | 28.8224
|  | 150 | 560.7632 | 29.1232
|  | 151 | 643.1931 | 29.6969
|  | 152 | 765.7168 | 30.5021
|  | 153 | 813.3851 | 31.1525
|  | 154 | 817.156 | 30.9894
|  | 155 | 809.3314 | 29.8657
|  | 156 | 803.3785 | 29.4829
|  | 157 | 797.5089 | 28.1857
|  | 158 | 797.0281 | 28.6117
|  | 159 | 787.9191 | 29.36
|  | 160 | 772.2754 | 29.7151
|  | 161 | 775.168 | 30.2638
|  | 162 | 791.7602 | 29.8262
|  | 163 | 807.3279 | 29.1131
|  | 164 | 824.7273 | 29.2695
|  | 165 | 894.8217 | 31.341
|  | 166 | 866.4791 | 30.8141
|  | 167 | 800.1908 | 30.8853
|  | 168 | 688.7443 | 28.4212
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 23/05/2022 | 24/05/2022 | 25/05/2022 | 26/05/2022 | 27/05/2022 | 28/05/2022 | 29/05/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikimi EN
Albania Transmission System Operator
2022-05-27
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17443 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 23/05/2022 | 24/05/2022 | 25/05/2022 | 26/05/2022 | 27/05/2022 | 28/05/2022 | 29/05/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-05-25
|  | Hour | Production | Exchange | Consumption
|  | 1 | 513.537 | -85.072 | 598.609
|  | 2 | 459.977 | -90.555 | 550.532
|  | 3 | 433.4252 | -90.984 | 524.4092
|  | 4 | 406.6197 | -107.385 | 514.0047
|  | 5 | 419.2936 | -103.033 | 522.3266
|  | 6 | 484.402 | -70.553 | 554.955
|  | 7 | 547.8524 | -85.937 | 633.7894
|  | 8 | 702.5413 | -31.669 | 734.2103
|  | 9 | 753.4361 | -53.9 | 807.3361
|  | 10 | 766.0125 | -65.281 | 831.2935
|  | 11 | 557.8629 | -285.251 | 843.1139
|  | 12 | 549.2921 | -304.873 | 854.1651
|  | 13 | 564.1712 | -301.058 | 865.2292
|  | 14 | 577.0767 | -285.161 | 862.2377
|  | 15 | 540.8791 | -297.739 | 838.6181
|  | 16 | 514.9747 | -298.684 | 813.6587
|  | 17 | 501.9331 | -312.554 | 814.4871
|  | 18 | 770.0901 | -61.502 | 831.5921
|  | 19 | 895.9256 | 47.976 | 847.9496
|  | 20 | 894.3299 | 38.771 | 855.5589
|  | 21 | 938.4091 | 25.314 | 913.0951
|  | 22 | 909.2583 | 48.071 | 861.1873
|  | 23 | 764.2082 | -24.432 | 788.6402
|  | 24 | 588.8638 | -92.478 | 681.3418
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.7637 | -41.4957 | -42.932 | -219.7472 | -17.7435 | 43.4798
2 | 22.6287 | -54.2421 | -33.4208 | -236.2688 | -2.4891 | 48.8575
3 | 23.2589 | -54.477 | -30.9712 | -233.4076 | 0.61286 | 53.9385
4 | 23.7415 | -51.068 | -41.4691 | -224.5114 | -19.6681 | 68.6988
5 | 24.146 | -46.4099 | -43.1886 | -212.8315 | -32.4818 | 74.2559
6 | 23.5175 | -43.3358 | -49.0962 | -215.6314 | -50.9268 | 63.9611
7 | 27.3941 | -19.1537 | -50.8476 | -186.0365 | -57.0152 | 34.1733
8 | 20.099 | -3.8363 | -67.3863 | -174.2469 | -74.2668 | 40.1458
9 | 20.6445 | -7.554 | -57.1836 | -198.4034 | -85.2714 | 75.5681
10 | 19.1789 | -39.5038 | -103.4551 | -270.5956 | -148.0093 | 69.6897
11 | 11.4786 | -43.3422 | -105.0472 | -277.679 | -132.6071 | 29.2846
12 | 6.8671 | -37.7177 | -90.5962 | -249.4679 | -94.6525 | -48.1001
13 | -1.6296 | -29.2709 | -83.7497 | -229.1111 | -89.7684 | -59.7768
14 | -6.5318 | -31.9029 | -88.0809 | -229.4466 | -85.5752 | -80.978
15 | -11.0236 | -26.4132 | -101.2563 | -205.6836 | -125.242 | -79.0001
16 | -7.4676 | -17.4889 | -110.4776 | -173.2728 | -164.718 | -16.5473
17 | 4.4683 | 12.5995 | -86.9924 | -118.4892 | -157.1002 | 104.2359
18 | 12.277 | 21.9461 | -68.356 | -94.5488 | -111.3665 | 74.314
19 | 8.5296 | 21.4337 | -59.2568 | -101.4871 | -76.3768 | 53.8004
20 | 8.3999 | 26.2017 | -62.5317 | -91.0716 | -102.2542 | 45.3816
21 | 8.9017 | 16.5543 | -48.9114 | -123.1663 | -39.5593 | 6.3248
22 | 9.6001 | -6.2746 | -92.2951 | -141.2845 | -179.4563 | 72.2986
23 | 16.9037 | -9.4204 | -81.7762 | -161.8058 | -136.2601 | 100.72
24 | 24.8183 | #REF! | #REF! | #REF! | #REF! | #REF!
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-05-27
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 313.65
|  |  | 01:00 - 02:00 | 272.61
|  |  | 02:00 - 03:00 | 257.57
|  |  | 03:00 - 04:00 | 256.58
|  |  | 04:00 - 05:00 | 255.6
|  |  | 05:00 - 06:00 | 301.27
|  |  | 06:00 - 07:00 | 391.26
|  |  | 07:00 - 08:00 | 567.4
|  |  | 08:00 - 09:00 | 612.75
|  |  | 09:00 - 10:00 | 571.9
|  |  | 10:00 - 11:00 | 436.67
|  |  | 11:00 - 12:00 | 341.71
|  |  | 12:00 - 13:00 | 324.69
|  |  | 13:00 - 14:00 | 341.77
|  |  | 14:00 - 15:00 | 304.64
|  |  | 15:00 - 16:00 | 295.54
|  |  | 16:00 - 17:00 | 324.04
|  |  | 17:00 - 18:00 | 603.33
|  |  | 18:00 - 19:00 | 660.26
|  |  | 19:00 - 20:00 | 723.26
|  |  | 20:00 - 21:00 | 779.72
|  |  | 21:00 - 22:00 | 731.87
|  |  | 22:00 - 23:00 | 579.75
|  |  | 23:00 - 00:00 | 425.62
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.70159 | 0.89059 | 0 | 0 | 0.18273 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 48.3824 | 1.5697 | 0 | 0
8 | 0 | 0 | 0 | 0 | 90.2783 | 103.7152 | 0 | 0
9 | 0 | 0 | 0 | 0 | 123.9007 | 91.7774 | 0 | 0
10 | 0 | 0 | 0 | 0 | 134.8716 | 89.9175 | 0 | 0
11 | 0 | 0 | 0 | 0 | 2.2062 | 90.0126 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 92.5655 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 89.2763 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 104.5107 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 40.4952 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 1.2639 | 0 | 0.86256 | 0
18 | 0 | 0 | 0 | 0 | 121.1122 | 0 | 104.5504 | 0
19 | 0 | 0 | 0 | 0 | 143.8048 | 0 | 114.4111 | 0
20 | 0 | 0 | 0 | 0 | 114.1901 | 0 | 122.7362 | 0
21 | 0 | 0 | 0 | 0 | 137.8485 | 0 | 124.2601 | 0
22 | 0 | 0 | 0 | 0 | 125.9657 | 0 | 131.5754 | 0
23 | 0 | 0 | 0 | 0 | 117.0236 | 0 | 109.2131 | 0
24 | 0 | 0 | 0 | 0 | 102.209 | 0 | 111.5503 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1263.057 | 703.84 | 819.1591 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 601.36 | 34.3043
|  | 2 | 556.8922 | 30.9928
|  | 3 | 536.5122 | 32.3364
|  | 4 | 529.1128 | 33.2205
|  | 5 | 538.4603 | 33.8328
|  | 6 | 562.7632 | 34.5601
|  | 7 | 645.1931 | 35.6205
|  | 8 | 767.7168 | 35.3047
|  | 9 | 815.3851 | 38.3377
|  | 10 | 819.156 | 37.6904
|  | 11 | 811.3314 | 37.2149
|  | 12 | 805.3785 | 36.6515
|  | 13 | 799.5089 | 35.787
|  | 14 | 799.0281 | 34.9081
|  | 15 | 789.9191 | 33.6584
|  | 16 | 774.2754 | 33.0757
|  | 17 | 777.168 | 33.9079
|  | 18 | 793.7602 | 34.3895
|  | 19 | 809.3279 | 32.9368
|  | 20 | 826.7273 | 35.3144
|  | 21 | 896.8217 | 37.0768
|  | 22 | 868.4791 | 35.7057
|  | 23 | 802.1908 | 34.9294
|  | 24 | 690.7443 | 35.166
|  | 25 | 603.9177 | 35.0579
|  | 26 | 557.5591 | 34.1486
|  | 27 | 534.4097 | 34.2383
|  | 28 | 528.2846 | 33.3819
|  | 29 | 536.4173 | 33.7313
|  | 30 | 570.3704 | 33.1011
|  | 31 | 654.1146 | 31.878
|  | 32 | 774.5851 | 32.1393
|  | 33 | 810.5603 | 32.3828
|  | 34 | 809.2594 | 34.2272
|  | 35 | 790.0795 | 30.573
|  | 36 | 789.918 | 30.8016
|  | 37 | 798.2225 | 30.9268
|  | 38 | 805.1411 | 33.6035
|  | 39 | 797.144 | 33.3863
|  | 40 | 771.0703 | 31.2586
|  | 41 | 762.975 | 32.7552
|  | 42 | 791.5308 | 34.523
|  | 43 | 820.0226 | 32.9656
|  | 44 | 841.5918 | 33.539
|  | 45 | 908.5193 | 34.0916
|  | 46 | 867.7241 | 33.8639
|  | 47 | 795.9464 | 34.1363
|  | 48 | 679.8641 | 35.0475
|  | 49 | 586.9711 | 33.1893
|  | 50 | 538.7731 | 34.2062
|  | 51 | 518.6432 | 34.7161
|  | 52 | 516.3903 | 32.7933
|  | 53 | 527.9482 | 33.1541
|  | 54 | 562.8472 | 34.0029
|  | 55 | 643.4931 | 33.0952
|  | 56 | 765.2631 | 33.5035
|  | 57 | 802.8218 | 35.3531
|  | 58 | 812.1125 | 35.8758
|  | 59 | 806.0033 | 34.792
|  | 60 | 806.1532 | 34.1748
|  | 61 | 790.251 | 34.1441
|  | 62 | 797.0243 | 34.0359
|  | 63 | 794.0178 | 33.2881
|  | 64 | 783.5691 | 34.1094
|  | 65 | 784.8968 | 33.5092
|  | 66 | 797.2808 | 35.6516
|  | 67 | 820.3536 | 36.0458
|  | 68 | 844.8426 | 36.1142
|  | 69 | 904.0858 | 35.1575
|  | 70 | 856.4688 | 36.9103
|  | 71 | 798.2148 | 37.6104
|  | 72 | 687.6454 | 36.0525
|  | 73 | 586.3176 | 34.9608
|  | 74 | 537.9275 | 33.9587
|  | 75 | 518.9638 | 34.1648
|  | 76 | 513.6538 | 33.4027
|  | 77 | 516.4437 | 34.0439
|  | 78 | 558.5022 | 35.5048
|  | 79 | 665.1314 | 35.7206
|  | 80 | 773.1898 | 37.3978
|  | 81 | 813.5925 | 38.5968
|  | 82 | 818.8926 | 39.8488
|  | 83 | 813.9302 | 38.8371
|  | 84 | 803.9768 | 38.9366
|  | 85 | 796.2371 | 37.4208
|  | 86 | 804.3323 | 38.0708
|  | 87 | 792.5588 | 36.2188
|  | 88 | 773.4192 | 36.0826
|  | 89 | 776.8771 | 36.5541
|  | 90 | 783.3638 | 37.1345
|  | 91 | 806.0552 | 36.8321
|  | 92 | 824.1772 | 40.7898
|  | 93 | 889.2851 | 43.2513
|  | 94 | 854.3269 | 42.8374
|  | 95 | 778.2488 | 38.7534
|  | 96 | 666.2661 | 37.2908
|  | 97 | 591.9711 | 33.5618
|  | 98 | 543.7731 | 33.8373
|  | 99 | 523.6432 | 33.4557
|  | 100 | 521.3903 | 31.9493
|  | 101 | 532.9482 | 33.2001
|  | 102 | 567.8472 | 33.6887
|  | 103 | 648.4931 | 33.4576
|  | 104 | 770.2631 | 37.0387
|  | 105 | 807.8218 | 38.1892
|  | 106 | 817.1125 | 35.6639
|  | 107 | 811.0033 | 33.9651
|  | 108 | 811.1532 | 33.0192
|  | 109 | 795.251 | 32.2347
|  | 110 | 802.0243 | 33.1569
|  | 111 | 799.0178 | 33.0376
|  | 112 | 788.5691 | 31.3354
|  | 113 | 789.8968 | 31.7689
|  | 114 | 802.2808 | 33.6253
|  | 115 | 825.3536 | 34.8671
|  | 116 | 849.8426 | 37.4846
|  | 117 | 909.0858 | 36.8751
|  | 118 | 861.4688 | 36.0732
|  | 119 | 803.2148 | 34.5551
|  | 120 | 692.6454 | 31.905
|  | 121 | 608.9177 | 31.8324
|  | 122 | 562.5591 | 31.3573
|  | 123 | 539.4097 | 31.1273
|  | 124 | 533.2846 | 30.5701
|  | 125 | 541.4173 | 31.75
|  | 126 | 575.3704 | 30.162
|  | 127 | 659.1146 | 31.924
|  | 128 | 779.5851 | 33.6357
|  | 129 | 815.5603 | 33.4875
|  | 130 | 814.2594 | 34.2575
|  | 131 | 795.0795 | 32.4885
|  | 132 | 794.918 | 31.2337
|  | 133 | 803.2225 | 31.4636
|  | 134 | 810.1411 | 31.8656
|  | 135 | 802.144 | 33.1342
|  | 136 | 776.0703 | 32.9057
|  | 137 | 767.975 | 33.2503
|  | 138 | 796.5308 | 33.5706
|  | 139 | 825.0226 | 35.3209
|  | 140 | 846.5918 | 32.9592
|  | 141 | 913.5193 | 34.8845
|  | 142 | 872.7241 | 33.4617
|  | 143 | 800.9464 | 32.0603
|  | 144 | 684.8641 | 29.9918
|  | 145 | 599.36 | 30.2378
|  | 146 | 554.8922 | 29.9706
|  | 147 | 534.5122 | 29.3097
|  | 148 | 527.1128 | 28.6881
|  | 149 | 536.4603 | 28.8224
|  | 150 | 560.7632 | 29.1232
|  | 151 | 643.1931 | 29.6969
|  | 152 | 765.7168 | 30.5021
|  | 153 | 813.3851 | 31.1525
|  | 154 | 817.156 | 30.9894
|  | 155 | 809.3314 | 29.8657
|  | 156 | 803.3785 | 29.4829
|  | 157 | 797.5089 | 28.1857
|  | 158 | 797.0281 | 28.6117
|  | 159 | 787.9191 | 29.36
|  | 160 | 772.2754 | 29.7151
|  | 161 | 775.168 | 30.2638
|  | 162 | 791.7602 | 29.8262
|  | 163 | 807.3279 | 29.1131
|  | 164 | 824.7273 | 29.2695
|  | 165 | 894.8217 | 31.341
|  | 166 | 866.4791 | 30.8141
|  | 167 | 800.1908 | 30.8853
|  | 168 | 688.7443 | 28.4212
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 23/05/2022 | 24/05/2022 | 25/05/2022 | 26/05/2022 | 27/05/2022 | 28/05/2022 | 29/05/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible