## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-06-02
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17716 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 30/05/2022 | 31/05/2022 | 01/06/2022 | 02/06/2022 | 03/06/2022 | 04/06/2022 | 05/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-05-31
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 368.5887 | -237.5606 | 606.1493
|  | 2 | 274.1484 | -281.753 | 555.9014
|  | 3 | 281.2855 | -251.523 | 532.8085
|  | 4 | 270.1345 | -259.3005 | 529.435
|  | 5 | 266.1381 | -267.93 | 534.0681
|  | 6 | 299.1554 | -262.7744 | 561.9299
|  | 7 | 431.9417 | -203.7334 | 635.6751
|  | 8 | 539.3335 | -222.6588 | 761.9923
|  | 9 | 641.5268 | -179.2022 | 820.729
|  | 10 | 677.1398 | -160.201 | 837.3408
|  | 11 | 665.7115 | -175.0142 | 840.7257
|  | 12 | 578.7806 | -266.2396 | 845.0203
|  | 13 | 564.8892 | -271.4733 | 836.3625
|  | 14 | 570.4329 | -277.6441 | 848.077
|  | 15 | 580.9427 | -261.5111 | 842.4538
|  | 16 | 558.6378 | -266.0686 | 824.7065
|  | 17 | 548.8312 | -270.7268 | 819.5581
|  | 18 | 586.8759 | -250.1531 | 837.0291
|  | 19 | 659.3846 | -190.0205 | 849.4051
|  | 20 | 757.7788 | -93.4285 | 851.2073
|  | 21 | 829.8863 | -74.6719 | 904.5581
|  | 22 | 817.7133 | -78.9499 | 896.6632
|  | 23 | 668.7828 | -130.4222 | 799.2051
|  | 24 | 478.3278 | -188.7264 | 667.0542
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 24.6304 | -46.7172 | -5.4574 | -230.9659 | 23.8936 | -25.3751
2 | 24.7438 | -59.6893 | 10.3337 | -241.5071 | 46.3976 | -27.6756
3 | 20.376 | -61.8444 | 6.7504 | -242.8651 | 61.4369 | -54.5475
4 | 20.4301 | -64.2196 | 4.8645 | -242.7716 | 56.5609 | -42.4295
5 | 19.425 | -63.2779 | 6.4722 | -242.2555 | 60.4289 | -49.8316
6 | 14.4211 | -62.4249 | 0.8842 | -236.1107 | 44.8036 | -51.7786
7 | 13.1604 | -52.5823 | 7.5111 | -251.9742 | 81.6883 | -174.1734
8 | -1.311 | -28.3392 | 15.7737 | -227.2532 | 127.008 | -271.4807
9 | -8.7374 | 10.7829 | 34.7539 | -223.6663 | 153.1596 | -295.9178
10 | -4.4939 | 14.9505 | 23.8575 | -235.3366 | 115.7722 | -249.1079
11 | -3.1213 | -16.0838 | -18.9504 | -268.6699 | 51.4644 | -230.8433
12 | -4.3042 | -17.6415 | -12.4526 | -271.3343 | 59.3887 | -250.7362
13 | -4.4886 | -20.0074 | -18.5487 | -267.8248 | 46.2981 | -238.8441
14 | -6.1513 | -18.9089 | -23.3632 | -270.0892 | 31.3098 | -209.0305
15 | -13.787 | -17.0127 | -19.4578 | -264.1186 | 43.094 | -229.344
16 | -9.2409 | 19.5724 | -7.2897 | -233.4335 | 48.8786 | -170.3568
17 | -8.4125 | 15.438 | -17.3505 | -224.3566 | 48.4378 | -175.7642
18 | 6.2149 | 11.7196 | -48.3614 | -220.0924 | -50.8247 | -71.1309
19 | 10.6217 | 11.4151 | -42.5822 | -194.6359 | -29.8691 | -108.815
20 | 1.9015 | 17.1852 | -33.6504 | -173.3502 | -0.82522 | -119.1614
21 | 6.5526 | 25.0415 | -50.8203 | -160.7252 | -54.5422 | -67.3338
22 | 11.6129 | 23.7925 | -39.3959 | -166.3377 | -36.4358 | -86.2242
23 | 2.6921 | -4.4217 | -27.3325 | -194.1198 | 12.9185 | -142.1548
24 | 2.4236 | -22.1341 | -25.6528 | -203.8999 | 34.0543 | -137.9705
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-06-02
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 243.2041
|  |  | 01:00 - 02:00 | 241.1641
|  |  | 02:00 - 03:00 | 204.034
|  |  | 03:00 - 04:00 | 202.0039
|  |  | 04:00 - 05:00 | 223.0404
|  |  | 05:00 - 06:00 | 251.1034
|  |  | 06:00 - 07:00 | 310.1783
|  |  | 07:00 - 08:00 | 428.7082
|  |  | 08:00 - 09:00 | 531.2433
|  |  | 09:00 - 10:00 | 567.4084
|  |  | 10:00 - 11:00 | 421.7332
|  |  | 11:00 - 12:00 | 422.9242
|  |  | 12:00 - 13:00 | 414.7573
|  |  | 13:00 - 14:00 | 414.7939
|  |  | 14:00 - 15:00 | 410.6985
|  |  | 15:00 - 16:00 | 542.409
|  |  | 16:00 - 17:00 | 538.4136
|  |  | 17:00 - 18:00 | 535.3849
|  |  | 18:00 - 19:00 | 528.3734
|  |  | 19:00 - 20:00 | 536.3635
|  |  | 20:00 - 21:00 | 592.6436
|  |  | 21:00 - 22:00 | 565.5237
|  |  | 22:00 - 23:00 | 445.9586
|  |  | 23:00 - 00:00 | 314.81
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 51.0917 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 2.153 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 77.5545 | 0 | 0.99739 | 0 | 0 | 0
8 | 1.8413 | 0 | 99.1493 | 0 | 99.704 | 0 | 0 | 0
9 | 99.3296 | 0 | 99.7482 | 0 | 93.3397 | 0 | 0 | 0
10 | 99.6565 | 0 | 99.7641 | 0 | 94.4754 | 0 | 0 | 0
11 | 0.6382 | 0 | 99.7281 | 0 | 92.3622 | 0 | 0 | 0
12 | 0 | 0 | 99.7608 | 0 | 102.5546 | 0 | 0 | 0
13 | 0 | 0 | 99.801 | 0 | 99.077 | 0 | 0 | 0
14 | 0 | 0 | 99.7653 | 0 | 103.7312 | 0 | 0 | 0
15 | 0 | 1.8089 | 99.7662 | 0 | 96.4674 | 0 | 0 | 0
16 | 0 | 99.8258 | 99.8008 | 0 | 122.5744 | 0 | 0 | 0
17 | 0 | 100.0383 | 99.8223 | 0 | 116.077 | 0 | 0 | 0
18 | 0 | 100.0584 | 99.7584 | 0 | 116.2973 | 0 | 0 | 0
19 | 0 | 104.9988 | 99.7889 | 0 | 119.6056 | 0 | 0 | 0
20 | 0 | 100.0233 | 99.8412 | 0 | 89.585 | 0 | 0 | 0
21 | 0 | 105.0622 | 104.7668 | 0 | 107.7101 | 0 | 0 | 0
22 | 0 | 100.0588 | 99.8495 | 0 | 120.6953 | 0 | 0 | 0
23 | 0 | 0.6971 | 99.7785 | 0 | 104.9606 | 0 | 0 | 0
24 | 0 | 0 | 0.81158 | 0 | 120.3259 | 0 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 201.4655 | 712.5716 | 1681.4086 | 0 | 1800.5401 | 51.0917 | 0 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 622.1313 | 34.3043
|  | 2 | 574.8981 | 30.9928
|  | 3 | 551.7566 | 32.3364
|  | 4 | 546.0594 | 33.2205
|  | 5 | 542.6706 | 33.8328
|  | 6 | 562.9186 | 34.5601
|  | 7 | 632.6497 | 35.6205
|  | 8 | 711.9643 | 35.3047
|  | 9 | 779.2948 | 38.3377
|  | 10 | 829.4901 | 37.6904
|  | 11 | 850.1855 | 37.2149
|  | 12 | 859.3611 | 36.6515
|  | 13 | 858.4711 | 35.787
|  | 14 | 815.8039 | 34.9081
|  | 15 | 774.7505 | 33.6584
|  | 16 | 751.7442 | 33.0757
|  | 17 | 769.394 | 33.9079
|  | 18 | 786.7665 | 34.3895
|  | 19 | 817.3473 | 32.9368
|  | 20 | 835.13 | 35.3144
|  | 21 | 911.5127 | 37.0768
|  | 22 | 896.1524 | 35.7057
|  | 23 | 807.2904 | 34.9294
|  | 24 | 687.2218 | 35.166
|  | 25 | 596.3534 | 35.0579
|  | 26 | 547.6224 | 34.1486
|  | 27 | 527.0266 | 34.2383
|  | 28 | 515.2225 | 33.3819
|  | 29 | 527.3218 | 33.7313
|  | 30 | 565.9022 | 33.1011
|  | 31 | 648.097 | 31.878
|  | 32 | 760.8397 | 32.1393
|  | 33 | 805.9948 | 32.3828
|  | 34 | 825.5789 | 34.2272
|  | 35 | 833.6361 | 30.573
|  | 36 | 846.5548 | 30.8016
|  | 37 | 850.8136 | 30.9268
|  | 38 | 853.1822 | 33.6035
|  | 39 | 842.7453 | 33.3863
|  | 40 | 822.8538 | 31.2586
|  | 41 | 821.1025 | 32.7552
|  | 42 | 830.948 | 34.523
|  | 43 | 853.7598 | 32.9656
|  | 44 | 855.2582 | 33.539
|  | 45 | 896.2902 | 34.0916
|  | 46 | 871.0334 | 33.8639
|  | 47 | 809.4883 | 34.1363
|  | 48 | 699.1121 | 35.0475
|  | 49 | 594.9412 | 33.1893
|  | 50 | 540.4368 | 34.2062
|  | 51 | 519.9871 | 34.7161
|  | 52 | 503.9707 | 32.7933
|  | 53 | 514.5643 | 33.1541
|  | 54 | 550.2326 | 34.0029
|  | 55 | 640.9312 | 33.0952
|  | 56 | 758.9233 | 33.5035
|  | 57 | 806.0217 | 35.3531
|  | 58 | 815.857 | 35.8758
|  | 59 | 822.7463 | 34.792
|  | 60 | 830.2757 | 34.1748
|  | 61 | 828.6014 | 34.1441
|  | 62 | 833.7459 | 34.0359
|  | 63 | 819.2313 | 33.2881
|  | 64 | 803.1507 | 34.1094
|  | 65 | 807.7072 | 33.5092
|  | 66 | 812.2519 | 35.6516
|  | 67 | 821.7981 | 36.0458
|  | 68 | 827.9304 | 36.1142
|  | 69 | 886.9452 | 35.1575
|  | 70 | 868.1066 | 36.9103
|  | 71 | 795.3523 | 37.6104
|  | 72 | 681.9934 | 36.0525
|  | 73 | 594.609 | 34.9608
|  | 74 | 546.532 | 33.9587
|  | 75 | 520.4092 | 34.1648
|  | 76 | 510.0047 | 33.4027
|  | 77 | 518.3266 | 34.0439
|  | 78 | 550.955 | 35.5048
|  | 79 | 629.7894 | 35.7206
|  | 80 | 730.2103 | 37.3978
|  | 81 | 803.3361 | 38.5968
|  | 82 | 827.2935 | 39.8488
|  | 83 | 839.1139 | 38.8371
|  | 84 | 850.1651 | 38.9366
|  | 85 | 861.2292 | 37.4208
|  | 86 | 858.2377 | 38.0708
|  | 87 | 834.6181 | 36.2188
|  | 88 | 809.6587 | 36.0826
|  | 89 | 810.4871 | 36.5541
|  | 90 | 827.5921 | 37.1345
|  | 91 | 843.9496 | 36.8321
|  | 92 | 851.5589 | 40.7898
|  | 93 | 909.0951 | 43.2513
|  | 94 | 857.1873 | 42.8374
|  | 95 | 784.6402 | 38.7534
|  | 96 | 677.3418 | 37.2908
|  | 97 | 623.1313 | 33.5618
|  | 98 | 575.8981 | 33.8373
|  | 99 | 552.7566 | 33.4557
|  | 100 | 547.0594 | 31.9493
|  | 101 | 543.6706 | 33.2001
|  | 102 | 563.9186 | 33.6887
|  | 103 | 633.6497 | 33.4576
|  | 104 | 712.9643 | 37.0387
|  | 105 | 780.2948 | 38.1892
|  | 106 | 830.4901 | 35.6639
|  | 107 | 851.1855 | 33.9651
|  | 108 | 860.3611 | 33.0192
|  | 109 | 859.4711 | 32.2347
|  | 110 | 816.8039 | 33.1569
|  | 111 | 775.7505 | 33.0376
|  | 112 | 752.7442 | 31.3354
|  | 113 | 770.394 | 31.7689
|  | 114 | 787.7665 | 33.6253
|  | 115 | 818.3473 | 34.8671
|  | 116 | 836.13 | 37.4846
|  | 117 | 912.5127 | 36.8751
|  | 118 | 897.1524 | 36.0732
|  | 119 | 808.2904 | 34.5551
|  | 120 | 688.2218 | 31.905
|  | 121 | 594.1571 | 31.8324
|  | 122 | 550.7325 | 31.3573
|  | 123 | 532.5248 | 31.1273
|  | 124 | 528.1274 | 30.5701
|  | 125 | 539.4528 | 31.75
|  | 126 | 575.9294 | 30.162
|  | 127 | 658.4811 | 31.924
|  | 128 | 768.7415 | 33.6357
|  | 129 | 831.033 | 33.4875
|  | 130 | 870.0817 | 34.2575
|  | 131 | 878.4215 | 32.4885
|  | 132 | 895.3614 | 31.2337
|  | 133 | 895.1027 | 31.4636
|  | 134 | 895.9226 | 31.8656
|  | 135 | 872.0783 | 33.1342
|  | 136 | 849.2569 | 32.9057
|  | 137 | 836.4384 | 33.2503
|  | 138 | 856.742 | 33.5706
|  | 139 | 863.0045 | 35.3209
|  | 140 | 868.4651 | 32.9592
|  | 141 | 912.3137 | 34.8845
|  | 142 | 888.8451 | 33.4617
|  | 143 | 786.2232 | 32.0603
|  | 144 | 685.713 | 29.9918
|  | 145 | 619.1313 | 30.2378
|  | 146 | 571.8981 | 29.9706
|  | 147 | 548.7566 | 29.3097
|  | 148 | 543.0594 | 28.6881
|  | 149 | 539.6706 | 28.8224
|  | 150 | 559.9186 | 29.1232
|  | 151 | 629.6497 | 29.6969
|  | 152 | 708.9643 | 30.5021
|  | 153 | 776.2948 | 31.1525
|  | 154 | 826.4901 | 30.9894
|  | 155 | 847.1855 | 29.8657
|  | 156 | 856.3611 | 29.4829
|  | 157 | 855.4711 | 28.1857
|  | 158 | 812.8039 | 28.6117
|  | 159 | 771.7505 | 29.36
|  | 160 | 748.7442 | 29.7151
|  | 161 | 766.394 | 30.2638
|  | 162 | 783.7665 | 29.8262
|  | 163 | 814.3473 | 29.1131
|  | 164 | 832.13 | 29.2695
|  | 165 | 908.5127 | 31.341
|  | 166 | 893.1524 | 30.8141
|  | 167 | 804.2904 | 30.8853
|  | 168 | 684.2218 | 28.4212
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 30/05/2022 | 31/05/2022 | 01/06/2022 | 02/06/2022 | 03/06/2022 | 04/06/2022 | 05/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-06-02
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17716 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 30/05/2022 | 31/05/2022 | 01/06/2022 | 02/06/2022 | 03/06/2022 | 04/06/2022 | 05/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-05-31
|  | Hour | Production | Exchange | Consumption
|  | 1 | 368.5887 | -237.5606 | 606.1493
|  | 2 | 274.1484 | -281.753 | 555.9014
|  | 3 | 281.2855 | -251.523 | 532.8085
|  | 4 | 270.1345 | -259.3005 | 529.435
|  | 5 | 266.1381 | -267.93 | 534.0681
|  | 6 | 299.1554 | -262.7744 | 561.9299
|  | 7 | 431.9417 | -203.7334 | 635.6751
|  | 8 | 539.3335 | -222.6588 | 761.9923
|  | 9 | 641.5268 | -179.2022 | 820.729
|  | 10 | 677.1398 | -160.201 | 837.3408
|  | 11 | 665.7115 | -175.0142 | 840.7257
|  | 12 | 578.7806 | -266.2396 | 845.0203
|  | 13 | 564.8892 | -271.4733 | 836.3625
|  | 14 | 570.4329 | -277.6441 | 848.077
|  | 15 | 580.9427 | -261.5111 | 842.4538
|  | 16 | 558.6378 | -266.0686 | 824.7065
|  | 17 | 548.8312 | -270.7268 | 819.5581
|  | 18 | 586.8759 | -250.1531 | 837.0291
|  | 19 | 659.3846 | -190.0205 | 849.4051
|  | 20 | 757.7788 | -93.4285 | 851.2073
|  | 21 | 829.8863 | -74.6719 | 904.5581
|  | 22 | 817.7133 | -78.9499 | 896.6632
|  | 23 | 668.7828 | -130.4222 | 799.2051
|  | 24 | 478.3278 | -188.7264 | 667.0542
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 24.6304 | -59.6893 | 10.3337 | -241.5071 | 46.3976 | -27.6756
2 | 24.7438 | -61.8444 | 6.7504 | -242.8651 | 61.4369 | -54.5475
3 | 20.376 | -64.2196 | 4.8645 | -242.7716 | 56.5609 | -42.4295
4 | 20.4301 | -63.2779 | 6.4722 | -242.2555 | 60.4289 | -49.8316
5 | 19.425 | -62.4249 | 0.8842 | -236.1107 | 44.8036 | -51.7786
6 | 14.4211 | -52.5823 | 7.5111 | -251.9742 | 81.6883 | -174.1734
7 | 13.1604 | -28.3392 | 15.7737 | -227.2532 | 127.008 | -271.4807
8 | -1.311 | 10.7829 | 34.7539 | -223.6663 | 153.1596 | -295.9178
9 | -8.7374 | 14.9505 | 23.8575 | -235.3366 | 115.7722 | -249.1079
10 | -4.4939 | -16.0838 | -18.9504 | -268.6699 | 51.4644 | -230.8433
11 | -3.1213 | -17.6415 | -12.4526 | -271.3343 | 59.3887 | -250.7362
12 | -4.3042 | -20.0074 | -18.5487 | -267.8248 | 46.2981 | -238.8441
13 | -4.4886 | -18.9089 | -23.3632 | -270.0892 | 31.3098 | -209.0305
14 | -6.1513 | -17.0127 | -19.4578 | -264.1186 | 43.094 | -229.344
15 | -13.787 | 19.5724 | -7.2897 | -233.4335 | 48.8786 | -170.3568
16 | -9.2409 | 15.438 | -17.3505 | -224.3566 | 48.4378 | -175.7642
17 | -8.4125 | 11.7196 | -48.3614 | -220.0924 | -50.8247 | -71.1309
18 | 6.2149 | 11.4151 | -42.5822 | -194.6359 | -29.8691 | -108.815
19 | 10.6217 | 17.1852 | -33.6504 | -173.3502 | -0.82522 | -119.1614
20 | 1.9015 | 25.0415 | -50.8203 | -160.7252 | -54.5422 | -67.3338
21 | 6.5526 | 23.7925 | -39.3959 | -166.3377 | -36.4358 | -86.2242
22 | 11.6129 | -4.4217 | -27.3325 | -194.1198 | 12.9185 | -142.1548
23 | 2.6921 | -22.1341 | -25.6528 | -203.8999 | 34.0543 | -137.9705
24 | 2.4236 | #REF! | #REF! | #REF! | #REF! | #REF!
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-06-02
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 243.2041
|  |  | 01:00 - 02:00 | 241.1641
|  |  | 02:00 - 03:00 | 204.034
|  |  | 03:00 - 04:00 | 202.0039
|  |  | 04:00 - 05:00 | 223.0404
|  |  | 05:00 - 06:00 | 251.1034
|  |  | 06:00 - 07:00 | 310.1783
|  |  | 07:00 - 08:00 | 428.7082
|  |  | 08:00 - 09:00 | 531.2433
|  |  | 09:00 - 10:00 | 567.4084
|  |  | 10:00 - 11:00 | 421.7332
|  |  | 11:00 - 12:00 | 422.9242
|  |  | 12:00 - 13:00 | 414.7573
|  |  | 13:00 - 14:00 | 414.7939
|  |  | 14:00 - 15:00 | 410.6985
|  |  | 15:00 - 16:00 | 542.409
|  |  | 16:00 - 17:00 | 538.4136
|  |  | 17:00 - 18:00 | 535.3849
|  |  | 18:00 - 19:00 | 528.3734
|  |  | 19:00 - 20:00 | 536.3635
|  |  | 20:00 - 21:00 | 592.6436
|  |  | 21:00 - 22:00 | 565.5237
|  |  | 22:00 - 23:00 | 445.9586
|  |  | 23:00 - 00:00 | 314.81
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 51.0917 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 2.153 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 77.5545 | 0 | 0.99739 | 0 | 0 | 0
8 | 1.8413 | 0 | 99.1493 | 0 | 99.704 | 0 | 0 | 0
9 | 99.3296 | 0 | 99.7482 | 0 | 93.3397 | 0 | 0 | 0
10 | 99.6565 | 0 | 99.7641 | 0 | 94.4754 | 0 | 0 | 0
11 | 0.6382 | 0 | 99.7281 | 0 | 92.3622 | 0 | 0 | 0
12 | 0 | 0 | 99.7608 | 0 | 102.5546 | 0 | 0 | 0
13 | 0 | 0 | 99.801 | 0 | 99.077 | 0 | 0 | 0
14 | 0 | 0 | 99.7653 | 0 | 103.7312 | 0 | 0 | 0
15 | 0 | 1.8089 | 99.7662 | 0 | 96.4674 | 0 | 0 | 0
16 | 0 | 99.8258 | 99.8008 | 0 | 122.5744 | 0 | 0 | 0
17 | 0 | 100.0383 | 99.8223 | 0 | 116.077 | 0 | 0 | 0
18 | 0 | 100.0584 | 99.7584 | 0 | 116.2973 | 0 | 0 | 0
19 | 0 | 104.9988 | 99.7889 | 0 | 119.6056 | 0 | 0 | 0
20 | 0 | 100.0233 | 99.8412 | 0 | 89.585 | 0 | 0 | 0
21 | 0 | 105.0622 | 104.7668 | 0 | 107.7101 | 0 | 0 | 0
22 | 0 | 100.0588 | 99.8495 | 0 | 120.6953 | 0 | 0 | 0
23 | 0 | 0.6971 | 99.7785 | 0 | 104.9606 | 0 | 0 | 0
24 | 0 | 0 | 0.81158 | 0 | 120.3259 | 0 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 201.4655 | 712.5716 | 1681.4086 | 0 | 1800.5401 | 0 | 0 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 622.1313 | 34.3043
|  | 2 | 574.8981 | 30.9928
|  | 3 | 551.7566 | 32.3364
|  | 4 | 546.0594 | 33.2205
|  | 5 | 542.6706 | 33.8328
|  | 6 | 562.9186 | 34.5601
|  | 7 | 632.6497 | 35.6205
|  | 8 | 711.9643 | 35.3047
|  | 9 | 779.2948 | 38.3377
|  | 10 | 829.4901 | 37.6904
|  | 11 | 850.1855 | 37.2149
|  | 12 | 859.3611 | 36.6515
|  | 13 | 858.4711 | 35.787
|  | 14 | 815.8039 | 34.9081
|  | 15 | 774.7505 | 33.6584
|  | 16 | 751.7442 | 33.0757
|  | 17 | 769.394 | 33.9079
|  | 18 | 786.7665 | 34.3895
|  | 19 | 817.3473 | 32.9368
|  | 20 | 835.13 | 35.3144
|  | 21 | 911.5127 | 37.0768
|  | 22 | 896.1524 | 35.7057
|  | 23 | 807.2904 | 34.9294
|  | 24 | 687.2218 | 35.166
|  | 25 | 596.3534 | 35.0579
|  | 26 | 547.6224 | 34.1486
|  | 27 | 527.0266 | 34.2383
|  | 28 | 515.2225 | 33.3819
|  | 29 | 527.3218 | 33.7313
|  | 30 | 565.9022 | 33.1011
|  | 31 | 648.097 | 31.878
|  | 32 | 760.8397 | 32.1393
|  | 33 | 805.9948 | 32.3828
|  | 34 | 825.5789 | 34.2272
|  | 35 | 833.6361 | 30.573
|  | 36 | 846.5548 | 30.8016
|  | 37 | 850.8136 | 30.9268
|  | 38 | 853.1822 | 33.6035
|  | 39 | 842.7453 | 33.3863
|  | 40 | 822.8538 | 31.2586
|  | 41 | 821.1025 | 32.7552
|  | 42 | 830.948 | 34.523
|  | 43 | 853.7598 | 32.9656
|  | 44 | 855.2582 | 33.539
|  | 45 | 896.2902 | 34.0916
|  | 46 | 871.0334 | 33.8639
|  | 47 | 809.4883 | 34.1363
|  | 48 | 699.1121 | 35.0475
|  | 49 | 594.9412 | 33.1893
|  | 50 | 540.4368 | 34.2062
|  | 51 | 519.9871 | 34.7161
|  | 52 | 503.9707 | 32.7933
|  | 53 | 514.5643 | 33.1541
|  | 54 | 550.2326 | 34.0029
|  | 55 | 640.9312 | 33.0952
|  | 56 | 758.9233 | 33.5035
|  | 57 | 806.0217 | 35.3531
|  | 58 | 815.857 | 35.8758
|  | 59 | 822.7463 | 34.792
|  | 60 | 830.2757 | 34.1748
|  | 61 | 828.6014 | 34.1441
|  | 62 | 833.7459 | 34.0359
|  | 63 | 819.2313 | 33.2881
|  | 64 | 803.1507 | 34.1094
|  | 65 | 807.7072 | 33.5092
|  | 66 | 812.2519 | 35.6516
|  | 67 | 821.7981 | 36.0458
|  | 68 | 827.9304 | 36.1142
|  | 69 | 886.9452 | 35.1575
|  | 70 | 868.1066 | 36.9103
|  | 71 | 795.3523 | 37.6104
|  | 72 | 681.9934 | 36.0525
|  | 73 | 594.609 | 34.9608
|  | 74 | 546.532 | 33.9587
|  | 75 | 520.4092 | 34.1648
|  | 76 | 510.0047 | 33.4027
|  | 77 | 518.3266 | 34.0439
|  | 78 | 550.955 | 35.5048
|  | 79 | 629.7894 | 35.7206
|  | 80 | 730.2103 | 37.3978
|  | 81 | 803.3361 | 38.5968
|  | 82 | 827.2935 | 39.8488
|  | 83 | 839.1139 | 38.8371
|  | 84 | 850.1651 | 38.9366
|  | 85 | 861.2292 | 37.4208
|  | 86 | 858.2377 | 38.0708
|  | 87 | 834.6181 | 36.2188
|  | 88 | 809.6587 | 36.0826
|  | 89 | 810.4871 | 36.5541
|  | 90 | 827.5921 | 37.1345
|  | 91 | 843.9496 | 36.8321
|  | 92 | 851.5589 | 40.7898
|  | 93 | 909.0951 | 43.2513
|  | 94 | 857.1873 | 42.8374
|  | 95 | 784.6402 | 38.7534
|  | 96 | 677.3418 | 37.2908
|  | 97 | 623.1313 | 33.5618
|  | 98 | 575.8981 | 33.8373
|  | 99 | 552.7566 | 33.4557
|  | 100 | 547.0594 | 31.9493
|  | 101 | 543.6706 | 33.2001
|  | 102 | 563.9186 | 33.6887
|  | 103 | 633.6497 | 33.4576
|  | 104 | 712.9643 | 37.0387
|  | 105 | 780.2948 | 38.1892
|  | 106 | 830.4901 | 35.6639
|  | 107 | 851.1855 | 33.9651
|  | 108 | 860.3611 | 33.0192
|  | 109 | 859.4711 | 32.2347
|  | 110 | 816.8039 | 33.1569
|  | 111 | 775.7505 | 33.0376
|  | 112 | 752.7442 | 31.3354
|  | 113 | 770.394 | 31.7689
|  | 114 | 787.7665 | 33.6253
|  | 115 | 818.3473 | 34.8671
|  | 116 | 836.13 | 37.4846
|  | 117 | 912.5127 | 36.8751
|  | 118 | 897.1524 | 36.0732
|  | 119 | 808.2904 | 34.5551
|  | 120 | 688.2218 | 31.905
|  | 121 | 594.1571 | 31.8324
|  | 122 | 550.7325 | 31.3573
|  | 123 | 532.5248 | 31.1273
|  | 124 | 528.1274 | 30.5701
|  | 125 | 539.4528 | 31.75
|  | 126 | 575.9294 | 30.162
|  | 127 | 658.4811 | 31.924
|  | 128 | 768.7415 | 33.6357
|  | 129 | 831.033 | 33.4875
|  | 130 | 870.0817 | 34.2575
|  | 131 | 878.4215 | 32.4885
|  | 132 | 895.3614 | 31.2337
|  | 133 | 895.1027 | 31.4636
|  | 134 | 895.9226 | 31.8656
|  | 135 | 872.0783 | 33.1342
|  | 136 | 849.2569 | 32.9057
|  | 137 | 836.4384 | 33.2503
|  | 138 | 856.742 | 33.5706
|  | 139 | 863.0045 | 35.3209
|  | 140 | 868.4651 | 32.9592
|  | 141 | 912.3137 | 34.8845
|  | 142 | 888.8451 | 33.4617
|  | 143 | 786.2232 | 32.0603
|  | 144 | 685.713 | 29.9918
|  | 145 | 619.1313 | 30.2378
|  | 146 | 571.8981 | 29.9706
|  | 147 | 548.7566 | 29.3097
|  | 148 | 543.0594 | 28.6881
|  | 149 | 539.6706 | 28.8224
|  | 150 | 559.9186 | 29.1232
|  | 151 | 629.6497 | 29.6969
|  | 152 | 708.9643 | 30.5021
|  | 153 | 776.2948 | 31.1525
|  | 154 | 826.4901 | 30.9894
|  | 155 | 847.1855 | 29.8657
|  | 156 | 856.3611 | 29.4829
|  | 157 | 855.4711 | 28.1857
|  | 158 | 812.8039 | 28.6117
|  | 159 | 771.7505 | 29.36
|  | 160 | 748.7442 | 29.7151
|  | 161 | 766.394 | 30.2638
|  | 162 | 783.7665 | 29.8262
|  | 163 | 814.3473 | 29.1131
|  | 164 | 832.13 | 29.2695
|  | 165 | 908.5127 | 31.341
|  | 166 | 893.1524 | 30.8141
|  | 167 | 804.2904 | 30.8853
|  | 168 | 684.2218 | 28.4212
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 30/05/2022 | 31/05/2022 | 01/06/2022 | 02/06/2022 | 03/06/2022 | 04/06/2022 | 05/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible