## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-06-13
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 18219 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 13/06/2022 | 14/06/2022 | 15/06/2022 | 16/06/2022 | 17/06/2022 | 18/06/2022 | 19/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-06-11
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 244.2698 | -355.6202 | 599.89
|  | 2 | 203.6027 | -350.8768 | 554.4796
|  | 3 | 207.6225 | -326.2884 | 533.9109
|  | 4 | 197.8306 | -324.3261 | 522.1567
|  | 5 | 192.5377 | -341.8008 | 534.3384
|  | 6 | 232.8485 | -331.8623 | 564.7107
|  | 7 | 332.4735 | -307.662 | 640.1355
|  | 8 | 424.7629 | -318.8807 | 743.6436
|  | 9 | 503.2476 | -332.6123 | 835.8598
|  | 10 | 508.9734 | -371.7175 | 880.6908
|  | 11 | 531.8155 | -341.5849 | 873.4003
|  | 12 | 524.8323 | -369.2663 | 894.0986
|  | 13 | 524.8526 | -370.8456 | 895.6982
|  | 14 | 523.8802 | -364.6636 | 888.5439
|  | 15 | 512.4882 | -341.8604 | 854.3485
|  | 16 | 430.8657 | -378.5071 | 809.3728
|  | 17 | 423.5028 | -388.5265 | 812.0293
|  | 18 | 437.0264 | -381.3133 | 818.3397
|  | 19 | 460.5413 | -381.5282 | 842.0695
|  | 20 | 472.5529 | -385.4187 | 857.9716
|  | 21 | 531.6128 | -360.241 | 891.8538
|  | 22 | 520.6511 | -364.4072 | 885.0583
|  | 23 | 406.4834 | -383.9 | 790.3835
|  | 24 | 309.2963 | -380.7175 | 690.0138
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 11.0451 | -53.0876 | -34.2493 | -248.3777 | 19.531 | -91.118
2 | 18.0997 | -65.2854 | -31.6556 | -261.0027 | 33.9575 | -77.9008
3 | 17.6118 | -71.0186 | -5.8055 | -270.2343 | 88.4997 | -119.1046
4 | 27.919 | -77.7657 | -17.805 | -284.2883 | 53.0531 | -31.1374
5 | 23.3866 | -84.4945 | -12.9916 | -294.8489 | 65.4743 | -60.1884
6 | 25.2988 | -85.8044 | -32.5508 | -292.5523 | 29.7347 | -34.6442
7 | 8.092 | -66.8537 | -1.7567 | -271.9374 | 92.6043 | -152.1219
8 | -12.6498 | -74.1416 | 4.1549 | -277.8596 | 132.9001 | -253.3425
9 | -21.1944 | -57.3085 | 4.0396 | -260.9865 | 139.7222 | -285.4966
10 | -9.1214 | -32.3351 | -15.6538 | -261.0317 | 92.271 | -211.8858
11 | -5.2918 | -26.3891 | -22.0405 | -254.6289 | 72.3233 | -193.6431
12 | -3.7696 | -26.57 | -32.4635 | -253.258 | 49.943 | -172.2703
13 | -4.5065 | -26.4593 | -34.2532 | -248.1841 | 49.9081 | -180.6388
14 | -4.2077 | -24.1495 | -44.5173 | -237.9525 | 26.5413 | -154.523
15 | 3.7011 | -41.8896 | -52.6142 | -238.9783 | 5.0884 | -126.6577
16 | 8.4902 | -44.6302 | -58.8345 | -240.7975 | -13.0664 | -105.6165
17 | 21.611 | -46.7683 | -80.088 | -239.5556 | -79.1616 | -42.3444
18 | 16.3869 | -37.8752 | -57.2545 | -258.948 | -24.1382 | -90.7916
19 | 7.4386 | -38.6146 | -23.5577 | -264.7734 | 58.7758 | -205.5146
20 | 2.9355 | -37.0109 | -20.4832 | -261.0252 | 60.1548 | -194.8508
21 | -4.2817 | -24.5944 | -9.7635 | -237.7719 | 57.1818 | -209.1892
22 | -13.1365 | -25.0351 | 10.7672 | -246.5584 | 115.5706 | -264.5495
23 | -16.4885 | -46.8009 | 8.9825 | -260.4575 | 107.8641 | -248.1209
24 | 5.1372 | -57.5689 | -5.8073 | -284.6173 | 78.6428 | -213.4521
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-06-13
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 162.81
|  |  | 01:00 - 02:00 | 205.96
|  |  | 02:00 - 03:00 | 205.96
|  |  | 03:00 - 04:00 | 197.96
|  |  | 04:00 - 05:00 | 195.96
|  |  | 05:00 - 06:00 | 205.7285
|  |  | 06:00 - 07:00 | 205.7137
|  |  | 07:00 - 08:00 | 400.6835
|  |  | 08:00 - 09:00 | 495.1589
|  |  | 09:00 - 10:00 | 541.81
|  |  | 10:00 - 11:00 | 568.8501
|  |  | 11:00 - 12:00 | 577.6389
|  |  | 12:00 - 13:00 | 459.0839
|  |  | 13:00 - 14:00 | 471.948
|  |  | 14:00 - 15:00 | 479.0535
|  |  | 15:00 - 16:00 | 541.1628
|  |  | 16:00 - 17:00 | 529.1831
|  |  | 17:00 - 18:00 | 544.2929
|  |  | 18:00 - 19:00 | 543.4225
|  |  | 19:00 - 20:00 | 535.5383
|  |  | 20:00 - 21:00 | 585.5282
|  |  | 21:00 - 22:00 | 554.5336
|  |  | 22:00 - 23:00 | 443.0339
|  |  | 23:00 - 00:00 | 315.4089
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.17173 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0.35718 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 61.8359 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 58.4017 | 0 | 0
9 | 0 | 0 | 2.5939 | 0 | 0 | 129.0196 | 0 | 0
10 | 0 | 0 | 100.6414 | 0 | 0 | 122.8022 | 0 | 0
11 | 0 | 0 | 99.7563 | 0 | 0 | 115.2943 | 0 | 0
12 | 0 | 0 | 99.8093 | 0 | 0 | 122.3079 | 0 | 0
13 | 0 | 0 | 99.7499 | 0 | 0 | 131.0556 | 0 | 0
14 | 0 | 0 | 99.7624 | 0 | 0 | 118.0324 | 0 | 0
15 | 0 | 0 | 1.261 | 0 | 0 | 130.2093 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 113.142 | 0 | 0
17 | 0 | 0 | 0 | 1.2631 | 0 | 128.2135 | 0 | 0
18 | 0 | 0 | 0 | 90.0641 | 0 | 118.637 | 0 | 0
19 | 0 | 0 | 0 | 101.9067 | 0 | 125.4381 | 0 | 0
20 | 0 | 0 | 0 | 99.361 | 0 | 110.9137 | 0 | 0
21 | 0 | 0 | 0 | 100.316 | 0 | 111.023 | 0 | 0
22 | 0 | 0 | 0 | 99.3194 | 0 | 114.4573 | 0 | 0
23 | 0 | 0 | 0 | 0.63962 | 0 | 123.1847 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 2.7885 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 62.1931 | 0 | 503.5743 | 492.87 | 0.17173 | 1874.9205 | 0 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 609.1149 | 24.5382
|  | 2 | 558.3082 | 24.4838
|  | 3 | 540.0308 | 24.3474
|  | 4 | 505.7085 | 24.0411
|  | 5 | 526.0893 | 23.1061
|  | 6 | 550.6021 | 23.4725
|  | 7 | 621.7239 | 25.718
|  | 8 | 703.4605 | 28.2635
|  | 9 | 778.4509 | 29.4143
|  | 10 | 818.2807 | 28.7136
|  | 11 | 829.2668 | 28.4034
|  | 12 | 843.5808 | 28.1389
|  | 13 | 855.0108 | 24.1417
|  | 14 | 845.6508 | 25.1026
|  | 15 | 799.4053 | 26.9311
|  | 16 | 772.9248 | 27.0302
|  | 17 | 798.372 | 27.9239
|  | 18 | 812.3586 | 27.738
|  | 19 | 843.5635 | 26.8482
|  | 20 | 859.3195 | 28.5354
|  | 21 | 908.3058 | 29.3973
|  | 22 | 903.5636 | 29.0365
|  | 23 | 813.4542 | 27.6545
|  | 24 | 703.2515 | 26.0513
|  | 25 | 601 | 25.0336
|  | 26 | 545.4796 | 25.5147
|  | 27 | 524.9109 | 25.7525
|  | 28 | 513.1567 | 26.1224
|  | 29 | 525.3384 | 25.7517
|  | 30 | 555.7107 | 26.4384
|  | 31 | 631.1355 | 23.5593
|  | 32 | 734.6436 | 23.9727
|  | 33 | 826.8598 | 25.2885
|  | 34 | 871.6908 | 25.7271
|  | 35 | 864.4003 | 26.1125
|  | 36 | 885.0986 | 25.5614
|  | 37 | 886.6982 | 25.3273
|  | 38 | 879.5439 | 25.3443
|  | 39 | 845.3485 | 25.0058
|  | 40 | 800.3728 | 24.6654
|  | 41 | 803.0293 | 20.7687
|  | 42 | 809.3397 | 24.5368
|  | 43 | 833.0695 | 26.8105
|  | 44 | 848.9716 | 24.3072
|  | 45 | 882.8538 | 26.2993
|  | 46 | 876.0583 | 24.1744
|  | 47 | 781.3835 | 26.1953
|  | 48 | 681.0138 | 27.3163
|  | 49 | 594.3126 | 27.0103
|  | 50 | 543.5303 | 25.5809
|  | 51 | 524.1213 | 25.7616
|  | 52 | 513.2503 | 25.8435
|  | 53 | 519.63 | 25.8328
|  | 54 | 546.5811 | 25.4417
|  | 55 | 639.1309 | 22.7244
|  | 56 | 762.1966 | 23.1565
|  | 57 | 841.3208 | 25.0577
|  | 58 | 864.3692 | 25.4743
|  | 59 | 876.7774 | 23.6397
|  | 60 | 899.4926 | 24.1991
|  | 61 | 874.4707 | 23.2333
|  | 62 | 842.4811 | 22.8326
|  | 63 | 824.1918 | 22.8283
|  | 64 | 775.6154 | 23.8859
|  | 65 | 772.1575 | 24.1046
|  | 66 | 787.8021 | 24.9494
|  | 67 | 802.5337 | 27.5869
|  | 68 | 825.396 | 26.6247
|  | 69 | 871.9062 | 25.6278
|  | 70 | 841.0998 | 23.5698
|  | 71 | 748.0202 | 21.4989
|  | 72 | 643.1383 | 24.0804
|  | 73 | 601 | 19.3447
|  | 74 | 548.4796 | 20.7438
|  | 75 | 527.9109 | 20.4208
|  | 76 | 516.1567 | 20.0972
|  | 77 | 528.3384 | 19.7676
|  | 78 | 558.7107 | 17.7139
|  | 79 | 634.1355 | 20.2111
|  | 80 | 737.6436 | 22.9872
|  | 81 | 829.8598 | 25.0085
|  | 82 | 874.6908 | 24.2813
|  | 83 | 867.4003 | 24.9023
|  | 84 | 888.0986 | 23.3272
|  | 85 | 889.6982 | 22.0365
|  | 86 | 882.5439 | 22.8482
|  | 87 | 848.3485 | 22.5536
|  | 88 | 803.3728 | 21.3909
|  | 89 | 806.0293 | 19.9115
|  | 90 | 812.3397 | 21.0078
|  | 91 | 836.0695 | 20.2637
|  | 92 | 851.9716 | 21.2971
|  | 93 | 885.8538 | 22.3419
|  | 94 | 879.0583 | 23.5404
|  | 95 | 784.3835 | 20.7307
|  | 96 | 684.0138 | 19.1877
|  | 97 | 609.1149 | 19.3552
|  | 98 | 562.3082 | 19.5175
|  | 99 | 544.0308 | 18.9573
|  | 100 | 509.7085 | 19.2647
|  | 101 | 530.0893 | 19.8373
|  | 102 | 554.6021 | 19.206
|  | 103 | 625.7239 | 19.8568
|  | 104 | 707.4605 | 21.7815
|  | 105 | 782.4509 | 23.2143
|  | 106 | 822.2807 | 23.2736
|  | 107 | 833.2668 | 23.7537
|  | 108 | 847.5808 | 23.0925
|  | 109 | 859.0108 | 20.9827
|  | 110 | 849.6508 | 21.4481
|  | 111 | 803.4053 | 21.3941
|  | 112 | 776.9248 | 21.5862
|  | 113 | 802.372 | 21.1661
|  | 114 | 816.3586 | 19.6644
|  | 115 | 847.5635 | 24.2109
|  | 116 | 863.3195 | 24.6255
|  | 117 | 912.3058 | 25.2452
|  | 118 | 907.5636 | 24.0808
|  | 119 | 817.4542 | 23.0402
|  | 120 | 707.2515 | 22.5297
|  | 121 | 612.1149 | 23.161
|  | 122 | 561.3082 | 23.4141
|  | 123 | 543.0308 | 22.544
|  | 124 | 508.7085 | 22.9403
|  | 125 | 529.0893 | 22.6756
|  | 126 | 553.6021 | 22.5207
|  | 127 | 624.7239 | 20.2049
|  | 128 | 706.4605 | 21.7955
|  | 129 | 781.4509 | 22.8858
|  | 130 | 821.2807 | 22.3271
|  | 131 | 832.2668 | 21.6637
|  | 132 | 846.5808 | 22.2939
|  | 133 | 858.0108 | 21.9215
|  | 134 | 848.6508 | 21.6981
|  | 135 | 802.4053 | 21.5598
|  | 136 | 775.9248 | 20.1689
|  | 137 | 801.372 | 19.7446
|  | 138 | 815.3586 | 20.3034
|  | 139 | 846.5635 | 21.3663
|  | 140 | 862.3195 | 20.0695
|  | 141 | 911.3058 | 21.1341
|  | 142 | 906.5636 | 21.5778
|  | 143 | 816.4542 | 20.6978
|  | 144 | 706.2515 | 20.0275
|  | 145 | 601 | 19.8427
|  | 146 | 552.4796 | 19.3108
|  | 147 | 531.9109 | 19.0596
|  | 148 | 520.1567 | 19.4784
|  | 149 | 532.3384 | 19.731
|  | 150 | 562.7107 | 18.1843
|  | 151 | 638.1355 | 20.8485
|  | 152 | 741.6436 | 21.6034
|  | 153 | 833.8598 | 25.7329
|  | 154 | 878.6908 | 26.5481
|  | 155 | 871.4003 | 28.5746
|  | 156 | 892.0986 | 30.5638
|  | 157 | 893.6982 | 34.4642
|  | 158 | 886.5439 | 33.7364
|  | 159 | 852.3485 | 34.4741
|  | 160 | 807.3728 | 34.0698
|  | 161 | 810.0293 | 26.349
|  | 162 | 816.3397 | 24.1429
|  | 163 | 840.0695 | 21.335
|  | 164 | 855.9716 | 19.4335
|  | 165 | 889.8538 | 19.9859
|  | 166 | 883.0583 | 20.7727
|  | 167 | 788.3835 | 18.293
|  | 168 | 688.0138 | 16.8111
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 13/06/2022 | 14/06/2022 | 15/06/2022 | 16/06/2022 | 17/06/2022 | 18/06/2022 | 19/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-06-13
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 18219 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 13/06/2022 | 14/06/2022 | 15/06/2022 | 16/06/2022 | 17/06/2022 | 18/06/2022 | 19/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-06-11
|  | Hour | Production | Exchange | Consumption
|  | 1 | 244.2698 | -355.6202 | 599.89
|  | 2 | 203.6027 | -350.8768 | 554.4796
|  | 3 | 207.6225 | -326.2884 | 533.9109
|  | 4 | 197.8306 | -324.3261 | 522.1567
|  | 5 | 192.5377 | -341.8008 | 534.3384
|  | 6 | 232.8485 | -331.8623 | 564.7107
|  | 7 | 332.4735 | -307.662 | 640.1355
|  | 8 | 424.7629 | -318.8807 | 743.6436
|  | 9 | 503.2476 | -332.6123 | 835.8598
|  | 10 | 508.9734 | -371.7175 | 880.6908
|  | 11 | 531.8155 | -341.5849 | 873.4003
|  | 12 | 524.8323 | -369.2663 | 894.0986
|  | 13 | 524.8526 | -370.8456 | 895.6982
|  | 14 | 523.8802 | -364.6636 | 888.5439
|  | 15 | 512.4882 | -341.8604 | 854.3485
|  | 16 | 430.8657 | -378.5071 | 809.3728
|  | 17 | 423.5028 | -388.5265 | 812.0293
|  | 18 | 437.0264 | -381.3133 | 818.3397
|  | 19 | 460.5413 | -381.5282 | 842.0695
|  | 20 | 472.5529 | -385.4187 | 857.9716
|  | 21 | 531.6128 | -360.241 | 891.8538
|  | 22 | 520.6511 | -364.4072 | 885.0583
|  | 23 | 406.4834 | -383.9 | 790.3835
|  | 24 | 309.2963 | -380.7175 | 690.0138
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 11.0451 | -65.2854 | -31.6556 | -261.0027 | 33.9575 | -77.9008
2 | 18.0997 | -71.0186 | -5.8055 | -270.2343 | 88.4997 | -119.1046
3 | 17.6118 | -77.7657 | -17.805 | -284.2883 | 53.0531 | -31.1374
4 | 27.919 | -84.4945 | -12.9916 | -294.8489 | 65.4743 | -60.1884
5 | 23.3866 | -85.8044 | -32.5508 | -292.5523 | 29.7347 | -34.6442
6 | 25.2988 | -66.8537 | -1.7567 | -271.9374 | 92.6043 | -152.1219
7 | 8.092 | -74.1416 | 4.1549 | -277.8596 | 132.9001 | -253.3425
8 | -12.6498 | -57.3085 | 4.0396 | -260.9865 | 139.7222 | -285.4966
9 | -21.1944 | -32.3351 | -15.6538 | -261.0317 | 92.271 | -211.8858
10 | -9.1214 | -26.3891 | -22.0405 | -254.6289 | 72.3233 | -193.6431
11 | -5.2918 | -26.57 | -32.4635 | -253.258 | 49.943 | -172.2703
12 | -3.7696 | -26.4593 | -34.2532 | -248.1841 | 49.9081 | -180.6388
13 | -4.5065 | -24.1495 | -44.5173 | -237.9525 | 26.5413 | -154.523
14 | -4.2077 | -41.8896 | -52.6142 | -238.9783 | 5.0884 | -126.6577
15 | 3.7011 | -44.6302 | -58.8345 | -240.7975 | -13.0664 | -105.6165
16 | 8.4902 | -46.7683 | -80.088 | -239.5556 | -79.1616 | -42.3444
17 | 21.611 | -37.8752 | -57.2545 | -258.948 | -24.1382 | -90.7916
18 | 16.3869 | -38.6146 | -23.5577 | -264.7734 | 58.7758 | -205.5146
19 | 7.4386 | -37.0109 | -20.4832 | -261.0252 | 60.1548 | -194.8508
20 | 2.9355 | -24.5944 | -9.7635 | -237.7719 | 57.1818 | -209.1892
21 | -4.2817 | -25.0351 | 10.7672 | -246.5584 | 115.5706 | -264.5495
22 | -13.1365 | -46.8009 | 8.9825 | -260.4575 | 107.8641 | -248.1209
23 | -16.4885 | -57.5689 | -5.8073 | -284.6173 | 78.6428 | -213.4521
24 | 5.1372 | #REF! | #REF! | #REF! | #REF! | #REF!
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-06-13
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 162.81
|  |  | 01:00 - 02:00 | 205.96
|  |  | 02:00 - 03:00 | 205.96
|  |  | 03:00 - 04:00 | 197.96
|  |  | 04:00 - 05:00 | 195.96
|  |  | 05:00 - 06:00 | 205.7285
|  |  | 06:00 - 07:00 | 205.7137
|  |  | 07:00 - 08:00 | 400.6835
|  |  | 08:00 - 09:00 | 495.1589
|  |  | 09:00 - 10:00 | 541.81
|  |  | 10:00 - 11:00 | 568.8501
|  |  | 11:00 - 12:00 | 577.6389
|  |  | 12:00 - 13:00 | 459.0839
|  |  | 13:00 - 14:00 | 471.948
|  |  | 14:00 - 15:00 | 479.0535
|  |  | 15:00 - 16:00 | 541.1628
|  |  | 16:00 - 17:00 | 529.1831
|  |  | 17:00 - 18:00 | 544.2929
|  |  | 18:00 - 19:00 | 543.4225
|  |  | 19:00 - 20:00 | 535.5383
|  |  | 20:00 - 21:00 | 585.5282
|  |  | 21:00 - 22:00 | 554.5336
|  |  | 22:00 - 23:00 | 443.0339
|  |  | 23:00 - 00:00 | 315.4089
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.17173 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0.35718 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 61.8359 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 58.4017 | 0 | 0
9 | 0 | 0 | 2.5939 | 0 | 0 | 129.0196 | 0 | 0
10 | 0 | 0 | 100.6414 | 0 | 0 | 122.8022 | 0 | 0
11 | 0 | 0 | 99.7563 | 0 | 0 | 115.2943 | 0 | 0
12 | 0 | 0 | 99.8093 | 0 | 0 | 122.3079 | 0 | 0
13 | 0 | 0 | 99.7499 | 0 | 0 | 131.0556 | 0 | 0
14 | 0 | 0 | 99.7624 | 0 | 0 | 118.0324 | 0 | 0
15 | 0 | 0 | 1.261 | 0 | 0 | 130.2093 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 113.142 | 0 | 0
17 | 0 | 0 | 0 | 1.2631 | 0 | 128.2135 | 0 | 0
18 | 0 | 0 | 0 | 90.0641 | 0 | 118.637 | 0 | 0
19 | 0 | 0 | 0 | 101.9067 | 0 | 125.4381 | 0 | 0
20 | 0 | 0 | 0 | 99.361 | 0 | 110.9137 | 0 | 0
21 | 0 | 0 | 0 | 100.316 | 0 | 111.023 | 0 | 0
22 | 0 | 0 | 0 | 99.3194 | 0 | 114.4573 | 0 | 0
23 | 0 | 0 | 0 | 0.63962 | 0 | 123.1847 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 2.7885 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 62.1931 | 0 | 503.5743 | 492.87 | 0 | 1874.9205 | 0 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 609.1149 | 24.5382
|  | 2 | 558.3082 | 24.4838
|  | 3 | 540.0308 | 24.3474
|  | 4 | 505.7085 | 24.0411
|  | 5 | 526.0893 | 23.1061
|  | 6 | 550.6021 | 23.4725
|  | 7 | 621.7239 | 25.718
|  | 8 | 703.4605 | 28.2635
|  | 9 | 778.4509 | 29.4143
|  | 10 | 818.2807 | 28.7136
|  | 11 | 829.2668 | 28.4034
|  | 12 | 843.5808 | 28.1389
|  | 13 | 855.0108 | 24.1417
|  | 14 | 845.6508 | 25.1026
|  | 15 | 799.4053 | 26.9311
|  | 16 | 772.9248 | 27.0302
|  | 17 | 798.372 | 27.9239
|  | 18 | 812.3586 | 27.738
|  | 19 | 843.5635 | 26.8482
|  | 20 | 859.3195 | 28.5354
|  | 21 | 908.3058 | 29.3973
|  | 22 | 903.5636 | 29.0365
|  | 23 | 813.4542 | 27.6545
|  | 24 | 703.2515 | 26.0513
|  | 25 | 601 | 25.0336
|  | 26 | 545.4796 | 25.5147
|  | 27 | 524.9109 | 25.7525
|  | 28 | 513.1567 | 26.1224
|  | 29 | 525.3384 | 25.7517
|  | 30 | 555.7107 | 26.4384
|  | 31 | 631.1355 | 23.5593
|  | 32 | 734.6436 | 23.9727
|  | 33 | 826.8598 | 25.2885
|  | 34 | 871.6908 | 25.7271
|  | 35 | 864.4003 | 26.1125
|  | 36 | 885.0986 | 25.5614
|  | 37 | 886.6982 | 25.3273
|  | 38 | 879.5439 | 25.3443
|  | 39 | 845.3485 | 25.0058
|  | 40 | 800.3728 | 24.6654
|  | 41 | 803.0293 | 20.7687
|  | 42 | 809.3397 | 24.5368
|  | 43 | 833.0695 | 26.8105
|  | 44 | 848.9716 | 24.3072
|  | 45 | 882.8538 | 26.2993
|  | 46 | 876.0583 | 24.1744
|  | 47 | 781.3835 | 26.1953
|  | 48 | 681.0138 | 27.3163
|  | 49 | 594.3126 | 27.0103
|  | 50 | 543.5303 | 25.5809
|  | 51 | 524.1213 | 25.7616
|  | 52 | 513.2503 | 25.8435
|  | 53 | 519.63 | 25.8328
|  | 54 | 546.5811 | 25.4417
|  | 55 | 639.1309 | 22.7244
|  | 56 | 762.1966 | 23.1565
|  | 57 | 841.3208 | 25.0577
|  | 58 | 864.3692 | 25.4743
|  | 59 | 876.7774 | 23.6397
|  | 60 | 899.4926 | 24.1991
|  | 61 | 874.4707 | 23.2333
|  | 62 | 842.4811 | 22.8326
|  | 63 | 824.1918 | 22.8283
|  | 64 | 775.6154 | 23.8859
|  | 65 | 772.1575 | 24.1046
|  | 66 | 787.8021 | 24.9494
|  | 67 | 802.5337 | 27.5869
|  | 68 | 825.396 | 26.6247
|  | 69 | 871.9062 | 25.6278
|  | 70 | 841.0998 | 23.5698
|  | 71 | 748.0202 | 21.4989
|  | 72 | 643.1383 | 24.0804
|  | 73 | 601 | 19.3447
|  | 74 | 548.4796 | 20.7438
|  | 75 | 527.9109 | 20.4208
|  | 76 | 516.1567 | 20.0972
|  | 77 | 528.3384 | 19.7676
|  | 78 | 558.7107 | 17.7139
|  | 79 | 634.1355 | 20.2111
|  | 80 | 737.6436 | 22.9872
|  | 81 | 829.8598 | 25.0085
|  | 82 | 874.6908 | 24.2813
|  | 83 | 867.4003 | 24.9023
|  | 84 | 888.0986 | 23.3272
|  | 85 | 889.6982 | 22.0365
|  | 86 | 882.5439 | 22.8482
|  | 87 | 848.3485 | 22.5536
|  | 88 | 803.3728 | 21.3909
|  | 89 | 806.0293 | 19.9115
|  | 90 | 812.3397 | 21.0078
|  | 91 | 836.0695 | 20.2637
|  | 92 | 851.9716 | 21.2971
|  | 93 | 885.8538 | 22.3419
|  | 94 | 879.0583 | 23.5404
|  | 95 | 784.3835 | 20.7307
|  | 96 | 684.0138 | 19.1877
|  | 97 | 609.1149 | 19.3552
|  | 98 | 562.3082 | 19.5175
|  | 99 | 544.0308 | 18.9573
|  | 100 | 509.7085 | 19.2647
|  | 101 | 530.0893 | 19.8373
|  | 102 | 554.6021 | 19.206
|  | 103 | 625.7239 | 19.8568
|  | 104 | 707.4605 | 21.7815
|  | 105 | 782.4509 | 23.2143
|  | 106 | 822.2807 | 23.2736
|  | 107 | 833.2668 | 23.7537
|  | 108 | 847.5808 | 23.0925
|  | 109 | 859.0108 | 20.9827
|  | 110 | 849.6508 | 21.4481
|  | 111 | 803.4053 | 21.3941
|  | 112 | 776.9248 | 21.5862
|  | 113 | 802.372 | 21.1661
|  | 114 | 816.3586 | 19.6644
|  | 115 | 847.5635 | 24.2109
|  | 116 | 863.3195 | 24.6255
|  | 117 | 912.3058 | 25.2452
|  | 118 | 907.5636 | 24.0808
|  | 119 | 817.4542 | 23.0402
|  | 120 | 707.2515 | 22.5297
|  | 121 | 612.1149 | 23.161
|  | 122 | 561.3082 | 23.4141
|  | 123 | 543.0308 | 22.544
|  | 124 | 508.7085 | 22.9403
|  | 125 | 529.0893 | 22.6756
|  | 126 | 553.6021 | 22.5207
|  | 127 | 624.7239 | 20.2049
|  | 128 | 706.4605 | 21.7955
|  | 129 | 781.4509 | 22.8858
|  | 130 | 821.2807 | 22.3271
|  | 131 | 832.2668 | 21.6637
|  | 132 | 846.5808 | 22.2939
|  | 133 | 858.0108 | 21.9215
|  | 134 | 848.6508 | 21.6981
|  | 135 | 802.4053 | 21.5598
|  | 136 | 775.9248 | 20.1689
|  | 137 | 801.372 | 19.7446
|  | 138 | 815.3586 | 20.3034
|  | 139 | 846.5635 | 21.3663
|  | 140 | 862.3195 | 20.0695
|  | 141 | 911.3058 | 21.1341
|  | 142 | 906.5636 | 21.5778
|  | 143 | 816.4542 | 20.6978
|  | 144 | 706.2515 | 20.0275
|  | 145 | 601 | 19.8427
|  | 146 | 552.4796 | 19.3108
|  | 147 | 531.9109 | 19.0596
|  | 148 | 520.1567 | 19.4784
|  | 149 | 532.3384 | 19.731
|  | 150 | 562.7107 | 18.1843
|  | 151 | 638.1355 | 20.8485
|  | 152 | 741.6436 | 21.6034
|  | 153 | 833.8598 | 25.7329
|  | 154 | 878.6908 | 26.5481
|  | 155 | 871.4003 | 28.5746
|  | 156 | 892.0986 | 30.5638
|  | 157 | 893.6982 | 34.4642
|  | 158 | 886.5439 | 33.7364
|  | 159 | 852.3485 | 34.4741
|  | 160 | 807.3728 | 34.0698
|  | 161 | 810.0293 | 26.349
|  | 162 | 816.3397 | 24.1429
|  | 163 | 840.0695 | 21.335
|  | 164 | 855.9716 | 19.4335
|  | 165 | 889.8538 | 19.9859
|  | 166 | 883.0583 | 20.7727
|  | 167 | 788.3835 | 18.293
|  | 168 | 688.0138 | 16.8111
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 13/06/2022 | 14/06/2022 | 15/06/2022 | 16/06/2022 | 17/06/2022 | 18/06/2022 | 19/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible