## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-06-21
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19064 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 20/06/2022 | 21/06/2022 | 22/06/2022 | 23/06/2022 | 24/06/2022 | 25/06/2022 | 26/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-06-19
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 197.1593 | -451.5887 | 648.7479
|  | 2 | 150.46 | -450.0389 | 600.4989
|  | 3 | 146.622 | -430.079 | 576.7009
|  | 4 | 156.4914 | -409.4814 | 565.9728
|  | 5 | 161.6118 | -406.5119 | 568.1236
|  | 6 | 122.8432 | -469.926 | 592.7692
|  | 7 | 107.4112 | -554.119 | 661.5302
|  | 8 | 172.528 | -576.2301 | 748.7581
|  | 9 | 311.8232 | -506.6806 | 818.5039
|  | 10 | 405.166 | -446.0168 | 851.1829
|  | 11 | 315.0729 | -562.6723 | 877.7452
|  | 12 | 316.7619 | -566.9166 | 883.6784
|  | 13 | 169.2987 | -715.9705 | 885.2691
|  | 14 | 176.104 | -707.6946 | 883.7986
|  | 15 | 115.5257 | -721.9749 | 837.5005
|  | 16 | 195.6446 | -619.764 | 815.4086
|  | 17 | 335.9208 | -502.0774 | 837.9982
|  | 18 | 373.8461 | -502.5817 | 876.4278
|  | 19 | 472.4849 | -435.8287 | 908.3135
|  | 20 | 490.8668 | -444.4337 | 935.3005
|  | 21 | 536.2416 | -436.8305 | 973.0722
|  | 22 | 533.7091 | -431.8299 | 965.539
|  | 23 | 429.4894 | -442.6887 | 872.1781
|  | 24 | 239.7114 | -509.4487 | 749.1601
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -36.1852 | -21.6636 | 88.4187 | -197.5293 | 317.8802 | -447.8849
2 | -35.7086 | -51.5463 | 83.0085 | -208.3157 | 313.7057 | -441.155
3 | -32.5673 | -65.0789 | 80.7366 | -227.0532 | 300.1367 | -424.8709
4 | -31.2314 | -65.4337 | 81.3309 | -224.4437 | 301.8275 | -424.3986
5 | -30.7686 | -64.5928 | 74.2325 | -220.5633 | 288.4143 | -416.3295
6 | -33.683 | -62.7613 | 72.8533 | -213.2767 | 291.3201 | -433.5452
7 | -40.2197 | -24.4475 | 77.0497 | -172.4535 | 290.7798 | -422.1175
8 | -36.5033 | 18.3341 | 79.2808 | -107.935 | 271.617 | -354.8005
9 | -34.5696 | 25.1373 | 108.4279 | -180.1498 | 362.88 | -376.3695
10 | -37.7323 | 17.8636 | 144.6432 | -232.1335 | 454.2156 | -441.7614
11 | -43.721 | 24.7207 | 156.7183 | -222.6051 | 475.7679 | -472.1362
12 | -51.3741 | 11.7224 | 150.3685 | -249.6098 | 472.5961 | -504.5161
13 | -50.6689 | 6.6301 | 134.2457 | -246.8971 | 443.4851 | -495.8973
14 | -54.2259 | 3.7639 | 154.0402 | -259.2576 | 487.2403 | -532.184
15 | -54.3289 | 6.3746 | 149.4936 | -252.7354 | 481.4074 | -526.227
16 | -56.0981 | 2.197 | 151.4915 | -263.0703 | 492.2051 | -539.6661
17 | -55.6651 | 2.2233 | 141.7536 | -259.5447 | 471.7252 | -514.4329
18 | -47.7777 | 3.3502 | 125.0631 | -251.9097 | 431.1955 | -472.9555
19 | -39.8595 | 19.3417 | 117.5051 | -188.6815 | 383.9754 | -469.8873
20 | -37.1132 | 54.5771 | 109.9344 | -97.7841 | 317.9071 | -368.1687
21 | -39.4228 | 52.7782 | 108.0713 | -100.8 | 310.0097 | -370.9685
22 | -40.1418 | 51.3107 | 117.9667 | -107.6544 | 328.229 | -398.5435
23 | -39.1543 | 36.0678 | 109.5225 | -134.8881 | 340.2067 | -423.0361
24 | -33.6581 | 5.2924 | 82.2602 | -169.6182 | 291.9813 | -380.6492
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-06-21
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 348.049
|  |  | 01:00 - 02:00 | 244.549
|  |  | 02:00 - 03:00 | 193.309
|  |  | 03:00 - 04:00 | 181.1937
|  |  | 04:00 - 05:00 | 182.2138
|  |  | 05:00 - 06:00 | 208.2483
|  |  | 06:00 - 07:00 | 353.6581
|  |  | 07:00 - 08:00 | 546.4782
|  |  | 08:00 - 09:00 | 668.1284
|  |  | 09:00 - 10:00 | 717.333
|  |  | 10:00 - 11:00 | 736.4031
|  |  | 11:00 - 12:00 | 753.468
|  |  | 12:00 - 13:00 | 744.4833
|  |  | 13:00 - 14:00 | 757.4948
|  |  | 14:00 - 15:00 | 744.4533
|  |  | 15:00 - 16:00 | 732.4132
|  |  | 16:00 - 17:00 | 716.3431
|  |  | 17:00 - 18:00 | 826.3531
|  |  | 18:00 - 19:00 | 987.5034
|  |  | 19:00 - 20:00 | 985.4534
|  |  | 20:00 - 21:00 | 1022.5532
|  |  | 21:00 - 22:00 | 1021.6635
|  |  | 22:00 - 23:00 | 806.1636
|  |  | 23:00 - 00:00 | 578.5689
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 96.809 | 0 | 118.9829 | 0 | 0
2 | 0 | 0 | 0 | 0.19704 | 0 | 115.951 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0.56912 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1.1345 | 0 | 0 | 0 | 0 | 0 | 0 | 46.6863
7 | 99.2208 | 0 | 0 | 0 | 3.1589 | 0 | 0 | 94.8395
8 | 98.4016 | 0 | 2.0501 | 0 | 127.0202 | 0 | 0 | 133.706
9 | 99.7359 | 0 | 98.4217 | 0 | 138.847 | 0 | 0 | 118.9627
10 | 99.7466 | 0 | 99.757 | 0 | 135.8229 | 0 | 0 | 118.8928
11 | 99.7021 | 0 | 99.7769 | 0 | 131.8961 | 0 | 0 | 118.8978
12 | 99.6915 | 0 | 99.7762 | 0 | 142.7435 | 0 | 0 | 118.8882
13 | 99.7009 | 0 | 99.7802 | 0 | 138.8182 | 0 | 0 | 118.8889
14 | 99.7227 | 0 | 99.7641 | 0 | 137.8336 | 0 | 0 | 118.9024
15 | 99.6943 | 0 | 99.819 | 0 | 139.8028 | 0 | 0 | 118.9031
16 | 99.7121 | 0 | 99.8022 | 0 | 136.8316 | 0 | 0 | 107.2204
17 | 99.6955 | 0 | 99.7922 | 0 | 109.0385 | 0 | 0 | 127.1834
18 | 99.7163 | 0 | 99.7113 | 0 | 115.0796 | 0 | 0 | 134.9919
19 | 99.6825 | 0 | 99.7925 | 0 | 123.6136 | 0 | 0 | 131.1084
20 | 99.6948 | 0 | 99.784 | 0 | 118.207 | 0 | 0 | 138.5404
21 | 99.6747 | 0 | 99.7527 | 0 | 122.0202 | 0 | 0 | 116.5074
22 | 99.6633 | 0 | 99.7598 | 0 | 121.0533 | 0 | 0 | 123.3507
23 | 99.664 | 0 | 99.7421 | 0 | 133.888 | 0 | 0 | 109.3341
24 | 0.39976 | 0 | 99.7028 | 0 | 132.9283 | 0 | 0 | 116.1515
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1694.6539 | 0 | 1596.9849 | 97.006 | 2208.6033 | 235.5031 | 0 | 2211.956
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 603.4534 | 16.2503
|  | 2 | 553.4026 | 16.2473
|  | 3 | 531.4159 | 16.291
|  | 4 | 517.5466 | 16.6545
|  | 5 | 525.6676 | 15.7733
|  | 6 | 560.1275 | 15.1818
|  | 7 | 695.0774 | 17.3247
|  | 8 | 820.0859 | 18.3138
|  | 9 | 894.3142 | 21.0202
|  | 10 | 926.9174 | 21.1277
|  | 11 | 937.9505 | 21.6891
|  | 12 | 950.4059 | 22.5184
|  | 13 | 945.443 | 21.1235
|  | 14 | 946.4069 | 23.2289
|  | 15 | 935.0378 | 23.1148
|  | 16 | 917.5138 | 21.85
|  | 17 | 909.6545 | 21.0928
|  | 18 | 927.1806 | 22.0599
|  | 19 | 932.3407 | 21.9716
|  | 20 | 924.9156 | 20.5534
|  | 21 | 967.3288 | 21.1692
|  | 22 | 963.5588 | 20.9341
|  | 23 | 862.1297 | 18.6423
|  | 24 | 739.2426 | 16.0067
|  | 25 | 596.1411 | 15.7154
|  | 26 | 542.3994 | 15.8816
|  | 27 | 520.6691 | 16.5216
|  | 28 | 511.7235 | 15.1795
|  | 29 | 519.0547 | 15.0772
|  | 30 | 552.9896 | 16.064
|  | 31 | 691.456 | 15.8615
|  | 32 | 823.4157 | 17.3686
|  | 33 | 898.8834 | 18.3095
|  | 34 | 921.1947 | 18.8205
|  | 35 | 928.7856 | 18.5353
|  | 36 | 946.1427 | 18.4533
|  | 37 | 949.5502 | 18.1971
|  | 38 | 951.0075 | 18.0237
|  | 39 | 943.3651 | 16.6984
|  | 40 | 921.6511 | 16.2728
|  | 41 | 916.3209 | 16.3922
|  | 42 | 926.0774 | 17.459
|  | 43 | 914.0618 | 19.7025
|  | 44 | 894.0067 | 19.8745
|  | 45 | 927.1241 | 19.6451
|  | 46 | 932.7181 | 19.6566
|  | 47 | 821.4649 | 17.2318
|  | 48 | 695.6323 | 16.7006
|  | 49 | 593.7602 | 16.7574
|  | 50 | 539.7074 | 16.3991
|  | 51 | 513.626 | 16.1439
|  | 52 | 503.3911 | 15.7848
|  | 53 | 506.4638 | 16.0273
|  | 54 | 541.1837 | 16.106
|  | 55 | 683.1002 | 16.1685
|  | 56 | 814.8619 | 16.7101
|  | 57 | 896.2182 | 18.781
|  | 58 | 898.1313 | 18.3736
|  | 59 | 903.5699 | 17.4926
|  | 60 | 924.401 | 17.5292
|  | 61 | 920.837 | 17.4659
|  | 62 | 924.4671 | 16.2085
|  | 63 | 909.5464 | 16.2863
|  | 64 | 905.6934 | 16.2153
|  | 65 | 898.7638 | 16.5653
|  | 66 | 909.9115 | 18.1934
|  | 67 | 901.3447 | 18.146
|  | 68 | 897.8985 | 19.711
|  | 69 | 926.9651 | 21.6159
|  | 70 | 923.7941 | 21.9292
|  | 71 | 822.682 | 19.9808
|  | 72 | 699.1228 | 17.4158
|  | 73 | 618.5898 | 17.6129
|  | 74 | 562.8829 | 16.7259
|  | 75 | 528.2397 | 16.9164
|  | 76 | 515.6468 | 16.9041
|  | 77 | 517.8743 | 17.2505
|  | 78 | 546.0067 | 16.0685
|  | 79 | 618.3799 | 16.1043
|  | 80 | 750.3626 | 17.1902
|  | 81 | 823.7437 | 18.9884
|  | 82 | 880.4999 | 20.2204
|  | 83 | 910.4892 | 20.4446
|  | 84 | 933.1932 | 20.2092
|  | 85 | 940.5296 | 19.3305
|  | 86 | 953.6856 | 19.9222
|  | 87 | 945.4774 | 18.2722
|  | 88 | 921.9355 | 16.3993
|  | 89 | 911.4554 | 16.646
|  | 90 | 918.4744 | 19.061
|  | 91 | 922.8177 | 19.6249
|  | 92 | 909.1669 | 19.821
|  | 93 | 938.974 | 22.0934
|  | 94 | 937.431 | 22.784
|  | 95 | 826.2699 | 22.3503
|  | 96 | 691.4197 | 18.7115
|  | 97 | 603.5056 | 17.5206
|  | 98 | 548.9283 | 17.1006
|  | 99 | 522.4031 | 16.2197
|  | 100 | 516.3141 | 16.488
|  | 101 | 520.9808 | 16.803
|  | 102 | 550.1184 | 16.7004
|  | 103 | 645.2832 | 16.4854
|  | 104 | 774.7821 | 18.8699
|  | 105 | 870.7248 | 20.0842
|  | 106 | 903.8888 | 20.1504
|  | 107 | 920.077 | 18.1499
|  | 108 | 933.7837 | 18.282
|  | 109 | 944.9098 | 17.1898
|  | 110 | 957.5339 | 17.5755
|  | 111 | 942.086 | 17.5775
|  | 112 | 918.1538 | 16.7889
|  | 113 | 905.0654 | 17.5138
|  | 114 | 926.1551 | 21.4848
|  | 115 | 934.2474 | 22.8371
|  | 116 | 928.8039 | 24.4544
|  | 117 | 970.7453 | 23.4122
|  | 118 | 968.5917 | 24.7083
|  | 119 | 852.8918 | 21.5316
|  | 120 | 718.4069 | 18.8592
|  | 121 | 635.8905 | 16.8784
|  | 122 | 584.3888 | 16.4833
|  | 123 | 558.4905 | 16.2102
|  | 124 | 549.412 | 15.734
|  | 125 | 551.5559 | 15.2428
|  | 126 | 587.8428 | 16.3875
|  | 127 | 657.9064 | 17.9282
|  | 128 | 740.8467 | 19.2896
|  | 129 | 813.4021 | 20.1036
|  | 130 | 847.1987 | 20.9492
|  | 131 | 878.3778 | 18.4298
|  | 132 | 896.1214 | 18.8466
|  | 133 | 913.7205 | 18.7554
|  | 134 | 907.5534 | 18.9284
|  | 135 | 866.0139 | 17.7786
|  | 136 | 861.0482 | 16.7725
|  | 137 | 890.8728 | 16.8012
|  | 138 | 909.4521 | 19.099
|  | 139 | 935.5689 | 20.9333
|  | 140 | 940.2374 | 19.8374
|  | 141 | 983.5761 | 21.5506
|  | 142 | 980.1759 | 20.7832
|  | 143 | 865.1246 | 17.8026
|  | 144 | 737.7772 | 15.8665
|  | 145 | 598.1411 | 13.7546
|  | 146 | 544.3994 | 13.9711
|  | 147 | 522.6691 | 14.1167
|  | 148 | 513.7235 | 13.7465
|  | 149 | 521.0547 | 14.0819
|  | 150 | 554.9896 | 14.3232
|  | 151 | 693.456 | 15.5285
|  | 152 | 825.4157 | 16.9395
|  | 153 | 900.8834 | 17.327
|  | 154 | 924.1947 | 18.5547
|  | 155 | 931.7856 | 19.5632
|  | 156 | 949.1427 | 20.0458
|  | 157 | 952.5502 | 17.8371
|  | 158 | 954.0075 | 17.5994
|  | 159 | 946.3651 | 17.0769
|  | 160 | 924.6511 | 17.0614
|  | 161 | 919.3209 | 16.545
|  | 162 | 929.0774 | 18.5059
|  | 163 | 917.0618 | 17.9538
|  | 164 | 897.0067 | 17.4777
|  | 165 | 930.1241 | 19.0179
|  | 166 | 935.7181 | 17.4495
|  | 167 | 824.4649 | 18.0768
|  | 168 | 695.6323 | 16.7495
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 20/06/2022 | 21/06/2022 | 22/06/2022 | 23/06/2022 | 24/06/2022 | 25/06/2022 | 26/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-06-21
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19064 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 20/06/2022 | 21/06/2022 | 22/06/2022 | 23/06/2022 | 24/06/2022 | 25/06/2022 | 26/06/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-06-19
|  | Hour | Production | Exchange | Consumption
|  | 1 | 197.1593 | -451.5887 | 648.7479
|  | 2 | 150.46 | -450.0389 | 600.4989
|  | 3 | 146.622 | -430.079 | 576.7009
|  | 4 | 156.4914 | -409.4814 | 565.9728
|  | 5 | 161.6118 | -406.5119 | 568.1236
|  | 6 | 122.8432 | -469.926 | 592.7692
|  | 7 | 107.4112 | -554.119 | 661.5302
|  | 8 | 172.528 | -576.2301 | 748.7581
|  | 9 | 311.8232 | -506.6806 | 818.5039
|  | 10 | 405.166 | -446.0168 | 851.1829
|  | 11 | 315.0729 | -562.6723 | 877.7452
|  | 12 | 316.7619 | -566.9166 | 883.6784
|  | 13 | 169.2987 | -715.9705 | 885.2691
|  | 14 | 176.104 | -707.6946 | 883.7986
|  | 15 | 115.5257 | -721.9749 | 837.5005
|  | 16 | 195.6446 | -619.764 | 815.4086
|  | 17 | 335.9208 | -502.0774 | 837.9982
|  | 18 | 373.8461 | -502.5817 | 876.4278
|  | 19 | 472.4849 | -435.8287 | 908.3135
|  | 20 | 490.8668 | -444.4337 | 935.3005
|  | 21 | 536.2416 | -436.8305 | 973.0722
|  | 22 | 533.7091 | -431.8299 | 965.539
|  | 23 | 429.4894 | -442.6887 | 872.1781
|  | 24 | 239.7114 | -509.4487 | 749.1601
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -36.1852 | -21.6636 | 88.4187 | -197.5293 | 317.8802 | -447.8849
2 | -35.7086 | -51.5463 | 83.0085 | -208.3157 | 313.7057 | -441.155
3 | -32.5673 | -65.0789 | 80.7366 | -227.0532 | 300.1367 | -424.8709
4 | -31.2314 | -65.4337 | 81.3309 | -224.4437 | 301.8275 | -424.3986
5 | -30.7686 | -64.5928 | 74.2325 | -220.5633 | 288.4143 | -416.3295
6 | -33.683 | -62.7613 | 72.8533 | -213.2767 | 291.3201 | -433.5452
7 | -40.2197 | -24.4475 | 77.0497 | -172.4535 | 290.7798 | -422.1175
8 | -36.5033 | 18.3341 | 79.2808 | -107.935 | 271.617 | -354.8005
9 | -34.5696 | 25.1373 | 108.4279 | -180.1498 | 362.88 | -376.3695
10 | -37.7323 | 17.8636 | 144.6432 | -232.1335 | 454.2156 | -441.7614
11 | -43.721 | 24.7207 | 156.7183 | -222.6051 | 475.7679 | -472.1362
12 | -51.3741 | 11.7224 | 150.3685 | -249.6098 | 472.5961 | -504.5161
13 | -50.6689 | 6.6301 | 134.2457 | -246.8971 | 443.4851 | -495.8973
14 | -54.2259 | 3.7639 | 154.0402 | -259.2576 | 487.2403 | -532.184
15 | -54.3289 | 6.3746 | 149.4936 | -252.7354 | 481.4074 | -526.227
16 | -56.0981 | 2.197 | 151.4915 | -263.0703 | 492.2051 | -539.6661
17 | -55.6651 | 2.2233 | 141.7536 | -259.5447 | 471.7252 | -514.4329
18 | -47.7777 | 3.3502 | 125.0631 | -251.9097 | 431.1955 | -472.9555
19 | -39.8595 | 19.3417 | 117.5051 | -188.6815 | 383.9754 | -469.8873
20 | -37.1132 | 54.5771 | 109.9344 | -97.7841 | 317.9071 | -368.1687
21 | -39.4228 | 52.7782 | 108.0713 | -100.8 | 310.0097 | -370.9685
22 | -40.1418 | 51.3107 | 117.9667 | -107.6544 | 328.229 | -398.5435
23 | -39.1543 | 36.0678 | 109.5225 | -134.8881 | 340.2067 | -423.0361
24 | -33.6581 | 5.2924 | 82.2602 | -169.6182 | 291.9813 | -380.6492
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-06-21
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 348.049
|  |  | 01:00 - 02:00 | 244.549
|  |  | 02:00 - 03:00 | 193.309
|  |  | 03:00 - 04:00 | 181.1937
|  |  | 04:00 - 05:00 | 182.2138
|  |  | 05:00 - 06:00 | 208.2483
|  |  | 06:00 - 07:00 | 353.6581
|  |  | 07:00 - 08:00 | 546.4782
|  |  | 08:00 - 09:00 | 668.1284
|  |  | 09:00 - 10:00 | 717.333
|  |  | 10:00 - 11:00 | 736.4031
|  |  | 11:00 - 12:00 | 753.468
|  |  | 12:00 - 13:00 | 744.4833
|  |  | 13:00 - 14:00 | 757.4948
|  |  | 14:00 - 15:00 | 744.4533
|  |  | 15:00 - 16:00 | 732.4132
|  |  | 16:00 - 17:00 | 716.3431
|  |  | 17:00 - 18:00 | 826.3531
|  |  | 18:00 - 19:00 | 987.5034
|  |  | 19:00 - 20:00 | 985.4534
|  |  | 20:00 - 21:00 | 1022.5532
|  |  | 21:00 - 22:00 | 1021.6635
|  |  | 22:00 - 23:00 | 806.1636
|  |  | 23:00 - 00:00 | 578.5689
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 96.809 | 0 | 118.9829 | 0 | 0
2 | 0 | 0 | 0 | 0.19704 | 0 | 115.951 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0.56912 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1.1345 | 0 | 0 | 0 | 0 | 0 | 0 | 46.6863
7 | 99.2208 | 0 | 0 | 0 | 3.1589 | 0 | 0 | 94.8395
8 | 98.4016 | 0 | 2.0501 | 0 | 127.0202 | 0 | 0 | 133.706
9 | 99.7359 | 0 | 98.4217 | 0 | 138.847 | 0 | 0 | 118.9627
10 | 99.7466 | 0 | 99.757 | 0 | 135.8229 | 0 | 0 | 118.8928
11 | 99.7021 | 0 | 99.7769 | 0 | 131.8961 | 0 | 0 | 118.8978
12 | 99.6915 | 0 | 99.7762 | 0 | 142.7435 | 0 | 0 | 118.8882
13 | 99.7009 | 0 | 99.7802 | 0 | 138.8182 | 0 | 0 | 118.8889
14 | 99.7227 | 0 | 99.7641 | 0 | 137.8336 | 0 | 0 | 118.9024
15 | 99.6943 | 0 | 99.819 | 0 | 139.8028 | 0 | 0 | 118.9031
16 | 99.7121 | 0 | 99.8022 | 0 | 136.8316 | 0 | 0 | 107.2204
17 | 99.6955 | 0 | 99.7922 | 0 | 109.0385 | 0 | 0 | 127.1834
18 | 99.7163 | 0 | 99.7113 | 0 | 115.0796 | 0 | 0 | 134.9919
19 | 99.6825 | 0 | 99.7925 | 0 | 123.6136 | 0 | 0 | 131.1084
20 | 99.6948 | 0 | 99.784 | 0 | 118.207 | 0 | 0 | 138.5404
21 | 99.6747 | 0 | 99.7527 | 0 | 122.0202 | 0 | 0 | 116.5074
22 | 99.6633 | 0 | 99.7598 | 0 | 121.0533 | 0 | 0 | 123.3507
23 | 99.664 | 0 | 99.7421 | 0 | 133.888 | 0 | 0 | 109.3341
24 | 0.39976 | 0 | 99.7028 | 0 | 132.9283 | 0 | 0 | 116.1515
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1694.6539 | 0 | 1596.9849 | 0.19704 | 2208.6033 | 116.5202 | 0 | 2211.956
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 603.4534 | 16.2503
|  | 2 | 553.4026 | 16.2473
|  | 3 | 531.4159 | 16.291
|  | 4 | 517.5466 | 16.6545
|  | 5 | 525.6676 | 15.7733
|  | 6 | 560.1275 | 15.1818
|  | 7 | 695.0774 | 17.3247
|  | 8 | 820.0859 | 18.3138
|  | 9 | 894.3142 | 21.0202
|  | 10 | 926.9174 | 21.1277
|  | 11 | 937.9505 | 21.6891
|  | 12 | 950.4059 | 22.5184
|  | 13 | 945.443 | 21.1235
|  | 14 | 946.4069 | 23.2289
|  | 15 | 935.0378 | 23.1148
|  | 16 | 917.5138 | 21.85
|  | 17 | 909.6545 | 21.0928
|  | 18 | 927.1806 | 22.0599
|  | 19 | 932.3407 | 21.9716
|  | 20 | 924.9156 | 20.5534
|  | 21 | 967.3288 | 21.1692
|  | 22 | 963.5588 | 20.9341
|  | 23 | 862.1297 | 18.6423
|  | 24 | 739.2426 | 16.0067
|  | 25 | 596.1411 | 15.7154
|  | 26 | 542.3994 | 15.8816
|  | 27 | 520.6691 | 16.5216
|  | 28 | 511.7235 | 15.1795
|  | 29 | 519.0547 | 15.0772
|  | 30 | 552.9896 | 16.064
|  | 31 | 691.456 | 15.8615
|  | 32 | 823.4157 | 17.3686
|  | 33 | 898.8834 | 18.3095
|  | 34 | 921.1947 | 18.8205
|  | 35 | 928.7856 | 18.5353
|  | 36 | 946.1427 | 18.4533
|  | 37 | 949.5502 | 18.1971
|  | 38 | 951.0075 | 18.0237
|  | 39 | 943.3651 | 16.6984
|  | 40 | 921.6511 | 16.2728
|  | 41 | 916.3209 | 16.3922
|  | 42 | 926.0774 | 17.459
|  | 43 | 914.0618 | 19.7025
|  | 44 | 894.0067 | 19.8745
|  | 45 | 927.1241 | 19.6451
|  | 46 | 932.7181 | 19.6566
|  | 47 | 821.4649 | 17.2318
|  | 48 | 695.6323 | 16.7006
|  | 49 | 593.7602 | 16.7574
|  | 50 | 539.7074 | 16.3991
|  | 51 | 513.626 | 16.1439
|  | 52 | 503.3911 | 15.7848
|  | 53 | 506.4638 | 16.0273
|  | 54 | 541.1837 | 16.106
|  | 55 | 683.1002 | 16.1685
|  | 56 | 814.8619 | 16.7101
|  | 57 | 896.2182 | 18.781
|  | 58 | 898.1313 | 18.3736
|  | 59 | 903.5699 | 17.4926
|  | 60 | 924.401 | 17.5292
|  | 61 | 920.837 | 17.4659
|  | 62 | 924.4671 | 16.2085
|  | 63 | 909.5464 | 16.2863
|  | 64 | 905.6934 | 16.2153
|  | 65 | 898.7638 | 16.5653
|  | 66 | 909.9115 | 18.1934
|  | 67 | 901.3447 | 18.146
|  | 68 | 897.8985 | 19.711
|  | 69 | 926.9651 | 21.6159
|  | 70 | 923.7941 | 21.9292
|  | 71 | 822.682 | 19.9808
|  | 72 | 699.1228 | 17.4158
|  | 73 | 618.5898 | 17.6129
|  | 74 | 562.8829 | 16.7259
|  | 75 | 528.2397 | 16.9164
|  | 76 | 515.6468 | 16.9041
|  | 77 | 517.8743 | 17.2505
|  | 78 | 546.0067 | 16.0685
|  | 79 | 618.3799 | 16.1043
|  | 80 | 750.3626 | 17.1902
|  | 81 | 823.7437 | 18.9884
|  | 82 | 880.4999 | 20.2204
|  | 83 | 910.4892 | 20.4446
|  | 84 | 933.1932 | 20.2092
|  | 85 | 940.5296 | 19.3305
|  | 86 | 953.6856 | 19.9222
|  | 87 | 945.4774 | 18.2722
|  | 88 | 921.9355 | 16.3993
|  | 89 | 911.4554 | 16.646
|  | 90 | 918.4744 | 19.061
|  | 91 | 922.8177 | 19.6249
|  | 92 | 909.1669 | 19.821
|  | 93 | 938.974 | 22.0934
|  | 94 | 937.431 | 22.784
|  | 95 | 826.2699 | 22.3503
|  | 96 | 691.4197 | 18.7115
|  | 97 | 603.5056 | 17.5206
|  | 98 | 548.9283 | 17.1006
|  | 99 | 522.4031 | 16.2197
|  | 100 | 516.3141 | 16.488
|  | 101 | 520.9808 | 16.803
|  | 102 | 550.1184 | 16.7004
|  | 103 | 645.2832 | 16.4854
|  | 104 | 774.7821 | 18.8699
|  | 105 | 870.7248 | 20.0842
|  | 106 | 903.8888 | 20.1504
|  | 107 | 920.077 | 18.1499
|  | 108 | 933.7837 | 18.282
|  | 109 | 944.9098 | 17.1898
|  | 110 | 957.5339 | 17.5755
|  | 111 | 942.086 | 17.5775
|  | 112 | 918.1538 | 16.7889
|  | 113 | 905.0654 | 17.5138
|  | 114 | 926.1551 | 21.4848
|  | 115 | 934.2474 | 22.8371
|  | 116 | 928.8039 | 24.4544
|  | 117 | 970.7453 | 23.4122
|  | 118 | 968.5917 | 24.7083
|  | 119 | 852.8918 | 21.5316
|  | 120 | 718.4069 | 18.8592
|  | 121 | 635.8905 | 16.8784
|  | 122 | 584.3888 | 16.4833
|  | 123 | 558.4905 | 16.2102
|  | 124 | 549.412 | 15.734
|  | 125 | 551.5559 | 15.2428
|  | 126 | 587.8428 | 16.3875
|  | 127 | 657.9064 | 17.9282
|  | 128 | 740.8467 | 19.2896
|  | 129 | 813.4021 | 20.1036
|  | 130 | 847.1987 | 20.9492
|  | 131 | 878.3778 | 18.4298
|  | 132 | 896.1214 | 18.8466
|  | 133 | 913.7205 | 18.7554
|  | 134 | 907.5534 | 18.9284
|  | 135 | 866.0139 | 17.7786
|  | 136 | 861.0482 | 16.7725
|  | 137 | 890.8728 | 16.8012
|  | 138 | 909.4521 | 19.099
|  | 139 | 935.5689 | 20.9333
|  | 140 | 940.2374 | 19.8374
|  | 141 | 983.5761 | 21.5506
|  | 142 | 980.1759 | 20.7832
|  | 143 | 865.1246 | 17.8026
|  | 144 | 737.7772 | 15.8665
|  | 145 | 598.1411 | 13.7546
|  | 146 | 544.3994 | 13.9711
|  | 147 | 522.6691 | 14.1167
|  | 148 | 513.7235 | 13.7465
|  | 149 | 521.0547 | 14.0819
|  | 150 | 554.9896 | 14.3232
|  | 151 | 693.456 | 15.5285
|  | 152 | 825.4157 | 16.9395
|  | 153 | 900.8834 | 17.327
|  | 154 | 924.1947 | 18.5547
|  | 155 | 931.7856 | 19.5632
|  | 156 | 949.1427 | 20.0458
|  | 157 | 952.5502 | 17.8371
|  | 158 | 954.0075 | 17.5994
|  | 159 | 946.3651 | 17.0769
|  | 160 | 924.6511 | 17.0614
|  | 161 | 919.3209 | 16.545
|  | 162 | 929.0774 | 18.5059
|  | 163 | 917.0618 | 17.9538
|  | 164 | 897.0067 | 17.4777
|  | 165 | 930.1241 | 19.0179
|  | 166 | 935.7181 | 17.4495
|  | 167 | 824.4649 | 18.0768
|  | 168 | 695.6323 | 16.7495
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 20/06/2022 | 21/06/2022 | 22/06/2022 | 23/06/2022 | 24/06/2022 | 25/06/2022 | 26/06/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible