## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-06-27
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20984 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 27/06/2022 | 28/06/2022 | 29/06/2022 | 30/06/2022 | 01/07/2022 | 02/07/2022 | 03/07/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-06-25
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 313.5148 | -375.9022 | 689.417
|  | 2 | 211.2312 | -426.0005 | 637.2316
|  | 3 | 214.1117 | -393.5293 | 607.641
|  | 4 | 212.2916 | -382.8189 | 595.1105
|  | 5 | 217.8213 | -384.2866 | 602.1079
|  | 6 | 230.9318 | -398.7849 | 629.7167
|  | 7 | 282.097 | -431.7274 | 713.8244
|  | 8 | 452.6374 | -378.4226 | 831.0599
|  | 9 | 611.4516 | -333.0994 | 944.5511
|  | 10 | 699.9681 | -304.2622 | 1004.2304
|  | 11 | 739.7367 | -282.2058 | 1021.9425
|  | 12 | 783.235 | -267.7775 | 1051.0125
|  | 13 | 770.0473 | -283.8039 | 1053.8513
|  | 14 | 770.199 | -283.2217 | 1053.4206
|  | 15 | 741.3531 | -285.9884 | 1027.3415
|  | 16 | 716.1787 | -282.0192 | 998.1979
|  | 17 | 683.4858 | -308.2942 | 991.78
|  | 18 | 695.7001 | -308.0597 | 1003.7597
|  | 19 | 703.0723 | -314.5293 | 1017.6016
|  | 20 | 714.9516 | -297.4773 | 1012.4289
|  | 21 | 725.8577 | -301.4605 | 1027.3182
|  | 22 | 718.3283 | -313.2557 | 1031.5839
|  | 23 | 570.995 | -352.3078 | 923.3028
|  | 24 | 441.7541 | -367.6183 | 809.3724
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -3.0997 | -72.3101 | 15.7648 | -247.4616 | 34.7532 | -308.437
2 | -1.3598 | -77.2527 | 26.0403 | -245.5875 | 37.3686 | -270.8678
3 | 0.37619 | -84.5413 | 16.3435 | -255.3256 | 28.6971 | -239.4402
4 | 7.6379 | -91.7306 | 18.608 | -275.7953 | 21.7083 | -197.279
5 | 9.8655 | -95.0176 | 12.5768 | -286.0333 | 9.572 | -175.1643
6 | 9.7404 | -97.0961 | -9.6648 | -280.924 | -17.2623 | -150.8432
7 | 8.0535 | -87.4465 | 12.4938 | -269.3312 | 2.6531 | -168.415
8 | -7.8539 | -76.3465 | 29.0218 | -256.6094 | 37.9761 | -299.8156
9 | -16.9388 | -70.5055 | 29.35 | -261.651 | 48.1851 | -360.3163
10 | -19.6792 | -54.0363 | 26.6272 | -245.7972 | 50.1258 | -368.3519
11 | -16.3415 | -56.9551 | -16.2339 | -266.5055 | 8.1473 | -344.6115
12 | -19.8292 | -63.9485 | -38.2949 | -276.692 | -5.04 | -349.3067
13 | -28.083 | -67.4065 | -8.2669 | -274.0567 | 4.0562 | -381.9368
14 | -26.5285 | -79.637 | -7.405 | -298.6938 | -16.1656 | -352.3413
15 | -26.7043 | -77.1164 | -12.1897 | -288.8235 | -16.7839 | -339.8479
16 | -22.7548 | -73.525 | -16.8648 | -280.3982 | -22.3749 | -330.1492
17 | -19.693 | -42.2792 | 27.1817 | -240.175 | 16.3619 | -327.9971
18 | -38.8582 | -32.0725 | 65.3337 | -218.2731 | 72.9496 | -434.3412
19 | -30.907 | -32.565 | 20.9178 | -218.6215 | 38.769 | -381.9033
20 | -28.0124 | -9.3132 | 34.3306 | -165.2991 | 71.1997 | -326.6191
21 | -23.3358 | -11.2278 | 11.3747 | -175.292 | 37.1482 | -269.286
22 | -19.6163 | -10.311 | 20.211 | -179.4176 | 48.263 | -286.3017
23 | -17.3609 | -27.9276 | 35.2034 | -186.9268 | 64.9475 | -305.3895
24 | -20.5743 | -37.0023 | 52.2158 | -207.3867 | 92.2522 | -332.2303
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-06-27
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 245.37
|  |  | 01:00 - 02:00 | 173.37
|  |  | 02:00 - 03:00 | 221.37
|  |  | 03:00 - 04:00 | 208.37
|  |  | 04:00 - 05:00 | 209.37
|  |  | 05:00 - 06:00 | 232.37
|  |  | 06:00 - 07:00 | 237.37
|  |  | 07:00 - 08:00 | 531.37
|  |  | 08:00 - 09:00 | 706.7135
|  |  | 09:00 - 10:00 | 815.4342
|  |  | 10:00 - 11:00 | 774.4942
|  |  | 11:00 - 12:00 | 751.3841
|  |  | 12:00 - 13:00 | 748.344
|  |  | 13:00 - 14:00 | 752.3857
|  |  | 14:00 - 15:00 | 735.3191
|  |  | 15:00 - 16:00 | 714.2039
|  |  | 16:00 - 17:00 | 802.7042
|  |  | 17:00 - 18:00 | 800.6789
|  |  | 18:00 - 19:00 | 821.1378
|  |  | 19:00 - 20:00 | 1005.3388
|  |  | 20:00 - 21:00 | 995.669
|  |  | 21:00 - 22:00 | 919.7293
|  |  | 22:00 - 23:00 | 710.7094
|  |  | 23:00 - 00:00 | 420.9291
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.55209 | 0 | 0 | 0.44352
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0.87249 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 104.6118 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 109.7567 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 102.7739 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 135.9027 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 126.4291 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 113.7803 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 120.702 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 1.0478 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0.43666 | 0 | 0 | 0 | 0.3832
17 | 0 | 0 | 0 | 85.2751 | 0 | 0 | 0 | 105.8569
18 | 0 | 0 | 0 | 99.3818 | 0 | 0 | 0 | 120.0374
19 | 0 | 0 | 0 | 99.3565 | 0 | 0 | 0 | 133.711
20 | 0 | 0 | 0 | 99.3546 | 0 | 0 | 0 | 122.5797
21 | 0 | 0 | 0 | 99.3248 | 0 | 0 | 0 | 108.1642
22 | 0 | 0 | 0 | 104.2523 | 0 | 0 | 0 | 120.829
23 | 0 | 0 | 0 | 0.79999 | 0 | 0 | 0 | 120.746
24 | 3.3781 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25866
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 3.3781 | 0 | 0 | 588.1818 | 0.55209 | 815.8767 | 0 | 833.0097
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 642.6259 | 14.3483
|  | 2 | 587.9082 | 13.9821
|  | 3 | 560.7932 | 14.4739
|  | 4 | 549.0597 | 14.552
|  | 5 | 554.7228 | 14.3537
|  | 6 | 581.3645 | 14.6711
|  | 7 | 716.4854 | 15.0342
|  | 8 | 854.597 | 15.6111
|  | 9 | 932.5376 | 16.5211
|  | 10 | 976.4176 | 17.6093
|  | 11 | 1001.4455 | 17.259
|  | 12 | 1029.0585 | 17.6405
|  | 13 | 1031.7424 | 17.7881
|  | 14 | 1041.6305 | 18.3891
|  | 15 | 1039.3282 | 17.6974
|  | 16 | 1015.855 | 18.0736
|  | 17 | 995.0822 | 17.6475
|  | 18 | 990.2993 | 19.9989
|  | 19 | 967.8334 | 21.184
|  | 20 | 949.3114 | 20.1573
|  | 21 | 985.6684 | 21.2237
|  | 22 | 984.2244 | 20.112
|  | 23 | 875.7197 | 19.4668
|  | 24 | 751.2569 | 16.5429
|  | 25 | 644.6259 | 15.5507
|  | 26 | 589.9082 | 16.0894
|  | 27 | 562.7932 | 15.7767
|  | 28 | 551.0597 | 15.7051
|  | 29 | 556.7228 | 15.407
|  | 30 | 583.3645 | 15.3879
|  | 31 | 718.4854 | 16.5287
|  | 32 | 860.597 | 17.809
|  | 33 | 938.5376 | 18.2229
|  | 34 | 982.4176 | 18.8813
|  | 35 | 1007.4455 | 19.0965
|  | 36 | 1035.0585 | 19.431
|  | 37 | 1037.7424 | 19.1052
|  | 38 | 1047.6305 | 19.7276
|  | 39 | 1045.3282 | 19.7278
|  | 40 | 1021.855 | 19.2568
|  | 41 | 1001.0822 | 18.7814
|  | 42 | 996.2993 | 20.4285
|  | 43 | 973.8334 | 20.3584
|  | 44 | 955.3114 | 17.3145
|  | 45 | 991.6684 | 18.5628
|  | 46 | 990.2244 | 17.5082
|  | 47 | 881.7197 | 16.1698
|  | 48 | 757.2569 | 14.8943
|  | 49 | 657.3901 | 15.076
|  | 50 | 603.0376 | 15.2004
|  | 51 | 578.0965 | 14.9236
|  | 52 | 564.5112 | 14.7311
|  | 53 | 578.0016 | 14.9546
|  | 54 | 612.9462 | 15.1316
|  | 55 | 701.7454 | 16.0981
|  | 56 | 830.6896 | 16.5775
|  | 57 | 921.8679 | 17.8407
|  | 58 | 953.7618 | 18.9798
|  | 59 | 953.32 | 19.4922
|  | 60 | 972.9142 | 19.2555
|  | 61 | 979.2818 | 21.8719
|  | 62 | 978.4545 | 29.4172
|  | 63 | 959.2511 | 28.0815
|  | 64 | 942.0957 | 22.6592
|  | 65 | 932.1402 | 18.1551
|  | 66 | 940.4491 | 18.1519
|  | 67 | 939.8132 | 18.7235
|  | 68 | 917.4136 | 17.8185
|  | 69 | 949.0592 | 19.4898
|  | 70 | 951.882 | 18.4086
|  | 71 | 854.4366 | 17.8155
|  | 72 | 724.1089 | 16.1627
|  | 73 | 620.7683 | 14.4765
|  | 74 | 567.0115 | 14.5286
|  | 75 | 541.5076 | 13.9768
|  | 76 | 536.4004 | 14.1242
|  | 77 | 542.3252 | 14.8723
|  | 78 | 577.8854 | 13.9324
|  | 79 | 713.4134 | 15.274
|  | 80 | 845.0386 | 17.4694
|  | 81 | 914.9872 | 18.1417
|  | 82 | 936.5881 | 17.9935
|  | 83 | 953.7517 | 18.4014
|  | 84 | 976.8152 | 18.5723
|  | 85 | 979.7986 | 18.5173
|  | 86 | 972.1694 | 18.7479
|  | 87 | 949.6739 | 18.5565
|  | 88 | 930.9368 | 18.5035
|  | 89 | 936.1981 | 18.2225
|  | 90 | 946.3007 | 18.0993
|  | 91 | 927.5625 | 18.1651
|  | 92 | 918.5707 | 18.2346
|  | 93 | 953.565 | 18.9641
|  | 94 | 958.6206 | 18.8837
|  | 95 | 866.3058 | 16.9118
|  | 96 | 735.0452 | 14.3953
|  | 97 | 661.3901 | 13.3516
|  | 98 | 607.0376 | 12.5928
|  | 99 | 582.0965 | 12.4986
|  | 100 | 568.5112 | 12.3576
|  | 101 | 582.0016 | 12.2933
|  | 102 | 616.9462 | 12.2629
|  | 103 | 705.7454 | 13.4905
|  | 104 | 834.6896 | 14.4303
|  | 105 | 925.8679 | 15.9984
|  | 106 | 957.7618 | 17.3386
|  | 107 | 957.32 | 17.5041
|  | 108 | 976.9142 | 17.3734
|  | 109 | 986.2818 | 16.6933
|  | 110 | 985.4545 | 16.3785
|  | 111 | 966.2511 | 16.4486
|  | 112 | 949.0957 | 15.8774
|  | 113 | 939.1402 | 15.5914
|  | 114 | 947.4491 | 17.0961
|  | 115 | 946.8132 | 17.9354
|  | 116 | 924.4136 | 17.6504
|  | 117 | 956.0592 | 19.1121
|  | 118 | 958.882 | 17.8653
|  | 119 | 861.4366 | 15.7236
|  | 120 | 731.1089 | 13.5336
|  | 121 | 651.5898 | 15.7154
|  | 122 | 595.8829 | 15.8816
|  | 123 | 561.2397 | 16.5216
|  | 124 | 548.6468 | 15.1795
|  | 125 | 550.8743 | 15.0772
|  | 126 | 585.0067 | 16.064
|  | 127 | 657.3799 | 15.8615
|  | 128 | 789.3626 | 17.3686
|  | 129 | 862.7437 | 18.3095
|  | 130 | 919.4999 | 18.8205
|  | 131 | 949.4892 | 18.5353
|  | 132 | 972.1932 | 18.4533
|  | 133 | 979.5296 | 18.1971
|  | 134 | 992.6856 | 18.0237
|  | 135 | 984.4774 | 16.6984
|  | 136 | 960.9355 | 16.2728
|  | 137 | 950.4554 | 16.3922
|  | 138 | 957.4744 | 17.459
|  | 139 | 961.8177 | 19.7025
|  | 140 | 948.1669 | 19.8745
|  | 141 | 977.974 | 19.6451
|  | 142 | 976.431 | 19.6566
|  | 143 | 865.2699 | 17.2318
|  | 144 | 730.4197 | 16.7006
|  | 145 | 665.5413 | 16.7574
|  | 146 | 615.9375 | 16.3991
|  | 147 | 585.6786 | 16.1439
|  | 148 | 567.5701 | 15.7848
|  | 149 | 582.9196 | 16.0273
|  | 150 | 612.8438 | 16.106
|  | 151 | 702.9092 | 16.1685
|  | 152 | 812.8387 | 16.7101
|  | 153 | 902.1246 | 18.781
|  | 154 | 936.9536 | 18.3736
|  | 155 | 959.4462 | 17.4926
|  | 156 | 971.2239 | 17.5292
|  | 157 | 969.0239 | 17.4659
|  | 158 | 963.3816 | 16.2085
|  | 159 | 934.0738 | 16.2863
|  | 160 | 907.7331 | 16.2153
|  | 161 | 911.584 | 16.5653
|  | 162 | 929.1965 | 18.1934
|  | 163 | 954.9032 | 18.146
|  | 164 | 953.5214 | 19.711
|  | 165 | 979.4224 | 21.6159
|  | 166 | 965.8819 | 21.9292
|  | 167 | 867.6396 | 19.9808
|  | 168 | 752.5876 | 17.4158
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 27/06/2022 | 28/06/2022 | 29/06/2022 | 30/06/2022 | 01/07/2022 | 02/07/2022 | 03/07/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-06-27
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20984 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 27/06/2022 | 28/06/2022 | 29/06/2022 | 30/06/2022 | 01/07/2022 | 02/07/2022 | 03/07/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-06-25
|  | Hour | Production | Exchange | Consumption
|  | 1 | 313.5148 | -375.9022 | 689.417
|  | 2 | 211.2312 | -426.0005 | 637.2316
|  | 3 | 214.1117 | -393.5293 | 607.641
|  | 4 | 212.2916 | -382.8189 | 595.1105
|  | 5 | 217.8213 | -384.2866 | 602.1079
|  | 6 | 230.9318 | -398.7849 | 629.7167
|  | 7 | 282.097 | -431.7274 | 713.8244
|  | 8 | 452.6374 | -378.4226 | 831.0599
|  | 9 | 611.4516 | -333.0994 | 944.5511
|  | 10 | 699.9681 | -304.2622 | 1004.2304
|  | 11 | 739.7367 | -282.2058 | 1021.9425
|  | 12 | 783.235 | -267.7775 | 1051.0125
|  | 13 | 770.0473 | -283.8039 | 1053.8513
|  | 14 | 770.199 | -283.2217 | 1053.4206
|  | 15 | 741.3531 | -285.9884 | 1027.3415
|  | 16 | 716.1787 | -282.0192 | 998.1979
|  | 17 | 683.4858 | -308.2942 | 991.78
|  | 18 | 695.7001 | -308.0597 | 1003.7597
|  | 19 | 703.0723 | -314.5293 | 1017.6016
|  | 20 | 714.9516 | -297.4773 | 1012.4289
|  | 21 | 725.8577 | -301.4605 | 1027.3182
|  | 22 | 718.3283 | -313.2557 | 1031.5839
|  | 23 | 570.995 | -352.3078 | 923.3028
|  | 24 | 441.7541 | -367.6183 | 809.3724
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 200
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -3.0997 | -72.3101 | 15.7648 | -247.4616 | 34.7532 | -308.437
2 | -1.3598 | -77.2527 | 26.0403 | -245.5875 | 37.3686 | -270.8678
3 | 0.37619 | -84.5413 | 16.3435 | -255.3256 | 28.6971 | -239.4402
4 | 7.6379 | -91.7306 | 18.608 | -275.7953 | 21.7083 | -197.279
5 | 9.8655 | -95.0176 | 12.5768 | -286.0333 | 9.572 | -175.1643
6 | 9.7404 | -97.0961 | -9.6648 | -280.924 | -17.2623 | -150.8432
7 | 8.0535 | -87.4465 | 12.4938 | -269.3312 | 2.6531 | -168.415
8 | -7.8539 | -76.3465 | 29.0218 | -256.6094 | 37.9761 | -299.8156
9 | -16.9388 | -70.5055 | 29.35 | -261.651 | 48.1851 | -360.3163
10 | -19.6792 | -54.0363 | 26.6272 | -245.7972 | 50.1258 | -368.3519
11 | -16.3415 | -56.9551 | -16.2339 | -266.5055 | 8.1473 | -344.6115
12 | -19.8292 | -63.9485 | -38.2949 | -276.692 | -5.04 | -349.3067
13 | -28.083 | -67.4065 | -8.2669 | -274.0567 | 4.0562 | -381.9368
14 | -26.5285 | -79.637 | -7.405 | -298.6938 | -16.1656 | -352.3413
15 | -26.7043 | -77.1164 | -12.1897 | -288.8235 | -16.7839 | -339.8479
16 | -22.7548 | -73.525 | -16.8648 | -280.3982 | -22.3749 | -330.1492
17 | -19.693 | -42.2792 | 27.1817 | -240.175 | 16.3619 | -327.9971
18 | -38.8582 | -32.0725 | 65.3337 | -218.2731 | 72.9496 | -434.3412
19 | -30.907 | -32.565 | 20.9178 | -218.6215 | 38.769 | -381.9033
20 | -28.0124 | -9.3132 | 34.3306 | -165.2991 | 71.1997 | -326.6191
21 | -23.3358 | -11.2278 | 11.3747 | -175.292 | 37.1482 | -269.286
22 | -19.6163 | -10.311 | 20.211 | -179.4176 | 48.263 | -286.3017
23 | -17.3609 | -27.9276 | 35.2034 | -186.9268 | 64.9475 | -305.3895
24 | -20.5743 | -37.0023 | 52.2158 | -207.3867 | 92.2522 | -332.2303
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-06-27
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 245.37
|  |  | 01:00 - 02:00 | 173.37
|  |  | 02:00 - 03:00 | 221.37
|  |  | 03:00 - 04:00 | 208.37
|  |  | 04:00 - 05:00 | 209.37
|  |  | 05:00 - 06:00 | 232.37
|  |  | 06:00 - 07:00 | 237.37
|  |  | 07:00 - 08:00 | 531.37
|  |  | 08:00 - 09:00 | 706.7135
|  |  | 09:00 - 10:00 | 815.4342
|  |  | 10:00 - 11:00 | 774.4942
|  |  | 11:00 - 12:00 | 751.3841
|  |  | 12:00 - 13:00 | 748.344
|  |  | 13:00 - 14:00 | 752.3857
|  |  | 14:00 - 15:00 | 735.3191
|  |  | 15:00 - 16:00 | 714.2039
|  |  | 16:00 - 17:00 | 802.7042
|  |  | 17:00 - 18:00 | 800.6789
|  |  | 18:00 - 19:00 | 821.1378
|  |  | 19:00 - 20:00 | 1005.3388
|  |  | 20:00 - 21:00 | 995.669
|  |  | 21:00 - 22:00 | 919.7293
|  |  | 22:00 - 23:00 | 710.7094
|  |  | 23:00 - 00:00 | 420.9291
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.55209 | 0 | 0 | 0.44352
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0.87249 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 104.6118 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 109.7567 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 102.7739 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 135.9027 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 126.4291 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 113.7803 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 120.702 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 1.0478 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0.43666 | 0 | 0 | 0 | 0.3832
17 | 0 | 0 | 0 | 85.2751 | 0 | 0 | 0 | 105.8569
18 | 0 | 0 | 0 | 99.3818 | 0 | 0 | 0 | 120.0374
19 | 0 | 0 | 0 | 99.3565 | 0 | 0 | 0 | 133.711
20 | 0 | 0 | 0 | 99.3546 | 0 | 0 | 0 | 122.5797
21 | 0 | 0 | 0 | 99.3248 | 0 | 0 | 0 | 108.1642
22 | 0 | 0 | 0 | 104.2523 | 0 | 0 | 0 | 120.829
23 | 0 | 0 | 0 | 0.79999 | 0 | 0 | 0 | 120.746
24 | 3.3781 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25866
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 3.3781 | 0 | 0 | 588.1818 | 0 | 815.8767 | 0 | 832.5662
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 642.6259 | 14.3483
|  | 2 | 587.9082 | 13.9821
|  | 3 | 560.7932 | 14.4739
|  | 4 | 549.0597 | 14.552
|  | 5 | 554.7228 | 14.3537
|  | 6 | 581.3645 | 14.6711
|  | 7 | 716.4854 | 15.0342
|  | 8 | 854.597 | 15.6111
|  | 9 | 932.5376 | 16.5211
|  | 10 | 976.4176 | 17.6093
|  | 11 | 1001.4455 | 17.259
|  | 12 | 1029.0585 | 17.6405
|  | 13 | 1031.7424 | 17.7881
|  | 14 | 1041.6305 | 18.3891
|  | 15 | 1039.3282 | 17.6974
|  | 16 | 1015.855 | 18.0736
|  | 17 | 995.0822 | 17.6475
|  | 18 | 990.2993 | 19.9989
|  | 19 | 967.8334 | 21.184
|  | 20 | 949.3114 | 20.1573
|  | 21 | 985.6684 | 21.2237
|  | 22 | 984.2244 | 20.112
|  | 23 | 875.7197 | 19.4668
|  | 24 | 751.2569 | 16.5429
|  | 25 | 644.6259 | 15.5507
|  | 26 | 589.9082 | 16.0894
|  | 27 | 562.7932 | 15.7767
|  | 28 | 551.0597 | 15.7051
|  | 29 | 556.7228 | 15.407
|  | 30 | 583.3645 | 15.3879
|  | 31 | 718.4854 | 16.5287
|  | 32 | 860.597 | 17.809
|  | 33 | 938.5376 | 18.2229
|  | 34 | 982.4176 | 18.8813
|  | 35 | 1007.4455 | 19.0965
|  | 36 | 1035.0585 | 19.431
|  | 37 | 1037.7424 | 19.1052
|  | 38 | 1047.6305 | 19.7276
|  | 39 | 1045.3282 | 19.7278
|  | 40 | 1021.855 | 19.2568
|  | 41 | 1001.0822 | 18.7814
|  | 42 | 996.2993 | 20.4285
|  | 43 | 973.8334 | 20.3584
|  | 44 | 955.3114 | 17.3145
|  | 45 | 991.6684 | 18.5628
|  | 46 | 990.2244 | 17.5082
|  | 47 | 881.7197 | 16.1698
|  | 48 | 757.2569 | 14.8943
|  | 49 | 657.3901 | 15.076
|  | 50 | 603.0376 | 15.2004
|  | 51 | 578.0965 | 14.9236
|  | 52 | 564.5112 | 14.7311
|  | 53 | 578.0016 | 14.9546
|  | 54 | 612.9462 | 15.1316
|  | 55 | 701.7454 | 16.0981
|  | 56 | 830.6896 | 16.5775
|  | 57 | 921.8679 | 17.8407
|  | 58 | 953.7618 | 18.9798
|  | 59 | 953.32 | 19.4922
|  | 60 | 972.9142 | 19.2555
|  | 61 | 979.2818 | 21.8719
|  | 62 | 978.4545 | 29.4172
|  | 63 | 959.2511 | 28.0815
|  | 64 | 942.0957 | 22.6592
|  | 65 | 932.1402 | 18.1551
|  | 66 | 940.4491 | 18.1519
|  | 67 | 939.8132 | 18.7235
|  | 68 | 917.4136 | 17.8185
|  | 69 | 949.0592 | 19.4898
|  | 70 | 951.882 | 18.4086
|  | 71 | 854.4366 | 17.8155
|  | 72 | 724.1089 | 16.1627
|  | 73 | 620.7683 | 14.4765
|  | 74 | 567.0115 | 14.5286
|  | 75 | 541.5076 | 13.9768
|  | 76 | 536.4004 | 14.1242
|  | 77 | 542.3252 | 14.8723
|  | 78 | 577.8854 | 13.9324
|  | 79 | 713.4134 | 15.274
|  | 80 | 845.0386 | 17.4694
|  | 81 | 914.9872 | 18.1417
|  | 82 | 936.5881 | 17.9935
|  | 83 | 953.7517 | 18.4014
|  | 84 | 976.8152 | 18.5723
|  | 85 | 979.7986 | 18.5173
|  | 86 | 972.1694 | 18.7479
|  | 87 | 949.6739 | 18.5565
|  | 88 | 930.9368 | 18.5035
|  | 89 | 936.1981 | 18.2225
|  | 90 | 946.3007 | 18.0993
|  | 91 | 927.5625 | 18.1651
|  | 92 | 918.5707 | 18.2346
|  | 93 | 953.565 | 18.9641
|  | 94 | 958.6206 | 18.8837
|  | 95 | 866.3058 | 16.9118
|  | 96 | 735.0452 | 14.3953
|  | 97 | 661.3901 | 13.3516
|  | 98 | 607.0376 | 12.5928
|  | 99 | 582.0965 | 12.4986
|  | 100 | 568.5112 | 12.3576
|  | 101 | 582.0016 | 12.2933
|  | 102 | 616.9462 | 12.2629
|  | 103 | 705.7454 | 13.4905
|  | 104 | 834.6896 | 14.4303
|  | 105 | 925.8679 | 15.9984
|  | 106 | 957.7618 | 17.3386
|  | 107 | 957.32 | 17.5041
|  | 108 | 976.9142 | 17.3734
|  | 109 | 986.2818 | 16.6933
|  | 110 | 985.4545 | 16.3785
|  | 111 | 966.2511 | 16.4486
|  | 112 | 949.0957 | 15.8774
|  | 113 | 939.1402 | 15.5914
|  | 114 | 947.4491 | 17.0961
|  | 115 | 946.8132 | 17.9354
|  | 116 | 924.4136 | 17.6504
|  | 117 | 956.0592 | 19.1121
|  | 118 | 958.882 | 17.8653
|  | 119 | 861.4366 | 15.7236
|  | 120 | 731.1089 | 13.5336
|  | 121 | 651.5898 | 15.7154
|  | 122 | 595.8829 | 15.8816
|  | 123 | 561.2397 | 16.5216
|  | 124 | 548.6468 | 15.1795
|  | 125 | 550.8743 | 15.0772
|  | 126 | 585.0067 | 16.064
|  | 127 | 657.3799 | 15.8615
|  | 128 | 789.3626 | 17.3686
|  | 129 | 862.7437 | 18.3095
|  | 130 | 919.4999 | 18.8205
|  | 131 | 949.4892 | 18.5353
|  | 132 | 972.1932 | 18.4533
|  | 133 | 979.5296 | 18.1971
|  | 134 | 992.6856 | 18.0237
|  | 135 | 984.4774 | 16.6984
|  | 136 | 960.9355 | 16.2728
|  | 137 | 950.4554 | 16.3922
|  | 138 | 957.4744 | 17.459
|  | 139 | 961.8177 | 19.7025
|  | 140 | 948.1669 | 19.8745
|  | 141 | 977.974 | 19.6451
|  | 142 | 976.431 | 19.6566
|  | 143 | 865.2699 | 17.2318
|  | 144 | 730.4197 | 16.7006
|  | 145 | 665.5413 | 16.7574
|  | 146 | 615.9375 | 16.3991
|  | 147 | 585.6786 | 16.1439
|  | 148 | 567.5701 | 15.7848
|  | 149 | 582.9196 | 16.0273
|  | 150 | 612.8438 | 16.106
|  | 151 | 702.9092 | 16.1685
|  | 152 | 812.8387 | 16.7101
|  | 153 | 902.1246 | 18.781
|  | 154 | 936.9536 | 18.3736
|  | 155 | 959.4462 | 17.4926
|  | 156 | 971.2239 | 17.5292
|  | 157 | 969.0239 | 17.4659
|  | 158 | 963.3816 | 16.2085
|  | 159 | 934.0738 | 16.2863
|  | 160 | 907.7331 | 16.2153
|  | 161 | 911.584 | 16.5653
|  | 162 | 929.1965 | 18.1934
|  | 163 | 954.9032 | 18.146
|  | 164 | 953.5214 | 19.711
|  | 165 | 979.4224 | 21.6159
|  | 166 | 965.8819 | 21.9292
|  | 167 | 867.6396 | 19.9808
|  | 168 | 752.5876 | 17.4158
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 27/06/2022 | 28/06/2022 | 29/06/2022 | 30/06/2022 | 01/07/2022 | 02/07/2022 | 03/07/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible